## Table
Data Report
File is created on: 2023-07-12 13:26:00
Device Information
Model | RC- 5 |  | Probe Type | Temperature(Internal)
S/N | EFE231100378 |  | Firmware Version | V1.5
Trip Description
Trip Code | 0000001
Trip Description | Temperature recording.
Config. info
Start Mode | Press Button |  | Logging Interval | 0H 15M 0S
Start Delay | 0H0M |  | Cyclic Record | Disable
Time Zone | UTC +00:00 |  | Stop Mode | Press Button+Use Software
Mark Time
N/A
Alarm | Alarm Delay | Over-limit Duration | Over-limit Times | Alarm
H3: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
H2: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
H1: 60.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 21580 | Normal
Unlimited |  | -20976D -18H -20M -56S
L1: -30.0℃ | 0D 0H 0M 0S(Single) | 20316D 9H 9M 28S | 32512 | Normal
L2: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
Summary
Maximum | 38.8℃ |  | First Reading | 2023-06-28 14:46:48
Minimum | 18.0℃ |  | Last Reading | 2023-07-12 13:16:48
Average | N/A |  | Logging Duration | 13D 22H 30M 0S
Mean Kinetic Temperature (MKT) | N/A |  | Current Readings | 1339
First Alarm at (Temperature) | N/A
No. | Time | Temperature℃
1 | 2023-06-28 14:46:48 | 22.3
2 | 2023-06-28 15:01:48 | 21.9
3 | 2023-06-28 15:16:48 | 21.3
4 | 2023-06-28 15:31:48 | 21.3
5 | 2023-06-28 15:46:48 | 20.9
6 | 2023-06-28 16:01:48 | 20.6
7 | 2023-06-28 16:16:48 | 20.4
8 | 2023-06-28 16:31:48 | 20.3
9 | 2023-06-28 16:46:48 | 20.1
10 | 2023-06-28 17:01:48 | 20.1
11 | 2023-06-28 17:16:48 | 20.0
12 | 2023-06-28 17:31:48 | 19.8
13 | 2023-06-28 17:46:48 | 19.6
14 | 2023-06-28 18:01:48 | 19.5
15 | 2023-06-28 18:16:48 | 19.4
16 | 2023-06-28 18:31:48 | 19.5
17 | 2023-06-28 18:46:48 | 19.2
18 | 2023-06-28 19:01:48 | 19.2
19 | 2023-06-28 19:16:48 | 19.1
20 | 2023-06-28 19:31:48 | 18.9
21 | 2023-06-28 19:46:48 | 18.9
22 | 2023-06-28 20:01:48 | 18.7
23 | 2023-06-28 20:16:48 | 18.5
24 | 2023-06-28 20:31:48 | 18.4
25 | 2023-06-28 20:46:48 | 18.4
26 | 2023-06-28 21:01:48 | 18.4
27 | 2023-06-28 21:16:48 | 18.4
28 | 2023-06-28 21:31:48 | 18.3
29 | 2023-06-28 21:46:48 | 18.1
30 | 2023-06-28 22:01:48 | 18.1
31 | 2023-06-28 22:16:48 | 18.1
32 | 2023-06-28 22:31:48 | 18.2
33 | 2023-06-28 22:46:48 | 18.2
34 | 2023-06-28 23:01:48 | 18.3
35 | 2023-06-28 23:16:48 | 18.2
36 | 2023-06-28 23:31:48 | 18.3
37 | 2023-06-28 23:46:48 | 18.3
38 | 2023-06-29 00:01:48 | 18.3
39 | 2023-06-29 00:16:48 | 18.2
40 | 2023-06-29 00:31:48 | 18.1
41 | 2023-06-29 00:46:48 | 18.2
42 | 2023-06-29 01:01:48 | 18.2
43 | 2023-06-29 01:16:48 | 18.2
44 | 2023-06-29 01:31:48 | 18.2
45 | 2023-06-29 01:46:48 | 18.2
46 | 2023-06-29 02:01:48 | 18.0
47 | 2023-06-29 02:16:48 | 18.1
48 | 2023-06-29 02:31:48 | 18.2
49 | 2023-06-29 02:46:48 | 18.1
50 | 2023-06-29 03:01:48 | 18.1
51 | 2023-06-29 03:16:48 | 18.2
52 | 2023-06-29 03:31:48 | 18.2
53 | 2023-06-29 03:46:48 | 18.1
54 | 2023-06-29 04:01:48 | 18.1
55 | 2023-06-29 04:16:48 | 18.1
56 | 2023-06-29 04:31:48 | 18.1
57 | 2023-06-29 04:46:48 | 18.1
58 | 2023-06-29 05:01:48 | 18.1
59 | 2023-06-29 05:16:48 | 18.1
60 | 2023-06-29 05:31:48 | 18.1
61 | 2023-06-29 05:46:48 | 18.2
62 | 2023-06-29 06:01:48 | 18.3
63 | 2023-06-29 06:16:48 | 18.3
64 | 2023-06-29 06:31:48 | 18.4
65 | 2023-06-29 06:46:48 | 18.5
66 | 2023-06-29 07:01:48 | 18.5
67 | 2023-06-29 07:16:48 | 18.6
68 | 2023-06-29 07:31:48 | 18.8
69 | 2023-06-29 07:46:48 | 19.0
70 | 2023-06-29 08:01:48 | 19.2
71 | 2023-06-29 08:16:48 | 19.1
72 | 2023-06-29 08:31:48 | 19.1
73 | 2023-06-29 08:46:48 | 19.2
74 | 2023-06-29 09:01:48 | 19.5
75 | 2023-06-29 09:16:48 | 19.7
76 | 2023-06-29 09:31:48 | 19.6
77 | 2023-06-29 09:46:48 | 19.6
78 | 2023-06-29 10:01:48 | 20.0
79 | 2023-06-29 10:16:48 | 20.5
80 | 2023-06-29 10:31:48 | 20.7
81 | 2023-06-29 10:46:48 | 21.1
82 | 2023-06-29 11:01:48 | 21.3
83 | 2023-06-29 11:16:48 | 21.6
84 | 2023-06-29 11:31:48 | 22.2
85 | 2023-06-29 11:46:48 | 22.2
86 | 2023-06-29 12:01:48 | 22.3
87 | 2023-06-29 12:16:48 | 22.0
88 | 2023-06-29 12:31:48 | 21.8
89 | 2023-06-29 12:46:48 | 21.6
90 | 2023-06-29 13:01:48 | 22.0
91 | 2023-06-29 13:16:48 | 21.7
92 | 2023-06-29 13:31:48 | 22.7
93 | 2023-06-29 13:46:48 | 24.5
94 | 2023-06-29 14:01:48 | 25.8
95 | 2023-06-29 14:16:48 | 24.3
96 | 2023-06-29 14:31:48 | 24.4
97 | 2023-06-29 14:46:48 | 26.5
98 | 2023-06-29 15:01:48 | 27.2
99 | 2023-06-29 15:16:48 | 26.9
100 | 2023-06-29 15:31:48 | 27.1
101 | 2023-06-29 15:46:48 | 26.8
102 | 2023-06-29 16:01:48 | 25.5
103 | 2023-06-29 16:16:48 | 25.3
104 | 2023-06-29 16:31:48 | 25.1
105 | 2023-06-29 16:46:48 | 26.7
106 | 2023-06-29 17:01:48 | 26.7
107 | 2023-06-29 17:16:48 | 26.4
108 | 2023-06-29 17:31:48 | 25.5
109 | 2023-06-29 17:46:48 | 24.2
110 | 2023-06-29 18:01:48 | 23.9
111 | 2023-06-29 18:16:48 | 23.9
112 | 2023-06-29 18:31:48 | 23.8
113 | 2023-06-29 18:46:48 | 23.6
114 | 2023-06-29 19:01:48 | 23.6
115 | 2023-06-29 19:16:48 | 23.4
116 | 2023-06-29 19:31:48 | 23.0
117 | 2023-06-29 19:46:48 | 22.4
118 | 2023-06-29 20:01:48 | 22.1
119 | 2023-06-29 20:16:48 | 22.0
120 | 2023-06-29 20:31:48 | 22.1
121 | 2023-06-29 20:46:48 | 22.0
122 | 2023-06-29 21:01:48 | 21.9
123 | 2023-06-29 21:16:48 | 21.9
124 | 2023-06-29 21:31:48 | 21.8
125 | 2023-06-29 21:46:48 | 21.7
126 | 2023-06-29 22:01:48 | 21.5
127 | 2023-06-29 22:16:48 | 21.4
128 | 2023-06-29 22:31:48 | 21.4
129 | 2023-06-29 22:46:48 | 21.3
130 | 2023-06-29 23:01:48 | 21.2
131 | 2023-06-29 23:16:48 | 21.0
132 | 2023-06-29 23:31:48 | 20.9
133 | 2023-06-29 23:46:48 | 20.8
134 | 2023-06-30 00:01:48 | 20.6
135 | 2023-06-30 00:16:48 | 20.1
136 | 2023-06-30 00:31:48 | 19.9
137 | 2023-06-30 00:46:48 | 19.9
138 | 2023-06-30 01:01:48 | 19.8
139 | 2023-06-30 01:16:48 | 19.8
140 | 2023-06-30 01:31:48 | 19.5
141 | 2023-06-30 01:46:48 | 19.6
142 | 2023-06-30 02:01:48 | 19.8
143 | 2023-06-30 02:16:48 | 19.7
144 | 2023-06-30 02:31:48 | 19.5
145 | 2023-06-30 02:46:48 | 19.4
146 | 2023-06-30 03:01:48 | 19.2
147 | 2023-06-30 03:16:48 | 19.1
148 | 2023-06-30 03:31:48 | 19.2
149 | 2023-06-30 03:46:48 | 19.3
150 | 2023-06-30 04:01:48 | 19.2
151 | 2023-06-30 04:16:48 | 18.9
152 | 2023-06-30 04:31:48 | 18.8
153 | 2023-06-30 04:46:48 | 18.5
154 | 2023-06-30 05:01:48 | 18.3
155 | 2023-06-30 05:16:48 | 18.3
156 | 2023-06-30 05:31:48 | 18.1
157 | 2023-06-30 05:46:48 | 18.0
158 | 2023-06-30 06:01:48 | 18.0
159 | 2023-06-30 06:16:48 | 18.2
160 | 2023-06-30 06:31:48 | 18.3
161 | 2023-06-30 06:46:48 | 18.6
162 | 2023-06-30 07:01:48 | 18.9
163 | 2023-06-30 07:16:48 | 19.1
164 | 2023-06-30 07:31:48 | 19.3
165 | 2023-06-30 07:46:48 | 19.4
166 | 2023-06-30 08:01:48 | 19.9
167 | 2023-06-30 08:16:48 | 20.3
168 | 2023-06-30 08:31:48 | 21.0
169 | 2023-06-30 08:46:48 | 21.7
170 | 2023-06-30 09:01:48 | 22.6
171 | 2023-06-30 09:16:48 | 23.1
172 | 2023-06-30 09:31:48 | 23.7
173 | 2023-06-30 09:46:48 | 24.6
174 | 2023-06-30 10:01:48 | 25.0
175 | 2023-06-30 10:16:48 | 25.0
176 | 2023-06-30 10:31:48 | 25.6
177 | 2023-06-30 10:46:48 | 26.2
178 | 2023-06-30 11:01:48 | 26.7
179 | 2023-06-30 11:16:48 | 27.6
180 | 2023-06-30 11:31:48 | 28.1
181 | 2023-06-30 11:46:48 | 28.6
182 | 2023-06-30 12:01:48 | 29.0
183 | 2023-06-30 12:16:48 | 29.1
184 | 2023-06-30 12:31:48 | 29.7
185 | 2023-06-30 12:46:48 | 30.0
186 | 2023-06-30 13:01:48 | 30.4
187 | 2023-06-30 13:16:48 | 30.7
188 | 2023-06-30 13:31:48 | 31.2
189 | 2023-06-30 13:46:48 | 32.3
190 | 2023-06-30 14:01:48 | 33.6
191 | 2023-06-30 14:16:48 | 33.0
192 | 2023-06-30 14:31:48 | 32.9
193 | 2023-06-30 14:46:48 | 31.2
194 | 2023-06-30 15:01:48 | 31.4
195 | 2023-06-30 15:16:48 | 29.9
196 | 2023-06-30 15:31:48 | 28.8
197 | 2023-06-30 15:46:48 | 29.5
198 | 2023-06-30 16:01:48 | 30.1
199 | 2023-06-30 16:16:48 | 28.7
200 | 2023-06-30 16:31:48 | 28.8
201 | 2023-06-30 16:46:48 | 29.6
202 | 2023-06-30 17:01:48 | 28.9
203 | 2023-06-30 17:16:48 | 28.6
204 | 2023-06-30 17:31:48 | 27.9
205 | 2023-06-30 17:46:48 | 27.9
206 | 2023-06-30 18:01:48 | 27.7
207 | 2023-06-30 18:16:48 | 27.1
208 | 2023-06-30 18:31:48 | 26.8
209 | 2023-06-30 18:46:48 | 26.5
210 | 2023-06-30 19:01:48 | 26.3
211 | 2023-06-30 19:16:48 | 26.3
212 | 2023-06-30 19:31:48 | 26.1
213 | 2023-06-30 19:46:48 | 25.8
214 | 2023-06-30 20:01:48 | 25.5
215 | 2023-06-30 20:16:48 | 24.8
216 | 2023-06-30 20:31:48 | 23.9
217 | 2023-06-30 20:46:48 | 23.5
218 | 2023-06-30 21:01:48 | 23.2
219 | 2023-06-30 21:16:48 | 23.1
220 | 2023-06-30 21:31:48 | 23.3
221 | 2023-06-30 21:46:48 | 23.3
222 | 2023-06-30 22:01:48 | 22.9
223 | 2023-06-30 22:16:48 | 22.9
224 | 2023-06-30 22:31:48 | 22.6
225 | 2023-06-30 22:46:48 | 22.3
226 | 2023-06-30 23:01:48 | 22.1
227 | 2023-06-30 23:16:48 | 22.3
228 | 2023-06-30 23:31:48 | 22.5
229 | 2023-06-30 23:46:48 | 22.1
230 | 2023-07-01 00:01:48 | 21.8
231 | 2023-07-01 00:16:48 | 21.5
232 | 2023-07-01 00:31:48 | 21.4
233 | 2023-07-01 00:46:48 | 21.2
234 | 2023-07-01 01:01:48 | 21.3
235 | 2023-07-01 01:16:48 | 22.0
236 | 2023-07-01 01:31:48 | 22.2
237 | 2023-07-01 01:46:48 | 22.1
238 | 2023-07-01 02:01:48 | 21.8
239 | 2023-07-01 02:16:48 | 21.5
240 | 2023-07-01 02:31:48 | 21.3
241 | 2023-07-01 02:46:48 | 21.3
242 | 2023-07-01 03:01:48 | 21.2
243 | 2023-07-01 03:16:48 | 21.0
244 | 2023-07-01 03:31:48 | 20.7
245 | 2023-07-01 03:46:48 | 20.6
246 | 2023-07-01 04:01:48 | 20.6
247 | 2023-07-01 04:16:48 | 20.3
248 | 2023-07-01 04:31:48 | 20.3
249 | 2023-07-01 04:46:48 | 20.3
250 | 2023-07-01 05:01:48 | 20.4
251 | 2023-07-01 05:16:48 | 20.4
252 | 2023-07-01 05:31:48 | 20.2
253 | 2023-07-01 05:46:48 | 20.3
254 | 2023-07-01 06:01:48 | 20.3
255 | 2023-07-01 06:16:48 | 20.7
256 | 2023-07-01 06:31:48 | 20.8
257 | 2023-07-01 06:46:48 | 20.5
258 | 2023-07-01 07:01:48 | 20.8
259 | 2023-07-01 07:16:48 | 21.0
260 | 2023-07-01 07:31:48 | 21.7
261 | 2023-07-01 07:46:48 | 21.8
262 | 2023-07-01 08:01:48 | 21.9
263 | 2023-07-01 08:16:48 | 22.4
264 | 2023-07-01 08:31:48 | 23.3
265 | 2023-07-01 08:46:48 | 24.2
266 | 2023-07-01 09:01:48 | 23.4
267 | 2023-07-01 09:16:48 | 24.1
268 | 2023-07-01 09:31:48 | 24.6
269 | 2023-07-01 09:46:48 | 24.5
270 | 2023-07-01 10:01:48 | 24.9
271 | 2023-07-01 10:16:48 | 23.8
272 | 2023-07-01 10:31:48 | 23.3
273 | 2023-07-01 10:46:48 | 23.3
274 | 2023-07-01 11:01:48 | 23.3
275 | 2023-07-01 11:16:48 | 23.4
276 | 2023-07-01 11:31:48 | 23.5
277 | 2023-07-01 11:46:48 | 22.9
278 | 2023-07-01 12:01:48 | 22.3
279 | 2023-07-01 12:16:48 | 23.1
280 | 2023-07-01 12:31:48 | 24.4
281 | 2023-07-01 12:46:48 | 24.7
282 | 2023-07-01 13:01:48 | 25.6
283 | 2023-07-01 13:16:48 | 27.9
284 | 2023-07-01 13:31:48 | 29.8
285 | 2023-07-01 13:46:48 | 29.4
286 | 2023-07-01 14:01:48 | 25.8
287 | 2023-07-01 14:16:48 | 24.5
288 | 2023-07-01 14:31:48 | 25.8
289 | 2023-07-01 14:46:48 | 25.6
290 | 2023-07-01 15:01:48 | 25.3
291 | 2023-07-01 15:16:48 | 25.4
292 | 2023-07-01 15:31:48 | 25.9
293 | 2023-07-01 15:46:48 | 26.2
294 | 2023-07-01 16:01:48 | 26.1
295 | 2023-07-01 16:16:48 | 26.2
296 | 2023-07-01 16:31:48 | 26.3
297 | 2023-07-01 16:46:48 | 25.5
298 | 2023-07-01 17:01:48 | 25.2
299 | 2023-07-01 17:16:48 | 24.4
300 | 2023-07-01 17:31:48 | 23.5
301 | 2023-07-01 17:46:48 | 22.7
302 | 2023-07-01 18:01:48 | 22.3
303 | 2023-07-01 18:16:48 | 22.2
304 | 2023-07-01 18:31:48 | 22.0
305 | 2023-07-01 18:46:48 | 21.8
306 | 2023-07-01 19:01:48 | 21.8
307 | 2023-07-01 19:16:48 | 21.8
308 | 2023-07-01 19:31:48 | 22.0
309 | 2023-07-01 19:46:48 | 21.9
310 | 2023-07-01 20:01:48 | 21.8
311 | 2023-07-01 20:16:48 | 21.8
312 | 2023-07-01 20:31:48 | 21.7
313 | 2023-07-01 20:46:48 | 21.4
314 | 2023-07-01 21:01:48 | 21.1
315 | 2023-07-01 21:16:48 | 21.0
316 | 2023-07-01 21:31:48 | 21.1
317 | 2023-07-01 21:46:48 | 21.2
318 | 2023-07-01 22:01:48 | 21.2
319 | 2023-07-01 22:16:48 | 21.2
320 | 2023-07-01 22:31:48 | 21.2
321 | 2023-07-01 22:46:48 | 21.1
322 | 2023-07-01 23:01:48 | 21.1
323 | 2023-07-01 23:16:48 | 21.1
324 | 2023-07-01 23:31:48 | 20.9
325 | 2023-07-01 23:46:48 | 20.8
326 | 2023-07-02 00:01:48 | 20.7
327 | 2023-07-02 00:16:48 | 20.6
328 | 2023-07-02 00:31:48 | 20.5
329 | 2023-07-02 00:46:48 | 20.5
330 | 2023-07-02 01:01:48 | 20.5
331 | 2023-07-02 01:16:48 | 20.6
332 | 2023-07-02 01:31:48 | 20.6
333 | 2023-07-02 01:46:48 | 20.6
334 | 2023-07-02 02:01:48 | 20.6
335 | 2023-07-02 02:16:48 | 20.7
336 | 2023-07-02 02:31:48 | 20.7
337 | 2023-07-02 02:46:48 | 20.7
338 | 2023-07-02 03:01:48 | 20.7
339 | 2023-07-02 03:16:48 | 20.8
340 | 2023-07-02 03:31:48 | 20.7
341 | 2023-07-02 03:46:48 | 20.6
342 | 2023-07-02 04:01:48 | 20.6
343 | 2023-07-02 04:16:48 | 20.6
344 | 2023-07-02 04:31:48 | 20.6
345 | 2023-07-02 04:46:48 | 20.5
346 | 2023-07-02 05:01:48 | 20.5
347 | 2023-07-02 05:16:48 | 20.5
348 | 2023-07-02 05:31:48 | 20.5
349 | 2023-07-02 05:46:48 | 20.6
350 | 2023-07-02 06:01:48 | 20.5
351 | 2023-07-02 06:16:48 | 20.4
352 | 2023-07-02 06:31:48 | 20.6
353 | 2023-07-02 06:46:48 | 20.8
354 | 2023-07-02 07:01:48 | 21.0
355 | 2023-07-02 07:16:48 | 21.0
356 | 2023-07-02 07:31:48 | 21.2
357 | 2023-07-02 07:46:48 | 21.5
358 | 2023-07-02 08:01:48 | 21.1
359 | 2023-07-02 08:16:48 | 21.6
360 | 2023-07-02 08:31:48 | 21.8
361 | 2023-07-02 08:46:48 | 22.4
362 | 2023-07-02 09:01:48 | 22.7
363 | 2023-07-02 09:16:48 | 22.8
364 | 2023-07-02 09:31:48 | 23.6
365 | 2023-07-02 09:46:48 | 24.1
366 | 2023-07-02 10:01:48 | 23.9
367 | 2023-07-02 10:16:48 | 24.0
368 | 2023-07-02 10:31:48 | 24.2
369 | 2023-07-02 10:46:48 | 24.6
370 | 2023-07-02 11:01:48 | 25.1
371 | 2023-07-02 11:16:48 | 25.7
372 | 2023-07-02 11:31:48 | 26.0
373 | 2023-07-02 11:46:48 | 27.3
374 | 2023-07-02 12:01:48 | 27.3
375 | 2023-07-02 12:16:48 | 27.8
376 | 2023-07-02 12:31:48 | 28.9
377 | 2023-07-02 12:46:48 | 29.7
378 | 2023-07-02 13:01:48 | 29.7
379 | 2023-07-02 13:16:48 | 30.6
380 | 2023-07-02 13:31:48 | 31.3
381 | 2023-07-02 13:46:48 | 30.6
382 | 2023-07-02 14:01:48 | 27.1
383 | 2023-07-02 14:16:48 | 28.6
384 | 2023-07-02 14:31:48 | 27.9
385 | 2023-07-02 14:46:48 | 27.1
386 | 2023-07-02 15:01:48 | 26.5
387 | 2023-07-02 15:16:48 | 27.9
388 | 2023-07-02 15:31:48 | 28.1
389 | 2023-07-02 15:46:48 | 27.4
390 | 2023-07-02 16:01:48 | 27.8
391 | 2023-07-02 16:16:48 | 26.7
392 | 2023-07-02 16:31:48 | 26.4
393 | 2023-07-02 16:46:48 | 26.3
394 | 2023-07-02 17:01:48 | 26.0
395 | 2023-07-02 17:16:48 | 25.7
396 | 2023-07-02 17:31:48 | 25.6
397 | 2023-07-02 17:46:48 | 25.1
398 | 2023-07-02 18:01:48 | 24.5
399 | 2023-07-02 18:16:48 | 24.0
400 | 2023-07-02 18:31:48 | 23.9
401 | 2023-07-02 18:46:48 | 23.6
402 | 2023-07-02 19:01:48 | 23.4
403 | 2023-07-02 19:16:48 | 23.3
404 | 2023-07-02 19:31:48 | 23.1
405 | 2023-07-02 19:46:48 | 23.0
406 | 2023-07-02 20:01:48 | 22.8
407 | 2023-07-02 20:16:48 | 22.6
408 | 2023-07-02 20:31:48 | 22.3
409 | 2023-07-02 20:46:48 | 22.0
410 | 2023-07-02 21:01:48 | 21.8
411 | 2023-07-02 21:16:48 | 21.7
412 | 2023-07-02 21:31:48 | 21.7
413 | 2023-07-02 21:46:48 | 21.5
414 | 2023-07-02 22:01:48 | 21.5
415 | 2023-07-02 22:16:48 | 21.2
416 | 2023-07-02 22:31:48 | 21.2
417 | 2023-07-02 22:46:48 | 21.0
418 | 2023-07-02 23:01:48 | 21.0
419 | 2023-07-02 23:16:48 | 20.8
420 | 2023-07-02 23:31:48 | 20.6
421 | 2023-07-02 23:46:48 | 20.3
422 | 2023-07-03 00:01:48 | 20.1
423 | 2023-07-03 00:16:48 | 20.0
424 | 2023-07-03 00:31:48 | 19.9
425 | 2023-07-03 00:46:48 | 20.0
426 | 2023-07-03 01:01:48 | 20.4
427 | 2023-07-03 01:16:48 | 20.7
428 | 2023-07-03 01:31:48 | 20.9
429 | 2023-07-03 01:46:48 | 21.0
430 | 2023-07-03 02:01:48 | 21.0
431 | 2023-07-03 02:16:48 | 21.0
432 | 2023-07-03 02:31:48 | 21.0
433 | 2023-07-03 02:46:48 | 21.0
434 | 2023-07-03 03:01:48 | 20.7
435 | 2023-07-03 03:16:48 | 20.2
436 | 2023-07-03 03:31:48 | 19.7
437 | 2023-07-03 03:46:48 | 19.3
438 | 2023-07-03 04:01:48 | 19.1
439 | 2023-07-03 04:16:48 | 19.0
440 | 2023-07-03 04:31:48 | 19.0
441 | 2023-07-03 04:46:48 | 19.0
442 | 2023-07-03 05:01:48 | 19.0
443 | 2023-07-03 05:16:48 | 19.0
444 | 2023-07-03 05:31:48 | 19.2
445 | 2023-07-03 05:46:48 | 19.7
446 | 2023-07-03 06:01:48 | 19.9
447 | 2023-07-03 06:16:48 | 19.8
448 | 2023-07-03 06:31:48 | 19.8
449 | 2023-07-03 06:46:48 | 20.0
450 | 2023-07-03 07:01:48 | 20.3
451 | 2023-07-03 07:16:48 | 20.6
452 | 2023-07-03 07:31:48 | 21.2
453 | 2023-07-03 07:46:48 | 21.5
454 | 2023-07-03 08:01:48 | 22.4
455 | 2023-07-03 08:16:48 | 23.1
456 | 2023-07-03 08:31:48 | 23.9
457 | 2023-07-03 08:46:48 | 24.1
458 | 2023-07-03 09:01:48 | 24.5
459 | 2023-07-03 09:16:48 | 24.9
460 | 2023-07-03 09:31:48 | 25.0
461 | 2023-07-03 09:46:48 | 25.6
462 | 2023-07-03 10:01:48 | 26.1
463 | 2023-07-03 10:16:48 | 26.3
464 | 2023-07-03 10:31:48 | 26.5
465 | 2023-07-03 10:46:48 | 28.0
466 | 2023-07-03 11:01:48 | 27.7
467 | 2023-07-03 11:16:48 | 27.9
468 | 2023-07-03 11:31:48 | 29.0
469 | 2023-07-03 11:46:48 | 28.2
470 | 2023-07-03 12:01:48 | 30.6
471 | 2023-07-03 12:16:48 | 29.7
472 | 2023-07-03 12:31:48 | 31.9
473 | 2023-07-03 12:46:48 | 32.2
474 | 2023-07-03 13:01:48 | 33.1
475 | 2023-07-03 13:16:48 | 32.6
476 | 2023-07-03 13:31:48 | 31.4
477 | 2023-07-03 13:46:48 | 32.2
478 | 2023-07-03 14:01:48 | 34.3
479 | 2023-07-03 14:16:48 | 38.8
480 | 2023-07-03 14:31:48 | 37.8
481 | 2023-07-03 14:46:48 | 36.1
482 | 2023-07-03 15:01:48 | 36.4
483 | 2023-07-03 15:16:48 | 35.3
484 | 2023-07-03 15:31:48 | 33.7
485 | 2023-07-03 15:46:48 | 34.3
486 | 2023-07-03 16:01:48 | 34.3
487 | 2023-07-03 16:16:48 | 33.1
488 | 2023-07-03 16:31:48 | 33.1
489 | 2023-07-03 16:46:48 | 32.5
490 | 2023-07-03 17:01:48 | 31.0
491 | 2023-07-03 17:16:48 | 30.5
492 | 2023-07-03 17:31:48 | 30.7
493 | 2023-07-03 17:46:48 | 29.3
494 | 2023-07-03 18:01:48 | 28.7
495 | 2023-07-03 18:16:48 | 28.6
496 | 2023-07-03 18:31:48 | 28.4
497 | 2023-07-03 18:46:48 | 27.8
498 | 2023-07-03 19:01:48 | 27.4
499 | 2023-07-03 19:16:48 | 27.2
500 | 2023-07-03 19:31:48 | 26.7
501 | 2023-07-03 19:46:48 | 26.2
502 | 2023-07-03 20:01:48 | 26.2
503 | 2023-07-03 20:16:48 | 26.0
504 | 2023-07-03 20:31:48 | 25.6
505 | 2023-07-03 20:46:48 | 24.8
506 | 2023-07-03 21:01:48 | 24.7
507 | 2023-07-03 21:16:48 | 24.9
508 | 2023-07-03 21:31:48 | 24.8
509 | 2023-07-03 21:46:48 | 24.7
510 | 2023-07-03 22:01:48 | 24.3
511 | 2023-07-03 22:16:48 | 24.4
512 | 2023-07-03 22:31:48 | 24.4
513 | 2023-07-03 22:46:48 | 24.2
514 | 2023-07-03 23:01:48 | 23.6
515 | 2023-07-03 23:16:48 | 23.1
516 | 2023-07-03 23:31:48 | 22.8
517 | 2023-07-03 23:46:48 | 22.8
518 | 2023-07-04 00:01:48 | 23.1
519 | 2023-07-04 00:16:48 | 23.3
520 | 2023-07-04 00:31:48 | 23.3
521 | 2023-07-04 00:46:48 | 23.1
522 | 2023-07-04 01:01:48 | 22.9
523 | 2023-07-04 01:16:48 | 22.5
524 | 2023-07-04 01:31:48 | 22.4
525 | 2023-07-04 01:46:48 | 22.2
526 | 2023-07-04 02:01:48 | 21.9
527 | 2023-07-04 02:16:48 | 21.7
528 | 2023-07-04 02:31:48 | 21.6
529 | 2023-07-04 02:46:48 | 21.6
530 | 2023-07-04 03:01:48 | 21.6
531 | 2023-07-04 03:16:48 | 21.4
532 | 2023-07-04 03:31:48 | 21.4
533 | 2023-07-04 03:46:48 | 21.4
534 | 2023-07-04 04:01:48 | 21.3
535 | 2023-07-04 04:16:48 | 21.2
536 | 2023-07-04 04:31:48 | 21.1
537 | 2023-07-04 04:46:48 | 21.1
538 | 2023-07-04 05:01:48 | 21.1
539 | 2023-07-04 05:16:48 | 21.2
540 | 2023-07-04 05:31:48 | 21.3
541 | 2023-07-04 05:46:48 | 21.3
542 | 2023-07-04 06:01:48 | 21.7
543 | 2023-07-04 06:16:48 | 21.9
544 | 2023-07-04 06:31:48 | 22.0
545 | 2023-07-04 06:46:48 | 22.2
546 | 2023-07-04 07:01:48 | 22.6
547 | 2023-07-04 07:16:48 | 22.8
548 | 2023-07-04 07:31:48 | 22.9
549 | 2023-07-04 07:46:48 | 23.1
550 | 2023-07-04 08:01:48 | 23.7
551 | 2023-07-04 08:16:48 | 24.7
552 | 2023-07-04 08:31:48 | 25.4
553 | 2023-07-04 08:46:48 | 26.0
554 | 2023-07-04 09:01:48 | 26.5
555 | 2023-07-04 09:16:48 | 27.1
556 | 2023-07-04 09:31:48 | 27.8
557 | 2023-07-04 09:46:48 | 28.5
558 | 2023-07-04 10:01:48 | 29.3
559 | 2023-07-04 10:16:48 | 31.2
560 | 2023-07-04 10:31:48 | 31.8
561 | 2023-07-04 10:46:48 | 32.5
562 | 2023-07-04 11:01:48 | 31.7
563 | 2023-07-04 11:16:48 | 29.2
564 | 2023-07-04 11:31:48 | 31.4
565 | 2023-07-04 11:46:48 | 31.2
566 | 2023-07-04 12:01:48 | 28.5
567 | 2023-07-04 12:16:48 | 26.4
568 | 2023-07-04 12:31:48 | 25.7
569 | 2023-07-04 12:46:48 | 24.2
570 | 2023-07-04 13:01:48 | 21.2
571 | 2023-07-04 13:16:48 | 20.2
572 | 2023-07-04 13:31:48 | 20.1
573 | 2023-07-04 13:46:48 | 20.7
574 | 2023-07-04 14:01:48 | 21.0
575 | 2023-07-04 14:16:48 | 21.9
576 | 2023-07-04 14:31:48 | 23.3
577 | 2023-07-04 14:46:48 | 24.7
578 | 2023-07-04 15:01:48 | 25.3
579 | 2023-07-04 15:16:48 | 26.2
580 | 2023-07-04 15:31:48 | 26.9
581 | 2023-07-04 15:46:48 | 26.9
582 | 2023-07-04 16:01:48 | 27.7
583 | 2023-07-04 16:16:48 | 29.6
584 | 2023-07-04 16:31:48 | 28.0
585 | 2023-07-04 16:46:48 | 28.2
586 | 2023-07-04 17:01:48 | 29.6
587 | 2023-07-04 17:16:48 | 28.0
588 | 2023-07-04 17:31:48 | 29.0
589 | 2023-07-04 17:46:48 | 28.8
590 | 2023-07-04 18:01:48 | 28.7
591 | 2023-07-04 18:16:48 | 27.8
592 | 2023-07-04 18:31:48 | 27.1
593 | 2023-07-04 18:46:48 | 26.2
594 | 2023-07-04 19:01:48 | 25.6
595 | 2023-07-04 19:16:48 | 25.2
596 | 2023-07-04 19:31:48 | 25.1
597 | 2023-07-04 19:46:48 | 25.0
598 | 2023-07-04 20:01:48 | 24.7
599 | 2023-07-04 20:16:48 | 24.5
600 | 2023-07-04 20:31:48 | 24.0
601 | 2023-07-04 20:46:48 | 23.6
602 | 2023-07-04 21:01:48 | 23.4
603 | 2023-07-04 21:16:48 | 23.1
604 | 2023-07-04 21:31:48 | 23.0
605 | 2023-07-04 21:46:48 | 22.8
606 | 2023-07-04 22:01:48 | 22.5
607 | 2023-07-04 22:16:48 | 22.5
608 | 2023-07-04 22:31:48 | 22.4
609 | 2023-07-04 22:46:48 | 22.0
610 | 2023-07-04 23:01:48 | 22.1
611 | 2023-07-04 23:16:48 | 22.6
612 | 2023-07-04 23:31:48 | 22.6
613 | 2023-07-04 23:46:48 | 22.3
614 | 2023-07-05 00:01:48 | 22.3
615 | 2023-07-05 00:16:48 | 22.0
616 | 2023-07-05 00:31:48 | 21.7
617 | 2023-07-05 00:46:48 | 21.6
618 | 2023-07-05 01:01:48 | 21.4
619 | 2023-07-05 01:16:48 | 21.2
620 | 2023-07-05 01:31:48 | 21.1
621 | 2023-07-05 01:46:48 | 21.1
622 | 2023-07-05 02:01:48 | 21.3
623 | 2023-07-05 02:16:48 | 20.9
624 | 2023-07-05 02:31:48 | 20.7
625 | 2023-07-05 02:46:48 | 20.8
626 | 2023-07-05 03:01:48 | 21.1
627 | 2023-07-05 03:16:48 | 21.0
628 | 2023-07-05 03:31:48 | 20.9
629 | 2023-07-05 03:46:48 | 21.1
630 | 2023-07-05 04:01:48 | 20.8
631 | 2023-07-05 04:16:48 | 20.7
632 | 2023-07-05 04:31:48 | 20.7
633 | 2023-07-05 04:46:48 | 20.8
634 | 2023-07-05 05:01:48 | 20.7
635 | 2023-07-05 05:16:48 | 20.7
636 | 2023-07-05 05:31:48 | 20.8
637 | 2023-07-05 05:46:48 | 20.8
638 | 2023-07-05 06:01:48 | 21.0
639 | 2023-07-05 06:16:48 | 21.4
640 | 2023-07-05 06:31:48 | 21.8
641 | 2023-07-05 06:46:48 | 22.2
642 | 2023-07-05 07:01:48 | 22.4
643 | 2023-07-05 07:16:48 | 22.7
644 | 2023-07-05 07:31:48 | 23.0
645 | 2023-07-05 07:46:48 | 23.4
646 | 2023-07-05 08:01:48 | 24.0
647 | 2023-07-05 08:16:48 | 24.6
648 | 2023-07-05 08:31:48 | 25.0
649 | 2023-07-05 08:46:48 | 25.4
650 | 2023-07-05 09:01:48 | 26.0
651 | 2023-07-05 09:16:48 | 26.7
652 | 2023-07-05 09:31:48 | 27.1
653 | 2023-07-05 09:46:48 | 27.8
654 | 2023-07-05 10:01:48 | 30.3
655 | 2023-07-05 10:16:48 | 30.4
656 | 2023-07-05 10:31:48 | 30.8
657 | 2023-07-05 10:46:48 | 31.7
658 | 2023-07-05 11:01:48 | 32.9
659 | 2023-07-05 11:16:48 | 33.9
660 | 2023-07-05 11:31:48 | 34.4
661 | 2023-07-05 11:46:48 | 35.1
662 | 2023-07-05 12:01:48 | 35.4
663 | 2023-07-05 12:16:48 | 35.3
664 | 2023-07-05 12:31:48 | 35.2
665 | 2023-07-05 12:46:48 | 35.3
666 | 2023-07-05 13:01:48 | 34.9
667 | 2023-07-05 13:16:48 | 35.6
668 | 2023-07-05 13:31:48 | 35.7
669 | 2023-07-05 13:46:48 | 36.1
670 | 2023-07-05 14:01:48 | 36.1
671 | 2023-07-05 14:16:48 | 35.7
672 | 2023-07-05 14:31:48 | 35.6
673 | 2023-07-05 14:46:48 | 35.8
674 | 2023-07-05 15:01:48 | 36.6
675 | 2023-07-05 15:16:48 | 36.7
676 | 2023-07-05 15:31:48 | 34.8
677 | 2023-07-05 15:46:48 | 33.5
678 | 2023-07-05 16:01:48 | 32.3
679 | 2023-07-05 16:16:48 | 32.3
680 | 2023-07-05 16:31:48 | 31.9
681 | 2023-07-05 16:46:48 | 32.7
682 | 2023-07-05 17:01:48 | 32.1
683 | 2023-07-05 17:16:48 | 32.7
684 | 2023-07-05 17:31:48 | 32.6
685 | 2023-07-05 17:46:48 | 30.9
686 | 2023-07-05 18:01:48 | 29.8
687 | 2023-07-05 18:16:48 | 29.4
688 | 2023-07-05 18:31:48 | 28.9
689 | 2023-07-05 18:46:48 | 28.9
690 | 2023-07-05 19:01:48 | 30.0
691 | 2023-07-05 19:16:48 | 30.4
692 | 2023-07-05 19:31:48 | 30.1
693 | 2023-07-05 19:46:48 | 29.4
694 | 2023-07-05 20:01:48 | 28.9
695 | 2023-07-05 20:16:48 | 28.6
696 | 2023-07-05 20:31:48 | 28.3
697 | 2023-07-05 20:46:48 | 27.9
698 | 2023-07-05 21:01:48 | 27.8
699 | 2023-07-05 21:16:48 | 27.7
700 | 2023-07-05 21:31:48 | 27.4
701 | 2023-07-05 21:46:48 | 27.5
702 | 2023-07-05 22:01:48 | 27.3
703 | 2023-07-05 22:16:48 | 27.0
704 | 2023-07-05 22:31:48 | 26.9
705 | 2023-07-05 22:46:48 | 26.7
706 | 2023-07-05 23:01:48 | 26.2
707 | 2023-07-05 23:16:48 | 26.0
708 | 2023-07-05 23:31:48 | 26.1
709 | 2023-07-05 23:46:48 | 26.1
710 | 2023-07-06 00:01:48 | 26.1
711 | 2023-07-06 00:16:48 | 26.0
712 | 2023-07-06 00:31:48 | 25.8
713 | 2023-07-06 00:46:48 | 25.7
714 | 2023-07-06 01:01:48 | 25.5
715 | 2023-07-06 01:16:48 | 25.3
716 | 2023-07-06 01:31:48 | 25.4
717 | 2023-07-06 01:46:48 | 25.1
718 | 2023-07-06 02:01:48 | 25.8
719 | 2023-07-06 02:16:48 | 25.5
720 | 2023-07-06 02:31:48 | 25.5
721 | 2023-07-06 02:46:48 | 25.2
722 | 2023-07-06 03:01:48 | 25.3
723 | 2023-07-06 03:16:48 | 25.2
724 | 2023-07-06 03:31:48 | 24.5
725 | 2023-07-06 03:46:48 | 24.4
726 | 2023-07-06 04:01:48 | 24.5
727 | 2023-07-06 04:16:48 | 24.1
728 | 2023-07-06 04:31:48 | 23.8
729 | 2023-07-06 04:46:48 | 23.4
730 | 2023-07-06 05:01:48 | 23.6
731 | 2023-07-06 05:16:48 | 23.3
732 | 2023-07-06 05:31:48 | 23.1
733 | 2023-07-06 05:46:48 | 23.3
734 | 2023-07-06 06:01:48 | 23.7
735 | 2023-07-06 06:16:48 | 23.7
736 | 2023-07-06 06:31:48 | 23.5
737 | 2023-07-06 06:46:48 | 23.6
738 | 2023-07-06 07:01:48 | 23.8
739 | 2023-07-06 07:16:48 | 24.1
740 | 2023-07-06 07:31:48 | 24.5
741 | 2023-07-06 07:46:48 | 24.8
742 | 2023-07-06 08:01:48 | 25.5
743 | 2023-07-06 08:16:48 | 26.0
744 | 2023-07-06 08:31:48 | 26.2
745 | 2023-07-06 08:46:48 | 26.5
746 | 2023-07-06 09:01:48 | 26.9
747 | 2023-07-06 09:16:48 | 27.5
748 | 2023-07-06 09:31:48 | 28.1
749 | 2023-07-06 09:46:48 | 29.4
750 | 2023-07-06 10:01:48 | 30.6
751 | 2023-07-06 10:16:48 | 30.9
752 | 2023-07-06 10:31:48 | 31.6
753 | 2023-07-06 10:46:48 | 31.5
754 | 2023-07-06 11:01:48 | 32.4
755 | 2023-07-06 11:16:48 | 33.1
756 | 2023-07-06 11:31:48 | 33.7
757 | 2023-07-06 11:46:48 | 33.9
758 | 2023-07-06 12:01:48 | 34.6
759 | 2023-07-06 12:16:48 | 34.4
760 | 2023-07-06 12:31:48 | 35.0
761 | 2023-07-06 12:46:48 | 35.1
762 | 2023-07-06 13:01:48 | 35.7
763 | 2023-07-06 13:16:48 | 36.2
764 | 2023-07-06 13:31:48 | 35.5
765 | 2023-07-06 13:46:48 | 36.4
766 | 2023-07-06 14:01:48 | 36.2
767 | 2023-07-06 14:16:48 | 36.5
768 | 2023-07-06 14:31:48 | 36.3
769 | 2023-07-06 14:46:48 | 36.4
770 | 2023-07-06 15:01:48 | 36.2
771 | 2023-07-06 15:16:48 | 36.1
772 | 2023-07-06 15:31:48 | 36.1
773 | 2023-07-06 15:46:48 | 35.9
774 | 2023-07-06 16:01:48 | 35.4
775 | 2023-07-06 16:16:48 | 35.1
776 | 2023-07-06 16:31:48 | 35.5
777 | 2023-07-06 16:46:48 | 35.5
778 | 2023-07-06 17:01:48 | 32.9
779 | 2023-07-06 17:16:48 | 32.5
780 | 2023-07-06 17:31:48 | 32.7
781 | 2023-07-06 17:46:48 | 31.5
782 | 2023-07-06 18:01:48 | 31.9
783 | 2023-07-06 18:16:48 | 31.8
784 | 2023-07-06 18:31:48 | 31.3
785 | 2023-07-06 18:46:48 | 30.8
786 | 2023-07-06 19:01:48 | 30.4
787 | 2023-07-06 19:16:48 | 30.3
788 | 2023-07-06 19:31:48 | 29.7
789 | 2023-07-06 19:46:48 | 29.5
790 | 2023-07-06 20:01:48 | 29.4
791 | 2023-07-06 20:16:48 | 29.2
792 | 2023-07-06 20:31:48 | 29.1
793 | 2023-07-06 20:46:48 | 28.9
794 | 2023-07-06 21:01:48 | 28.5
795 | 2023-07-06 21:16:48 | 28.4
796 | 2023-07-06 21:31:48 | 26.4
797 | 2023-07-06 21:46:48 | 25.5
798 | 2023-07-06 22:01:48 | 25.4
799 | 2023-07-06 22:16:48 | 25.3
800 | 2023-07-06 22:31:48 | 25.1
801 | 2023-07-06 22:46:48 | 24.8
802 | 2023-07-06 23:01:48 | 24.6
803 | 2023-07-06 23:16:48 | 24.6
804 | 2023-07-06 23:31:48 | 25.0
805 | 2023-07-06 23:46:48 | 25.1
806 | 2023-07-07 00:01:48 | 25.2
807 | 2023-07-07 00:16:48 | 25.4
808 | 2023-07-07 00:31:48 | 25.0
809 | 2023-07-07 00:46:48 | 24.6
810 | 2023-07-07 01:01:48 | 24.2
811 | 2023-07-07 01:16:48 | 23.8
812 | 2023-07-07 01:31:48 | 23.9
813 | 2023-07-07 01:46:48 | 23.9
814 | 2023-07-07 02:01:48 | 23.7
815 | 2023-07-07 02:16:48 | 23.4
816 | 2023-07-07 02:31:48 | 23.4
817 | 2023-07-07 02:46:48 | 23.5
818 | 2023-07-07 03:01:48 | 23.7
819 | 2023-07-07 03:16:48 | 23.9
820 | 2023-07-07 03:31:48 | 24.7
821 | 2023-07-07 03:46:48 | 23.9
822 | 2023-07-07 04:01:48 | 23.5
823 | 2023-07-07 04:16:48 | 22.8
824 | 2023-07-07 04:31:48 | 23.0
825 | 2023-07-07 04:46:48 | 23.3
826 | 2023-07-07 05:01:48 | 23.3
827 | 2023-07-07 05:16:48 | 23.4
828 | 2023-07-07 05:31:48 | 23.1
829 | 2023-07-07 05:46:48 | 22.9
830 | 2023-07-07 06:01:48 | 23.4
831 | 2023-07-07 06:16:48 | 23.7
832 | 2023-07-07 06:31:48 | 23.9
833 | 2023-07-07 06:46:48 | 24.5
834 | 2023-07-07 07:01:48 | 24.6
835 | 2023-07-07 07:16:48 | 24.9
836 | 2023-07-07 07:31:48 | 25.6
837 | 2023-07-07 07:46:48 | 25.8
838 | 2023-07-07 08:01:48 | 25.8
839 | 2023-07-07 08:16:48 | 25.9
840 | 2023-07-07 08:31:48 | 25.5
841 | 2023-07-07 08:46:48 | 25.0
842 | 2023-07-07 09:01:48 | 24.7
843 | 2023-07-07 09:16:48 | 24.5
844 | 2023-07-07 09:31:48 | 23.8
845 | 2023-07-07 09:46:48 | 23.6
846 | 2023-07-07 10:01:48 | 23.8
847 | 2023-07-07 10:16:48 | 24.2
848 | 2023-07-07 10:31:48 | 24.1
849 | 2023-07-07 10:46:48 | 24.0
850 | 2023-07-07 11:01:48 | 24.6
851 | 2023-07-07 11:16:48 | 25.2
852 | 2023-07-07 11:31:48 | 25.2
853 | 2023-07-07 11:46:48 | 26.4
854 | 2023-07-07 12:01:48 | 27.9
855 | 2023-07-07 12:16:48 | 28.9
856 | 2023-07-07 12:31:48 | 27.5
857 | 2023-07-07 12:46:48 | 28.0
858 | 2023-07-07 13:01:48 | 28.8
859 | 2023-07-07 13:16:48 | 29.6
860 | 2023-07-07 13:31:48 | 30.0
861 | 2023-07-07 13:46:48 | 31.2
862 | 2023-07-07 14:01:48 | 30.2
863 | 2023-07-07 14:16:48 | 31.7
864 | 2023-07-07 14:31:48 | 29.7
865 | 2023-07-07 14:46:48 | 30.2
866 | 2023-07-07 15:01:48 | 31.6
867 | 2023-07-07 15:16:48 | 29.8
868 | 2023-07-07 15:31:48 | 28.8
869 | 2023-07-07 15:46:48 | 29.8
870 | 2023-07-07 16:01:48 | 29.0
871 | 2023-07-07 16:16:48 | 29.7
872 | 2023-07-07 16:31:48 | 28.9
873 | 2023-07-07 16:46:48 | 28.8
874 | 2023-07-07 17:01:48 | 28.4
875 | 2023-07-07 17:16:48 | 29.3
876 | 2023-07-07 17:31:48 | 28.5
877 | 2023-07-07 17:46:48 | 26.9
878 | 2023-07-07 18:01:48 | 26.1
879 | 2023-07-07 18:16:48 | 25.8
880 | 2023-07-07 18:31:48 | 25.8
881 | 2023-07-07 18:46:48 | 25.9
882 | 2023-07-07 19:01:48 | 25.9
883 | 2023-07-07 19:16:48 | 25.9
884 | 2023-07-07 19:31:48 | 26.2
885 | 2023-07-07 19:46:48 | 26.2
886 | 2023-07-07 20:01:48 | 26.1
887 | 2023-07-07 20:16:48 | 25.3
888 | 2023-07-07 20:31:48 | 25.0
889 | 2023-07-07 20:46:48 | 24.7
890 | 2023-07-07 21:01:48 | 24.3
891 | 2023-07-07 21:16:48 | 23.9
892 | 2023-07-07 21:31:48 | 23.7
893 | 2023-07-07 21:46:48 | 23.3
894 | 2023-07-07 22:01:48 | 23.2
895 | 2023-07-07 22:16:48 | 23.2
896 | 2023-07-07 22:31:48 | 23.2
897 | 2023-07-07 22:46:48 | 22.8
898 | 2023-07-07 23:01:48 | 22.7
899 | 2023-07-07 23:16:48 | 22.8
900 | 2023-07-07 23:31:48 | 22.7
901 | 2023-07-07 23:46:48 | 22.5
902 | 2023-07-08 00:01:48 | 22.5
903 | 2023-07-08 00:16:48 | 22.3
904 | 2023-07-08 00:31:48 | 22.3
905 | 2023-07-08 00:46:48 | 22.1
906 | 2023-07-08 01:01:48 | 22.1
907 | 2023-07-08 01:16:48 | 21.9
908 | 2023-07-08 01:31:48 | 21.9
909 | 2023-07-08 01:46:48 | 21.9
910 | 2023-07-08 02:01:48 | 21.8
911 | 2023-07-08 02:16:48 | 21.9
912 | 2023-07-08 02:31:48 | 21.8
913 | 2023-07-08 02:46:48 | 21.7
914 | 2023-07-08 03:01:48 | 21.9
915 | 2023-07-08 03:16:48 | 22.1
916 | 2023-07-08 03:31:48 | 22.0
917 | 2023-07-08 03:46:48 | 21.8
918 | 2023-07-08 04:01:48 | 21.5
919 | 2023-07-08 04:16:48 | 21.7
920 | 2023-07-08 04:31:48 | 21.8
921 | 2023-07-08 04:46:48 | 21.8
922 | 2023-07-08 05:01:48 | 21.8
923 | 2023-07-08 05:16:48 | 21.6
924 | 2023-07-08 05:31:48 | 21.5
925 | 2023-07-08 05:46:48 | 21.6
926 | 2023-07-08 06:01:48 | 21.5
927 | 2023-07-08 06:16:48 | 21.6
928 | 2023-07-08 06:31:48 | 21.6
929 | 2023-07-08 06:46:48 | 22.1
930 | 2023-07-08 07:01:48 | 22.4
931 | 2023-07-08 07:16:48 | 22.4
932 | 2023-07-08 07:31:48 | 22.8
933 | 2023-07-08 07:46:48 | 23.1
934 | 2023-07-08 08:01:48 | 23.8
935 | 2023-07-08 08:16:48 | 24.3
936 | 2023-07-08 08:31:48 | 25.2
937 | 2023-07-08 08:46:48 | 25.4
938 | 2023-07-08 09:01:48 | 26.0
939 | 2023-07-08 09:16:48 | 26.1
940 | 2023-07-08 09:31:48 | 25.7
941 | 2023-07-08 09:46:48 | 27.5
942 | 2023-07-08 10:01:48 | 29.1
943 | 2023-07-08 10:16:48 | 30.0
944 | 2023-07-08 10:31:48 | 30.9
945 | 2023-07-08 10:46:48 | 31.1
946 | 2023-07-08 11:01:48 | 31.4
947 | 2023-07-08 11:16:48 | 30.9
948 | 2023-07-08 11:31:48 | 31.0
949 | 2023-07-08 11:46:48 | 31.7
950 | 2023-07-08 12:01:48 | 31.9
951 | 2023-07-08 12:16:48 | 32.4
952 | 2023-07-08 12:31:48 | 33.2
953 | 2023-07-08 12:46:48 | 32.7
954 | 2023-07-08 13:01:48 | 32.7
955 | 2023-07-08 13:16:48 | 31.6
956 | 2023-07-08 13:31:48 | 30.8
957 | 2023-07-08 13:46:48 | 32.8
958 | 2023-07-08 14:01:48 | 33.8
959 | 2023-07-08 14:16:48 | 33.6
960 | 2023-07-08 14:31:48 | 33.1
961 | 2023-07-08 14:46:48 | 31.6
962 | 2023-07-08 15:01:48 | 32.5
963 | 2023-07-08 15:16:48 | 32.6
964 | 2023-07-08 15:31:48 | 32.6
965 | 2023-07-08 15:46:48 | 32.5
966 | 2023-07-08 16:01:48 | 31.9
967 | 2023-07-08 16:16:48 | 31.7
968 | 2023-07-08 16:31:48 | 32.0
969 | 2023-07-08 16:46:48 | 32.3
970 | 2023-07-08 17:01:48 | 32.0
971 | 2023-07-08 17:16:48 | 31.9
972 | 2023-07-08 17:31:48 | 31.9
973 | 2023-07-08 17:46:48 | 30.7
974 | 2023-07-08 18:01:48 | 30.2
975 | 2023-07-08 18:16:48 | 29.8
976 | 2023-07-08 18:31:48 | 29.5
977 | 2023-07-08 18:46:48 | 29.4
978 | 2023-07-08 19:01:48 | 28.9
979 | 2023-07-08 19:16:48 | 28.8
980 | 2023-07-08 19:31:48 | 28.5
981 | 2023-07-08 19:46:48 | 28.2
982 | 2023-07-08 20:01:48 | 27.7
983 | 2023-07-08 20:16:48 | 27.4
984 | 2023-07-08 20:31:48 | 27.2
985 | 2023-07-08 20:46:48 | 27.0
986 | 2023-07-08 21:01:48 | 27.2
987 | 2023-07-08 21:16:48 | 27.3
988 | 2023-07-08 21:31:48 | 27.3
989 | 2023-07-08 21:46:48 | 26.9
990 | 2023-07-08 22:01:48 | 27.0
991 | 2023-07-08 22:16:48 | 27.0
992 | 2023-07-08 22:31:48 | 26.7
993 | 2023-07-08 22:46:48 | 26.4
994 | 2023-07-08 23:01:48 | 26.3
995 | 2023-07-08 23:16:48 | 26.2
996 | 2023-07-08 23:31:48 | 26.0
997 | 2023-07-08 23:46:48 | 25.7
998 | 2023-07-09 00:01:48 | 25.6
999 | 2023-07-09 00:16:48 | 25.5
1000 | 2023-07-09 00:31:48 | 25.2
1001 | 2023-07-09 00:46:48 | 24.8
1002 | 2023-07-09 01:01:48 | 24.5
1003 | 2023-07-09 01:16:48 | 24.3
1004 | 2023-07-09 01:31:48 | 24.0
1005 | 2023-07-09 01:46:48 | 23.8
1006 | 2023-07-09 02:01:48 | 23.5
1007 | 2023-07-09 02:16:48 | 23.3
1008 | 2023-07-09 02:31:48 | 23.1
1009 | 2023-07-09 02:46:48 | 23.0
1010 | 2023-07-09 03:01:48 | 23.0
1011 | 2023-07-09 03:16:48 | 23.0
1012 | 2023-07-09 03:31:48 | 22.8
1013 | 2023-07-09 03:46:48 | 22.6
1014 | 2023-07-09 04:01:48 | 22.4
1015 | 2023-07-09 04:16:48 | 22.1
1016 | 2023-07-09 04:31:48 | 22.0
1017 | 2023-07-09 04:46:48 | 22.0
1018 | 2023-07-09 05:01:48 | 21.9
1019 | 2023-07-09 05:16:48 | 21.9
1020 | 2023-07-09 05:31:48 | 21.9
1021 | 2023-07-09 05:46:48 | 21.7
1022 | 2023-07-09 06:01:48 | 21.7
1023 | 2023-07-09 06:16:48 | 21.6
1024 | 2023-07-09 06:31:48 | 21.6
1025 | 2023-07-09 06:46:48 | 21.9
1026 | 2023-07-09 07:01:48 | 22.0
1027 | 2023-07-09 07:16:48 | 21.9
1028 | 2023-07-09 07:31:48 | 22.0
1029 | 2023-07-09 07:46:48 | 22.6
1030 | 2023-07-09 08:01:48 | 23.1
1031 | 2023-07-09 08:16:48 | 23.7
1032 | 2023-07-09 08:31:48 | 24.3
1033 | 2023-07-09 08:46:48 | 24.5
1034 | 2023-07-09 09:01:48 | 24.5
1035 | 2023-07-09 09:16:48 | 24.7
1036 | 2023-07-09 09:31:48 | 24.7
1037 | 2023-07-09 09:46:48 | 24.4
1038 | 2023-07-09 10:01:48 | 24.7
1039 | 2023-07-09 10:16:48 | 25.2
1040 | 2023-07-09 10:31:48 | 25.4
1041 | 2023-07-09 10:46:48 | 26.4
1042 | 2023-07-09 11:01:48 | 25.7
1043 | 2023-07-09 11:16:48 | 25.3
1044 | 2023-07-09 11:31:48 | 25.4
1045 | 2023-07-09 11:46:48 | 25.4
1046 | 2023-07-09 12:01:48 | 25.3
1047 | 2023-07-09 12:16:48 | 25.7
1048 | 2023-07-09 12:31:48 | 26.0
1049 | 2023-07-09 12:46:48 | 26.1
1050 | 2023-07-09 13:01:48 | 27.0
1051 | 2023-07-09 13:16:48 | 27.3
1052 | 2023-07-09 13:31:48 | 27.8
1053 | 2023-07-09 13:46:48 | 29.3
1054 | 2023-07-09 14:01:48 | 30.1
1055 | 2023-07-09 14:16:48 | 29.9
1056 | 2023-07-09 14:31:48 | 29.2
1057 | 2023-07-09 14:46:48 | 29.1
1058 | 2023-07-09 15:01:48 | 27.9
1059 | 2023-07-09 15:16:48 | 27.3
1060 | 2023-07-09 15:31:48 | 27.4
1061 | 2023-07-09 15:46:48 | 26.9
1062 | 2023-07-09 16:01:48 | 26.5
1063 | 2023-07-09 16:16:48 | 27.0
1064 | 2023-07-09 16:31:48 | 26.8
1065 | 2023-07-09 16:46:48 | 26.2
1066 | 2023-07-09 17:01:48 | 25.9
1067 | 2023-07-09 17:16:48 | 25.6
1068 | 2023-07-09 17:31:48 | 25.5
1069 | 2023-07-09 17:46:48 | 25.4
1070 | 2023-07-09 18:01:48 | 25.3
1071 | 2023-07-09 18:16:48 | 25.3
1072 | 2023-07-09 18:31:48 | 25.5
1073 | 2023-07-09 18:46:48 | 24.0
1074 | 2023-07-09 19:01:48 | 23.6
1075 | 2023-07-09 19:16:48 | 22.9
1076 | 2023-07-09 19:31:48 | 22.2
1077 | 2023-07-09 19:46:48 | 22.1
1078 | 2023-07-09 20:01:48 | 22.4
1079 | 2023-07-09 20:16:48 | 22.1
1080 | 2023-07-09 20:31:48 | 22.1
1081 | 2023-07-09 20:46:48 | 22.2
1082 | 2023-07-09 21:01:48 | 21.0
1083 | 2023-07-09 21:16:48 | 20.5
1084 | 2023-07-09 21:31:48 | 20.4
1085 | 2023-07-09 21:46:48 | 20.1
1086 | 2023-07-09 22:01:48 | 20.1
1087 | 2023-07-09 22:16:48 | 20.0
1088 | 2023-07-09 22:31:48 | 20.0
1089 | 2023-07-09 22:46:48 | 20.0
1090 | 2023-07-09 23:01:48 | 20.0
1091 | 2023-07-09 23:16:48 | 20.1
1092 | 2023-07-09 23:31:48 | 20.1
1093 | 2023-07-09 23:46:48 | 20.3
1094 | 2023-07-10 00:01:48 | 20.3
1095 | 2023-07-10 00:16:48 | 20.4
1096 | 2023-07-10 00:31:48 | 20.4
1097 | 2023-07-10 00:46:48 | 20.4
1098 | 2023-07-10 01:01:48 | 20.5
1099 | 2023-07-10 01:16:48 | 20.4
1100 | 2023-07-10 01:31:48 | 20.5
1101 | 2023-07-10 01:46:48 | 20.5
1102 | 2023-07-10 02:01:48 | 20.6
1103 | 2023-07-10 02:16:48 | 20.6
1104 | 2023-07-10 02:31:48 | 20.7
1105 | 2023-07-10 02:46:48 | 20.6
1106 | 2023-07-10 03:01:48 | 20.5
1107 | 2023-07-10 03:16:48 | 20.5
1108 | 2023-07-10 03:31:48 | 20.3
1109 | 2023-07-10 03:46:48 | 19.9
1110 | 2023-07-10 04:01:48 | 19.7
1111 | 2023-07-10 04:16:48 | 19.7
1112 | 2023-07-10 04:31:48 | 19.6
1113 | 2023-07-10 04:46:48 | 19.6
1114 | 2023-07-10 05:01:48 | 19.6
1115 | 2023-07-10 05:16:48 | 19.6
1116 | 2023-07-10 05:31:48 | 19.7
1117 | 2023-07-10 05:46:48 | 19.8
1118 | 2023-07-10 06:01:48 | 19.8
1119 | 2023-07-10 06:16:48 | 20.0
1120 | 2023-07-10 06:31:48 | 20.1
1121 | 2023-07-10 06:46:48 | 20.2
1122 | 2023-07-10 07:01:48 | 20.3
1123 | 2023-07-10 07:16:48 | 20.5
1124 | 2023-07-10 07:31:48 | 20.5
1125 | 2023-07-10 07:46:48 | 20.4
1126 | 2023-07-10 08:01:48 | 20.5
1127 | 2023-07-10 08:16:48 | 20.6
1128 | 2023-07-10 08:31:48 | 20.4
1129 | 2023-07-10 08:46:48 | 20.4
1130 | 2023-07-10 09:01:48 | 20.6
1131 | 2023-07-10 09:16:48 | 20.7
1132 | 2023-07-10 09:31:48 | 21.0
1133 | 2023-07-10 09:46:48 | 21.1
1134 | 2023-07-10 10:01:48 | 21.2
1135 | 2023-07-10 10:16:48 | 21.1
1136 | 2023-07-10 10:31:48 | 21.1
1137 | 2023-07-10 10:46:48 | 21.1
1138 | 2023-07-10 11:01:48 | 21.1
1139 | 2023-07-10 11:16:48 | 21.4
1140 | 2023-07-10 11:31:48 | 21.6
1141 | 2023-07-10 11:46:48 | 22.1
1142 | 2023-07-10 12:01:48 | 22.1
1143 | 2023-07-10 12:16:48 | 22.0
1144 | 2023-07-10 12:31:48 | 21.9
1145 | 2023-07-10 12:46:48 | 22.4
1146 | 2023-07-10 13:01:48 | 22.4
1147 | 2023-07-10 13:16:48 | 22.2
1148 | 2023-07-10 13:31:48 | 22.5
1149 | 2023-07-10 13:46:48 | 22.2
1150 | 2023-07-10 14:01:48 | 21.9
1151 | 2023-07-10 14:16:48 | 22.2
1152 | 2023-07-10 14:31:48 | 22.3
1153 | 2023-07-10 14:46:48 | 22.2
1154 | 2023-07-10 15:01:48 | 22.4
1155 | 2023-07-10 15:16:48 | 22.3
1156 | 2023-07-10 15:31:48 | 21.9
1157 | 2023-07-10 15:46:48 | 21.7
1158 | 2023-07-10 16:01:48 | 21.7
1159 | 2023-07-10 16:16:48 | 21.6
1160 | 2023-07-10 16:31:48 | 21.6
1161 | 2023-07-10 16:46:48 | 21.5
1162 | 2023-07-10 17:01:48 | 21.3
1163 | 2023-07-10 17:16:48 | 21.2
1164 | 2023-07-10 17:31:48 | 21.4
1165 | 2023-07-10 17:46:48 | 21.3
1166 | 2023-07-10 18:01:48 | 21.1
1167 | 2023-07-10 18:16:48 | 21.0
1168 | 2023-07-10 18:31:48 | 21.0
1169 | 2023-07-10 18:46:48 | 21.0
1170 | 2023-07-10 19:01:48 | 21.0
1171 | 2023-07-10 19:16:48 | 21.0
1172 | 2023-07-10 19:31:48 | 21.0
1173 | 2023-07-10 19:46:48 | 21.0
1174 | 2023-07-10 20:01:48 | 21.1
1175 | 2023-07-10 20:16:48 | 20.9
1176 | 2023-07-10 20:31:48 | 20.7
1177 | 2023-07-10 20:46:48 | 20.7
1178 | 2023-07-10 21:01:48 | 20.6
1179 | 2023-07-10 21:16:48 | 20.6
1180 | 2023-07-10 21:31:48 | 20.5
1181 | 2023-07-10 21:46:48 | 20.5
1182 | 2023-07-10 22:01:48 | 20.4
1183 | 2023-07-10 22:16:48 | 20.4
1184 | 2023-07-10 22:31:48 | 20.3
1185 | 2023-07-10 22:46:48 | 20.3
1186 | 2023-07-10 23:01:48 | 20.4
1187 | 2023-07-10 23:16:48 | 20.5
1188 | 2023-07-10 23:31:48 | 20.6
1189 | 2023-07-10 23:46:48 | 20.4
1190 | 2023-07-11 00:01:48 | 20.2
1191 | 2023-07-11 00:16:48 | 20.1
1192 | 2023-07-11 00:31:48 | 20.0
1193 | 2023-07-11 00:46:48 | 20.1
1194 | 2023-07-11 01:01:48 | 20.2
1195 | 2023-07-11 01:16:48 | 20.2
1196 | 2023-07-11 01:31:48 | 20.4
1197 | 2023-07-11 01:46:48 | 20.4
1198 | 2023-07-11 02:01:48 | 20.4
1199 | 2023-07-11 02:16:48 | 20.4
1200 | 2023-07-11 02:31:48 | 20.4
1201 | 2023-07-11 02:46:48 | 20.5
1202 | 2023-07-11 03:01:48 | 20.5
1203 | 2023-07-11 03:16:48 | 20.6
1204 | 2023-07-11 03:31:48 | 20.6
1205 | 2023-07-11 03:46:48 | 20.7
1206 | 2023-07-11 04:01:48 | 20.7
1207 | 2023-07-11 04:16:48 | 20.8
1208 | 2023-07-11 04:31:48 | 20.7
1209 | 2023-07-11 04:46:48 | 20.5
1210 | 2023-07-11 05:01:48 | 20.5
1211 | 2023-07-11 05:16:48 | 20.4
1212 | 2023-07-11 05:31:48 | 20.2
1213 | 2023-07-11 05:46:48 | 20.3
1214 | 2023-07-11 06:01:48 | 20.5
1215 | 2023-07-11 06:16:48 | 20.5
1216 | 2023-07-11 06:31:48 | 20.5
1217 | 2023-07-11 06:46:48 | 20.5
1218 | 2023-07-11 07:01:48 | 20.6
1219 | 2023-07-11 07:16:48 | 20.8
1220 | 2023-07-11 07:31:48 | 20.8
1221 | 2023-07-11 07:46:48 | 20.7
1222 | 2023-07-11 08:01:48 | 20.7
1223 | 2023-07-11 08:16:48 | 20.9
1224 | 2023-07-11 08:31:48 | 20.9
1225 | 2023-07-11 08:46:48 | 21.0
1226 | 2023-07-11 09:01:48 | 20.9
1227 | 2023-07-11 09:16:48 | 20.9
1228 | 2023-07-11 09:31:48 | 21.0
1229 | 2023-07-11 09:46:48 | 21.0
1230 | 2023-07-11 10:01:48 | 21.5
1231 | 2023-07-11 10:16:48 | 22.0
1232 | 2023-07-11 10:31:48 | 23.0
1233 | 2023-07-11 10:46:48 | 25.8
1234 | 2023-07-11 11:01:48 | 25.3
1235 | 2023-07-11 11:16:48 | 25.4
1236 | 2023-07-11 11:31:48 | 25.5
1237 | 2023-07-11 11:46:48 | 25.9
1238 | 2023-07-11 12:01:48 | 26.5
1239 | 2023-07-11 12:16:48 | 27.0
1240 | 2023-07-11 12:31:48 | 28.8
1241 | 2023-07-11 12:46:48 | 28.3
1242 | 2023-07-11 13:01:48 | 28.7
1243 | 2023-07-11 13:16:48 | 29.2
1244 | 2023-07-11 13:31:48 | 30.0
1245 | 2023-07-11 13:46:48 | 30.1
1246 | 2023-07-11 14:01:48 | 30.8
1247 | 2023-07-11 14:16:48 | 31.0
1248 | 2023-07-11 14:31:48 | 31.4
1249 | 2023-07-11 14:46:48 | 31.4
1250 | 2023-07-11 15:01:48 | 31.8
1251 | 2023-07-11 15:16:48 | 31.9
1252 | 2023-07-11 15:31:48 | 32.3
1253 | 2023-07-11 15:46:48 | 32.4
1254 | 2023-07-11 16:01:48 | 32.6
1255 | 2023-07-11 16:16:48 | 32.5
1256 | 2023-07-11 16:31:48 | 32.0
1257 | 2023-07-11 16:46:48 | 31.6
1258 | 2023-07-11 17:01:48 | 30.5
1259 | 2023-07-11 17:16:48 | 29.4
1260 | 2023-07-11 17:31:48 | 30.1
1261 | 2023-07-11 17:46:48 | 30.2
1262 | 2023-07-11 18:01:48 | 29.8
1263 | 2023-07-11 18:16:48 | 29.5
1264 | 2023-07-11 18:31:48 | 29.2
1265 | 2023-07-11 18:46:48 | 28.9
1266 | 2023-07-11 19:01:48 | 28.3
1267 | 2023-07-11 19:16:48 | 28.2
1268 | 2023-07-11 19:31:48 | 27.9
1269 | 2023-07-11 19:46:48 | 27.7
1270 | 2023-07-11 20:01:48 | 26.7
1271 | 2023-07-11 20:16:48 | 24.8
1272 | 2023-07-11 20:31:48 | 23.7
1273 | 2023-07-11 20:46:48 | 23.5
1274 | 2023-07-11 21:01:48 | 22.8
1275 | 2023-07-11 21:16:48 | 22.1
1276 | 2023-07-11 21:31:48 | 21.3
1277 | 2023-07-11 21:46:48 | 21.0
1278 | 2023-07-11 22:01:48 | 21.2
1279 | 2023-07-11 22:16:48 | 21.9
1280 | 2023-07-11 22:31:48 | 22.5
1281 | 2023-07-11 22:46:48 | 22.8
1282 | 2023-07-11 23:01:48 | 23.4
1283 | 2023-07-11 23:16:48 | 23.0
1284 | 2023-07-11 23:31:48 | 22.6
1285 | 2023-07-11 23:46:48 | 22.3
1286 | 2023-07-12 00:01:48 | 22.2
1287 | 2023-07-12 00:16:48 | 21.9
1288 | 2023-07-12 00:31:48 | 21.3
1289 | 2023-07-12 00:46:48 | 20.8
1290 | 2023-07-12 01:01:48 | 20.5
1291 | 2023-07-12 01:16:48 | 20.5
1292 | 2023-07-12 01:31:48 | 20.8
1293 | 2023-07-12 01:46:48 | 21.1
1294 | 2023-07-12 02:01:48 | 20.4
1295 | 2023-07-12 02:16:48 | 19.2
1296 | 2023-07-12 02:31:48 | 18.9
1297 | 2023-07-12 02:46:48 | 19.0
1298 | 2023-07-12 03:01:48 | 18.9
1299 | 2023-07-12 03:16:48 | 18.9
1300 | 2023-07-12 03:31:48 | 18.7
1301 | 2023-07-12 03:46:48 | 18.6
1302 | 2023-07-12 04:01:48 | 18.5
1303 | 2023-07-12 04:16:48 | 18.5
1304 | 2023-07-12 04:31:48 | 18.5
1305 | 2023-07-12 04:46:48 | 19.0
1306 | 2023-07-12 05:01:48 | 19.2
1307 | 2023-07-12 05:16:48 | 19.6
1308 | 2023-07-12 05:31:48 | 19.7
1309 | 2023-07-12 05:46:48 | 20.1
1310 | 2023-07-12 06:01:48 | 20.0
1311 | 2023-07-12 06:16:48 | 20.1
1312 | 2023-07-12 06:31:48 | 20.4
1313 | 2023-07-12 06:46:48 | 20.8
1314 | 2023-07-12 07:01:48 | 21.2
1315 | 2023-07-12 07:16:48 | 21.3
1316 | 2023-07-12 07:31:48 | 21.4
1317 | 2023-07-12 07:46:48 | 21.1
1318 | 2023-07-12 08:01:48 | 21.2
1319 | 2023-07-12 08:16:48 | 21.9
1320 | 2023-07-12 08:31:48 | 22.6
1321 | 2023-07-12 08:46:48 | 22.9
1322 | 2023-07-12 09:01:48 | 23.1
1323 | 2023-07-12 09:16:48 | 23.5
1324 | 2023-07-12 09:31:48 | 24.0
1325 | 2023-07-12 09:46:48 | 24.5
1326 | 2023-07-12 10:01:48 | 26.1
1327 | 2023-07-12 10:16:48 | 27.0
1328 | 2023-07-12 10:31:48 | 27.0
1329 | 2023-07-12 10:46:48 | 26.7
1330 | 2023-07-12 11:01:48 | 27.0
1331 | 2023-07-12 11:16:48 | 29.6
1332 | 2023-07-12 11:31:48 | 29.7
1333 | 2023-07-12 11:46:48 | 27.7
1334 | 2023-07-12 12:01:48 | 29.6
1335 | 2023-07-12 12:16:48 | 28.6
1336 | 2023-07-12 12:31:48 | 28.4
1337 | 2023-07-12 12:46:48 | 29.5
1338 | 2023-07-12 13:01:48 | 29.6
1339 | 2023-07-12 13:16:48 | 27.5