## Table
Data Report
File is created on: 2023-07-05 09:49:17
Device Information
Model | RC- 5 |  | Probe Type | Temperature(Internal)
S/N | EFE231100351 |  | Firmware Version | V1.5
Trip Description
Trip Code | 0000001
Trip Description | Temperature recording.
Config. info
Start Mode | Press Button |  | Logging Interval | 0H 15M 0S
Start Delay | 0H0M |  | Cyclic Record | Disable
Time Zone | UTC +00:00 |  | Stop Mode | Press Button+Use Software
Mark Time
N/A
Alarm | Alarm Delay | Over-limit Duration | Over-limit Times | Alarm
H3: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
H2: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
H1: 60.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 21580 | Normal
Unlimited |  | -20976D -18H -20M -56S
L1: -30.0℃ | 0D 0H 0M 0S(Single) | 16717D 7H 20M 5S | 32512 | Normal
L2: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
Summary
Maximum | 40.1℃ |  | First Reading | 2023-06-28 14:46:48
Minimum | 17.9℃ |  | Last Reading | 2023-07-05 09:46:48
Average | N/A |  | Logging Duration | 6D 19H 0M 0S
Mean Kinetic Temperature (MKT) | N/A |  | Current Readings | 653
First Alarm at (Temperature) | N/A
No. | Time | Temperature℃
1 | 2023-06-28 14:46:48 | 21.9
2 | 2023-06-28 15:01:48 | 22.6
3 | 2023-06-28 15:16:48 | 22.4
4 | 2023-06-28 15:31:48 | 22.2
5 | 2023-06-28 15:46:48 | 21.8
6 | 2023-06-28 16:01:48 | 21.3
7 | 2023-06-28 16:16:48 | 21.1
8 | 2023-06-28 16:31:48 | 21.1
9 | 2023-06-28 16:46:48 | 20.7
10 | 2023-06-28 17:01:48 | 20.8
11 | 2023-06-28 17:16:48 | 20.6
12 | 2023-06-28 17:31:48 | 20.3
13 | 2023-06-28 17:46:48 | 20.2
14 | 2023-06-28 18:01:48 | 20.1
15 | 2023-06-28 18:16:48 | 20.0
16 | 2023-06-28 18:31:48 | 20.0
17 | 2023-06-28 18:46:48 | 19.7
18 | 2023-06-28 19:01:48 | 19.7
19 | 2023-06-28 19:16:48 | 19.5
20 | 2023-06-28 19:31:48 | 19.2
21 | 2023-06-28 19:46:48 | 19.1
22 | 2023-06-28 20:01:48 | 18.9
23 | 2023-06-28 20:16:48 | 18.6
24 | 2023-06-28 20:31:48 | 18.6
25 | 2023-06-28 20:46:48 | 18.6
26 | 2023-06-28 21:01:48 | 18.5
27 | 2023-06-28 21:16:48 | 18.5
28 | 2023-06-28 21:31:48 | 18.4
29 | 2023-06-28 21:46:48 | 18.3
30 | 2023-06-28 22:01:48 | 18.2
31 | 2023-06-28 22:16:48 | 18.3
32 | 2023-06-28 22:31:48 | 18.3
33 | 2023-06-28 22:46:48 | 18.4
34 | 2023-06-28 23:01:48 | 18.4
35 | 2023-06-28 23:16:48 | 18.4
36 | 2023-06-28 23:31:48 | 18.4
37 | 2023-06-28 23:46:48 | 18.4
38 | 2023-06-29 00:01:48 | 18.4
39 | 2023-06-29 00:16:48 | 18.2
40 | 2023-06-29 00:31:48 | 18.3
41 | 2023-06-29 00:46:48 | 18.2
42 | 2023-06-29 01:01:48 | 18.3
43 | 2023-06-29 01:16:48 | 18.2
44 | 2023-06-29 01:31:48 | 18.2
45 | 2023-06-29 01:46:48 | 18.2
46 | 2023-06-29 02:01:48 | 18.1
47 | 2023-06-29 02:16:48 | 18.2
48 | 2023-06-29 02:31:48 | 18.2
49 | 2023-06-29 02:46:48 | 18.2
50 | 2023-06-29 03:01:48 | 18.2
51 | 2023-06-29 03:16:48 | 18.2
52 | 2023-06-29 03:31:48 | 18.2
53 | 2023-06-29 03:46:48 | 18.2
54 | 2023-06-29 04:01:48 | 18.1
55 | 2023-06-29 04:16:48 | 18.1
56 | 2023-06-29 04:31:48 | 18.0
57 | 2023-06-29 04:46:48 | 18.0
58 | 2023-06-29 05:01:48 | 18.0
59 | 2023-06-29 05:16:48 | 17.9
60 | 2023-06-29 05:31:48 | 18.0
61 | 2023-06-29 05:46:48 | 18.0
62 | 2023-06-29 06:01:48 | 18.2
63 | 2023-06-29 06:16:48 | 18.2
64 | 2023-06-29 06:31:48 | 18.2
65 | 2023-06-29 06:46:48 | 18.4
66 | 2023-06-29 07:01:48 | 18.4
67 | 2023-06-29 07:16:48 | 18.5
68 | 2023-06-29 07:31:48 | 18.7
69 | 2023-06-29 07:46:48 | 18.9
70 | 2023-06-29 08:01:48 | 19.1
71 | 2023-06-29 08:16:48 | 19.0
72 | 2023-06-29 08:31:48 | 19.0
73 | 2023-06-29 08:46:48 | 19.1
74 | 2023-06-29 09:01:48 | 19.4
75 | 2023-06-29 09:16:48 | 19.6
76 | 2023-06-29 09:31:48 | 19.5
77 | 2023-06-29 09:46:48 | 19.5
78 | 2023-06-29 10:01:48 | 19.9
79 | 2023-06-29 10:16:48 | 20.4
80 | 2023-06-29 10:31:48 | 20.7
81 | 2023-06-29 10:46:48 | 21.0
82 | 2023-06-29 11:01:48 | 21.2
83 | 2023-06-29 11:16:48 | 21.6
84 | 2023-06-29 11:31:48 | 22.3
85 | 2023-06-29 11:46:48 | 22.3
86 | 2023-06-29 12:01:48 | 22.4
87 | 2023-06-29 12:16:48 | 22.0
88 | 2023-06-29 12:31:48 | 21.6
89 | 2023-06-29 12:46:48 | 21.5
90 | 2023-06-29 13:01:48 | 21.9
91 | 2023-06-29 13:16:48 | 21.8
92 | 2023-06-29 13:31:48 | 23.0
93 | 2023-06-29 13:46:48 | 25.2
94 | 2023-06-29 14:01:48 | 26.4
95 | 2023-06-29 14:16:48 | 24.8
96 | 2023-06-29 14:31:48 | 24.9
97 | 2023-06-29 14:46:48 | 26.7
98 | 2023-06-29 15:01:48 | 26.9
99 | 2023-06-29 15:16:48 | 26.3
100 | 2023-06-29 15:31:48 | 27.9
101 | 2023-06-29 15:46:48 | 27.4
102 | 2023-06-29 16:01:48 | 26.2
103 | 2023-06-29 16:16:48 | 26.0
104 | 2023-06-29 16:31:48 | 26.1
105 | 2023-06-29 16:46:48 | 29.0
106 | 2023-06-29 17:01:48 | 29.8
107 | 2023-06-29 17:16:48 | 29.1
108 | 2023-06-29 17:31:48 | 26.0
109 | 2023-06-29 17:46:48 | 24.5
110 | 2023-06-29 18:01:48 | 24.5
111 | 2023-06-29 18:16:48 | 24.4
112 | 2023-06-29 18:31:48 | 24.3
113 | 2023-06-29 18:46:48 | 24.1
114 | 2023-06-29 19:01:48 | 24.1
115 | 2023-06-29 19:16:48 | 23.7
116 | 2023-06-29 19:31:48 | 23.5
117 | 2023-06-29 19:46:48 | 23.0
118 | 2023-06-29 20:01:48 | 22.6
119 | 2023-06-29 20:16:48 | 22.5
120 | 2023-06-29 20:31:48 | 22.4
121 | 2023-06-29 20:46:48 | 22.3
122 | 2023-06-29 21:01:48 | 22.2
123 | 2023-06-29 21:16:48 | 22.1
124 | 2023-06-29 21:31:48 | 22.0
125 | 2023-06-29 21:46:48 | 21.9
126 | 2023-06-29 22:01:48 | 21.6
127 | 2023-06-29 22:16:48 | 21.5
128 | 2023-06-29 22:31:48 | 21.4
129 | 2023-06-29 22:46:48 | 21.4
130 | 2023-06-29 23:01:48 | 21.3
131 | 2023-06-29 23:16:48 | 21.1
132 | 2023-06-29 23:31:48 | 21.0
133 | 2023-06-29 23:46:48 | 20.9
134 | 2023-06-30 00:01:48 | 20.8
135 | 2023-06-30 00:16:48 | 20.4
136 | 2023-06-30 00:31:48 | 20.2
137 | 2023-06-30 00:46:48 | 20.1
138 | 2023-06-30 01:01:48 | 20.1
139 | 2023-06-30 01:16:48 | 20.0
140 | 2023-06-30 01:31:48 | 19.8
141 | 2023-06-30 01:46:48 | 19.8
142 | 2023-06-30 02:01:48 | 19.9
143 | 2023-06-30 02:16:48 | 19.8
144 | 2023-06-30 02:31:48 | 19.6
145 | 2023-06-30 02:46:48 | 19.6
146 | 2023-06-30 03:01:48 | 19.4
147 | 2023-06-30 03:16:48 | 19.3
148 | 2023-06-30 03:31:48 | 19.4
149 | 2023-06-30 03:46:48 | 19.4
150 | 2023-06-30 04:01:48 | 19.3
151 | 2023-06-30 04:16:48 | 19.0
152 | 2023-06-30 04:31:48 | 18.9
153 | 2023-06-30 04:46:48 | 18.7
154 | 2023-06-30 05:01:48 | 18.5
155 | 2023-06-30 05:16:48 | 18.4
156 | 2023-06-30 05:31:48 | 18.4
157 | 2023-06-30 05:46:48 | 18.3
158 | 2023-06-30 06:01:48 | 18.3
159 | 2023-06-30 06:16:48 | 18.5
160 | 2023-06-30 06:31:48 | 18.7
161 | 2023-06-30 06:46:48 | 19.0
162 | 2023-06-30 07:01:48 | 19.2
163 | 2023-06-30 07:16:48 | 19.3
164 | 2023-06-30 07:31:48 | 19.6
165 | 2023-06-30 07:46:48 | 19.8
166 | 2023-06-30 08:01:48 | 20.4
167 | 2023-06-30 08:16:48 | 20.9
168 | 2023-06-30 08:31:48 | 21.8
169 | 2023-06-30 08:46:48 | 22.5
170 | 2023-06-30 09:01:48 | 23.6
171 | 2023-06-30 09:16:48 | 24.3
172 | 2023-06-30 09:31:48 | 25.1
173 | 2023-06-30 09:46:48 | 27.6
174 | 2023-06-30 10:01:48 | 29.5
175 | 2023-06-30 10:16:48 | 29.8
176 | 2023-06-30 10:31:48 | 31.4
177 | 2023-06-30 10:46:48 | 32.5
178 | 2023-06-30 11:01:48 | 32.8
179 | 2023-06-30 11:16:48 | 34.1
180 | 2023-06-30 11:31:48 | 34.6
181 | 2023-06-30 11:46:48 | 35.1
182 | 2023-06-30 12:01:48 | 35.5
183 | 2023-06-30 12:16:48 | 35.8
184 | 2023-06-30 12:31:48 | 36.0
185 | 2023-06-30 12:46:48 | 36.2
186 | 2023-06-30 13:01:48 | 35.9
187 | 2023-06-30 13:16:48 | 35.8
188 | 2023-06-30 13:31:48 | 36.1
189 | 2023-06-30 13:46:48 | 36.6
190 | 2023-06-30 14:01:48 | 37.1
191 | 2023-06-30 14:16:48 | 35.2
192 | 2023-06-30 14:31:48 | 35.2
193 | 2023-06-30 14:46:48 | 33.6
194 | 2023-06-30 15:01:48 | 34.2
195 | 2023-06-30 15:16:48 | 32.6
196 | 2023-06-30 15:31:48 | 31.3
197 | 2023-06-30 15:46:48 | 32.1
198 | 2023-06-30 16:01:48 | 32.7
199 | 2023-06-30 16:16:48 | 30.7
200 | 2023-06-30 16:31:48 | 31.0
201 | 2023-06-30 16:46:48 | 32.1
202 | 2023-06-30 17:01:48 | 30.9
203 | 2023-06-30 17:16:48 | 30.7
204 | 2023-06-30 17:31:48 | 29.8
205 | 2023-06-30 17:46:48 | 29.5
206 | 2023-06-30 18:01:48 | 29.3
207 | 2023-06-30 18:16:48 | 28.7
208 | 2023-06-30 18:31:48 | 28.2
209 | 2023-06-30 18:46:48 | 27.8
210 | 2023-06-30 19:01:48 | 27.5
211 | 2023-06-30 19:16:48 | 27.5
212 | 2023-06-30 19:31:48 | 27.2
213 | 2023-06-30 19:46:48 | 27.0
214 | 2023-06-30 20:01:48 | 26.5
215 | 2023-06-30 20:16:48 | 25.6
216 | 2023-06-30 20:31:48 | 25.0
217 | 2023-06-30 20:46:48 | 24.5
218 | 2023-06-30 21:01:48 | 24.2
219 | 2023-06-30 21:16:48 | 24.1
220 | 2023-06-30 21:31:48 | 24.2
221 | 2023-06-30 21:46:48 | 24.2
222 | 2023-06-30 22:01:48 | 23.7
223 | 2023-06-30 22:16:48 | 23.7
224 | 2023-06-30 22:31:48 | 23.3
225 | 2023-06-30 22:46:48 | 23.2
226 | 2023-06-30 23:01:48 | 22.9
227 | 2023-06-30 23:16:48 | 23.1
228 | 2023-06-30 23:31:48 | 23.3
229 | 2023-06-30 23:46:48 | 22.8
230 | 2023-07-01 00:01:48 | 22.6
231 | 2023-07-01 00:16:48 | 22.3
232 | 2023-07-01 00:31:48 | 22.2
233 | 2023-07-01 00:46:48 | 22.1
234 | 2023-07-01 01:01:48 | 22.1
235 | 2023-07-01 01:16:48 | 22.5
236 | 2023-07-01 01:31:48 | 22.5
237 | 2023-07-01 01:46:48 | 22.3
238 | 2023-07-01 02:01:48 | 22.0
239 | 2023-07-01 02:16:48 | 21.7
240 | 2023-07-01 02:31:48 | 21.5
241 | 2023-07-01 02:46:48 | 21.5
242 | 2023-07-01 03:01:48 | 21.3
243 | 2023-07-01 03:16:48 | 21.1
244 | 2023-07-01 03:31:48 | 20.9
245 | 2023-07-01 03:46:48 | 20.8
246 | 2023-07-01 04:01:48 | 20.7
247 | 2023-07-01 04:16:48 | 20.5
248 | 2023-07-01 04:31:48 | 20.5
249 | 2023-07-01 04:46:48 | 20.4
250 | 2023-07-01 05:01:48 | 20.6
251 | 2023-07-01 05:16:48 | 20.5
252 | 2023-07-01 05:31:48 | 20.4
253 | 2023-07-01 05:46:48 | 20.5
254 | 2023-07-01 06:01:48 | 20.5
255 | 2023-07-01 06:16:48 | 21.0
256 | 2023-07-01 06:31:48 | 21.0
257 | 2023-07-01 06:46:48 | 20.7
258 | 2023-07-01 07:01:48 | 20.9
259 | 2023-07-01 07:16:48 | 21.2
260 | 2023-07-01 07:31:48 | 22.1
261 | 2023-07-01 07:46:48 | 22.3
262 | 2023-07-01 08:01:48 | 22.5
263 | 2023-07-01 08:16:48 | 23.2
264 | 2023-07-01 08:31:48 | 24.2
265 | 2023-07-01 08:46:48 | 25.3
266 | 2023-07-01 09:01:48 | 24.2
267 | 2023-07-01 09:16:48 | 25.1
268 | 2023-07-01 09:31:48 | 25.8
269 | 2023-07-01 09:46:48 | 25.4
270 | 2023-07-01 10:01:48 | 26.4
271 | 2023-07-01 10:16:48 | 24.3
272 | 2023-07-01 10:31:48 | 23.5
273 | 2023-07-01 10:46:48 | 23.4
274 | 2023-07-01 11:01:48 | 23.3
275 | 2023-07-01 11:16:48 | 23.5
276 | 2023-07-01 11:31:48 | 23.7
277 | 2023-07-01 11:46:48 | 23.1
278 | 2023-07-01 12:01:48 | 22.3
279 | 2023-07-01 12:16:48 | 23.0
280 | 2023-07-01 12:31:48 | 24.8
281 | 2023-07-01 12:46:48 | 24.8
282 | 2023-07-01 13:01:48 | 26.5
283 | 2023-07-01 13:16:48 | 30.3
284 | 2023-07-01 13:31:48 | 32.8
285 | 2023-07-01 13:46:48 | 31.2
286 | 2023-07-01 14:01:48 | 26.9
287 | 2023-07-01 14:16:48 | 25.5
288 | 2023-07-01 14:31:48 | 27.5
289 | 2023-07-01 14:46:48 | 27.1
290 | 2023-07-01 15:01:48 | 26.7
291 | 2023-07-01 15:16:48 | 26.9
292 | 2023-07-01 15:31:48 | 27.5
293 | 2023-07-01 15:46:48 | 27.7
294 | 2023-07-01 16:01:48 | 27.5
295 | 2023-07-01 16:16:48 | 27.6
296 | 2023-07-01 16:31:48 | 27.8
297 | 2023-07-01 16:46:48 | 26.9
298 | 2023-07-01 17:01:48 | 26.4
299 | 2023-07-01 17:16:48 | 25.3
300 | 2023-07-01 17:31:48 | 24.0
301 | 2023-07-01 17:46:48 | 23.0
302 | 2023-07-01 18:01:48 | 22.8
303 | 2023-07-01 18:16:48 | 22.5
304 | 2023-07-01 18:31:48 | 22.3
305 | 2023-07-01 18:46:48 | 21.8
306 | 2023-07-01 19:01:48 | 22.0
307 | 2023-07-01 19:16:48 | 21.8
308 | 2023-07-01 19:31:48 | 21.8
309 | 2023-07-01 19:46:48 | 21.8
310 | 2023-07-01 20:01:48 | 21.6
311 | 2023-07-01 20:16:48 | 21.6
312 | 2023-07-01 20:31:48 | 21.5
313 | 2023-07-01 20:46:48 | 21.0
314 | 2023-07-01 21:01:48 | 20.8
315 | 2023-07-01 21:16:48 | 20.8
316 | 2023-07-01 21:31:48 | 21.0
317 | 2023-07-01 21:46:48 | 21.0
318 | 2023-07-01 22:01:48 | 20.9
319 | 2023-07-01 22:16:48 | 20.9
320 | 2023-07-01 22:31:48 | 20.7
321 | 2023-07-01 22:46:48 | 20.5
322 | 2023-07-01 23:01:48 | 20.5
323 | 2023-07-01 23:16:48 | 20.5
324 | 2023-07-01 23:31:48 | 20.5
325 | 2023-07-01 23:46:48 | 20.5
326 | 2023-07-02 00:01:48 | 20.4
327 | 2023-07-02 00:16:48 | 20.3
328 | 2023-07-02 00:31:48 | 20.2
329 | 2023-07-02 00:46:48 | 20.1
330 | 2023-07-02 01:01:48 | 20.1
331 | 2023-07-02 01:16:48 | 20.1
332 | 2023-07-02 01:31:48 | 20.2
333 | 2023-07-02 01:46:48 | 20.2
334 | 2023-07-02 02:01:48 | 20.2
335 | 2023-07-02 02:16:48 | 20.2
336 | 2023-07-02 02:31:48 | 20.3
337 | 2023-07-02 02:46:48 | 20.3
338 | 2023-07-02 03:01:48 | 20.2
339 | 2023-07-02 03:16:48 | 20.2
340 | 2023-07-02 03:31:48 | 20.2
341 | 2023-07-02 03:46:48 | 20.2
342 | 2023-07-02 04:01:48 | 20.2
343 | 2023-07-02 04:16:48 | 20.1
344 | 2023-07-02 04:31:48 | 20.1
345 | 2023-07-02 04:46:48 | 20.1
346 | 2023-07-02 05:01:48 | 20.0
347 | 2023-07-02 05:16:48 | 20.0
348 | 2023-07-02 05:31:48 | 20.0
349 | 2023-07-02 05:46:48 | 20.1
350 | 2023-07-02 06:01:48 | 20.0
351 | 2023-07-02 06:16:48 | 20.0
352 | 2023-07-02 06:31:48 | 20.3
353 | 2023-07-02 06:46:48 | 20.4
354 | 2023-07-02 07:01:48 | 20.6
355 | 2023-07-02 07:16:48 | 20.5
356 | 2023-07-02 07:31:48 | 20.9
357 | 2023-07-02 07:46:48 | 21.2
358 | 2023-07-02 08:01:48 | 20.7
359 | 2023-07-02 08:16:48 | 21.4
360 | 2023-07-02 08:31:48 | 21.7
361 | 2023-07-02 08:46:48 | 22.6
362 | 2023-07-02 09:01:48 | 22.8
363 | 2023-07-02 09:16:48 | 23.1
364 | 2023-07-02 09:31:48 | 24.4
365 | 2023-07-02 09:46:48 | 25.3
366 | 2023-07-02 10:01:48 | 25.2
367 | 2023-07-02 10:16:48 | 24.8
368 | 2023-07-02 10:31:48 | 25.0
369 | 2023-07-02 10:46:48 | 25.6
370 | 2023-07-02 11:01:48 | 26.5
371 | 2023-07-02 11:16:48 | 27.8
372 | 2023-07-02 11:31:48 | 28.5
373 | 2023-07-02 11:46:48 | 32.7
374 | 2023-07-02 12:01:48 | 31.3
375 | 2023-07-02 12:16:48 | 31.9
376 | 2023-07-02 12:31:48 | 33.8
377 | 2023-07-02 12:46:48 | 34.6
378 | 2023-07-02 13:01:48 | 34.4
379 | 2023-07-02 13:16:48 | 35.3
380 | 2023-07-02 13:31:48 | 35.4
381 | 2023-07-02 13:46:48 | 33.7
382 | 2023-07-02 14:01:48 | 29.2
383 | 2023-07-02 14:16:48 | 30.7
384 | 2023-07-02 14:31:48 | 29.8
385 | 2023-07-02 14:46:48 | 28.9
386 | 2023-07-02 15:01:48 | 28.4
387 | 2023-07-02 15:16:48 | 29.8
388 | 2023-07-02 15:31:48 | 30.0
389 | 2023-07-02 15:46:48 | 29.4
390 | 2023-07-02 16:01:48 | 30.6
391 | 2023-07-02 16:16:48 | 28.7
392 | 2023-07-02 16:31:48 | 28.3
393 | 2023-07-02 16:46:48 | 28.2
394 | 2023-07-02 17:01:48 | 27.8
395 | 2023-07-02 17:16:48 | 27.2
396 | 2023-07-02 17:31:48 | 26.9
397 | 2023-07-02 17:46:48 | 26.3
398 | 2023-07-02 18:01:48 | 25.7
399 | 2023-07-02 18:16:48 | 25.1
400 | 2023-07-02 18:31:48 | 24.7
401 | 2023-07-02 18:46:48 | 24.5
402 | 2023-07-02 19:01:48 | 24.3
403 | 2023-07-02 19:16:48 | 24.0
404 | 2023-07-02 19:31:48 | 23.8
405 | 2023-07-02 19:46:48 | 23.7
406 | 2023-07-02 20:01:48 | 23.4
407 | 2023-07-02 20:16:48 | 23.3
408 | 2023-07-02 20:31:48 | 23.0
409 | 2023-07-02 20:46:48 | 22.8
410 | 2023-07-02 21:01:48 | 22.5
411 | 2023-07-02 21:16:48 | 22.5
412 | 2023-07-02 21:31:48 | 22.4
413 | 2023-07-02 21:46:48 | 22.2
414 | 2023-07-02 22:01:48 | 22.1
415 | 2023-07-02 22:16:48 | 21.9
416 | 2023-07-02 22:31:48 | 21.9
417 | 2023-07-02 22:46:48 | 21.7
418 | 2023-07-02 23:01:48 | 21.6
419 | 2023-07-02 23:16:48 | 21.4
420 | 2023-07-02 23:31:48 | 21.2
421 | 2023-07-02 23:46:48 | 21.0
422 | 2023-07-03 00:01:48 | 20.8
423 | 2023-07-03 00:16:48 | 20.6
424 | 2023-07-03 00:31:48 | 20.5
425 | 2023-07-03 00:46:48 | 20.6
426 | 2023-07-03 01:01:48 | 21.0
427 | 2023-07-03 01:16:48 | 21.3
428 | 2023-07-03 01:31:48 | 21.5
429 | 2023-07-03 01:46:48 | 21.5
430 | 2023-07-03 02:01:48 | 21.4
431 | 2023-07-03 02:16:48 | 21.5
432 | 2023-07-03 02:31:48 | 21.4
433 | 2023-07-03 02:46:48 | 21.4
434 | 2023-07-03 03:01:48 | 21.1
435 | 2023-07-03 03:16:48 | 20.7
436 | 2023-07-03 03:31:48 | 20.1
437 | 2023-07-03 03:46:48 | 19.8
438 | 2023-07-03 04:01:48 | 19.7
439 | 2023-07-03 04:16:48 | 19.5
440 | 2023-07-03 04:31:48 | 19.5
441 | 2023-07-03 04:46:48 | 19.5
442 | 2023-07-03 05:01:48 | 19.4
443 | 2023-07-03 05:16:48 | 19.4
444 | 2023-07-03 05:31:48 | 19.8
445 | 2023-07-03 05:46:48 | 20.3
446 | 2023-07-03 06:01:48 | 20.2
447 | 2023-07-03 06:16:48 | 20.2
448 | 2023-07-03 06:31:48 | 20.3
449 | 2023-07-03 06:46:48 | 20.5
450 | 2023-07-03 07:01:48 | 20.9
451 | 2023-07-03 07:16:48 | 21.1
452 | 2023-07-03 07:31:48 | 21.7
453 | 2023-07-03 07:46:48 | 22.1
454 | 2023-07-03 08:01:48 | 23.0
455 | 2023-07-03 08:16:48 | 23.8
456 | 2023-07-03 08:31:48 | 24.8
457 | 2023-07-03 08:46:48 | 25.2
458 | 2023-07-03 09:01:48 | 25.6
459 | 2023-07-03 09:16:48 | 26.4
460 | 2023-07-03 09:31:48 | 26.8
461 | 2023-07-03 09:46:48 | 29.9
462 | 2023-07-03 10:01:48 | 30.8
463 | 2023-07-03 10:16:48 | 29.4
464 | 2023-07-03 10:31:48 | 29.1
465 | 2023-07-03 10:46:48 | 32.5
466 | 2023-07-03 11:01:48 | 30.5
467 | 2023-07-03 11:16:48 | 30.3
468 | 2023-07-03 11:31:48 | 33.5
469 | 2023-07-03 11:46:48 | 30.9
470 | 2023-07-03 12:01:48 | 33.1
471 | 2023-07-03 12:16:48 | 31.6
472 | 2023-07-03 12:31:48 | 35.5
473 | 2023-07-03 12:46:48 | 36.3
474 | 2023-07-03 13:01:48 | 36.9
475 | 2023-07-03 13:16:48 | 35.4
476 | 2023-07-03 13:31:48 | 33.5
477 | 2023-07-03 13:46:48 | 34.8
478 | 2023-07-03 14:01:48 | 37.4
479 | 2023-07-03 14:16:48 | 40.1
480 | 2023-07-03 14:31:48 | 38.9
481 | 2023-07-03 14:46:48 | 38.0
482 | 2023-07-03 15:01:48 | 38.5
483 | 2023-07-03 15:16:48 | 37.6
484 | 2023-07-03 15:31:48 | 36.2
485 | 2023-07-03 15:46:48 | 37.6
486 | 2023-07-03 16:01:48 | 37.8
487 | 2023-07-03 16:16:48 | 37.1
488 | 2023-07-03 16:31:48 | 36.9
489 | 2023-07-03 16:46:48 | 36.4
490 | 2023-07-03 17:01:48 | 34.8
491 | 2023-07-03 17:16:48 | 34.1
492 | 2023-07-03 17:31:48 | 32.4
493 | 2023-07-03 17:46:48 | 30.8
494 | 2023-07-03 18:01:48 | 30.2
495 | 2023-07-03 18:16:48 | 29.9
496 | 2023-07-03 18:31:48 | 29.7
497 | 2023-07-03 18:46:48 | 29.0
498 | 2023-07-03 19:01:48 | 28.6
499 | 2023-07-03 19:16:48 | 28.4
500 | 2023-07-03 19:31:48 | 27.7
501 | 2023-07-03 19:46:48 | 27.3
502 | 2023-07-03 20:01:48 | 27.3
503 | 2023-07-03 20:16:48 | 27.1
504 | 2023-07-03 20:31:48 | 26.6
505 | 2023-07-03 20:46:48 | 25.9
506 | 2023-07-03 21:01:48 | 25.9
507 | 2023-07-03 21:16:48 | 25.9
508 | 2023-07-03 21:31:48 | 25.6
509 | 2023-07-03 21:46:48 | 25.6
510 | 2023-07-03 22:01:48 | 25.2
511 | 2023-07-03 22:16:48 | 25.3
512 | 2023-07-03 22:31:48 | 25.3
513 | 2023-07-03 22:46:48 | 24.9
514 | 2023-07-03 23:01:48 | 24.4
515 | 2023-07-03 23:16:48 | 24.0
516 | 2023-07-03 23:31:48 | 23.9
517 | 2023-07-03 23:46:48 | 23.9
518 | 2023-07-04 00:01:48 | 24.0
519 | 2023-07-04 00:16:48 | 24.0
520 | 2023-07-04 00:31:48 | 24.0
521 | 2023-07-04 00:46:48 | 23.8
522 | 2023-07-04 01:01:48 | 23.5
523 | 2023-07-04 01:16:48 | 23.2
524 | 2023-07-04 01:31:48 | 23.2
525 | 2023-07-04 01:46:48 | 23.0
526 | 2023-07-04 02:01:48 | 22.7
527 | 2023-07-04 02:16:48 | 22.6
528 | 2023-07-04 02:31:48 | 22.6
529 | 2023-07-04 02:46:48 | 22.5
530 | 2023-07-04 03:01:48 | 22.2
531 | 2023-07-04 03:16:48 | 22.2
532 | 2023-07-04 03:31:48 | 22.2
533 | 2023-07-04 03:46:48 | 22.1
534 | 2023-07-04 04:01:48 | 22.1
535 | 2023-07-04 04:16:48 | 22.0
536 | 2023-07-04 04:31:48 | 21.8
537 | 2023-07-04 04:46:48 | 21.7
538 | 2023-07-04 05:01:48 | 21.8
539 | 2023-07-04 05:16:48 | 21.6
540 | 2023-07-04 05:31:48 | 21.8
541 | 2023-07-04 05:46:48 | 21.8
542 | 2023-07-04 06:01:48 | 22.1
543 | 2023-07-04 06:16:48 | 22.4
544 | 2023-07-04 06:31:48 | 22.4
545 | 2023-07-04 06:46:48 | 22.7
546 | 2023-07-04 07:01:48 | 23.0
547 | 2023-07-04 07:16:48 | 23.2
548 | 2023-07-04 07:31:48 | 23.4
549 | 2023-07-04 07:46:48 | 23.7
550 | 2023-07-04 08:01:48 | 24.2
551 | 2023-07-04 08:16:48 | 25.2
552 | 2023-07-04 08:31:48 | 25.8
553 | 2023-07-04 08:46:48 | 26.5
554 | 2023-07-04 09:01:48 | 27.1
555 | 2023-07-04 09:16:48 | 27.9
556 | 2023-07-04 09:31:48 | 28.7
557 | 2023-07-04 09:46:48 | 31.4
558 | 2023-07-04 10:01:48 | 34.0
559 | 2023-07-04 10:16:48 | 35.8
560 | 2023-07-04 10:31:48 | 37.4
561 | 2023-07-04 10:46:48 | 38.7
562 | 2023-07-04 11:01:48 | 37.1
563 | 2023-07-04 11:16:48 | 32.3
564 | 2023-07-04 11:31:48 | 36.9
565 | 2023-07-04 11:46:48 | 35.4
566 | 2023-07-04 12:01:48 | 29.9
567 | 2023-07-04 12:16:48 | 27.2
568 | 2023-07-04 12:31:48 | 26.4
569 | 2023-07-04 12:46:48 | 24.0
570 | 2023-07-04 13:01:48 | 21.8
571 | 2023-07-04 13:16:48 | 20.8
572 | 2023-07-04 13:31:48 | 20.9
573 | 2023-07-04 13:46:48 | 21.3
574 | 2023-07-04 14:01:48 | 21.7
575 | 2023-07-04 14:16:48 | 22.3
576 | 2023-07-04 14:31:48 | 23.7
577 | 2023-07-04 14:46:48 | 24.7
578 | 2023-07-04 15:01:48 | 25.1
579 | 2023-07-04 15:16:48 | 25.9
580 | 2023-07-04 15:31:48 | 26.4
581 | 2023-07-04 15:46:48 | 26.7
582 | 2023-07-04 16:01:48 | 27.8
583 | 2023-07-04 16:16:48 | 30.3
584 | 2023-07-04 16:31:48 | 28.3
585 | 2023-07-04 16:46:48 | 29.0
586 | 2023-07-04 17:01:48 | 30.3
587 | 2023-07-04 17:16:48 | 28.3
588 | 2023-07-04 17:31:48 | 28.7
589 | 2023-07-04 17:46:48 | 28.8
590 | 2023-07-04 18:01:48 | 29.0
591 | 2023-07-04 18:16:48 | 28.0
592 | 2023-07-04 18:31:48 | 27.4
593 | 2023-07-04 18:46:48 | 26.6
594 | 2023-07-04 19:01:48 | 25.9
595 | 2023-07-04 19:16:48 | 25.4
596 | 2023-07-04 19:31:48 | 25.4
597 | 2023-07-04 19:46:48 | 25.4
598 | 2023-07-04 20:01:48 | 25.2
599 | 2023-07-04 20:16:48 | 25.0
600 | 2023-07-04 20:31:48 | 24.4
601 | 2023-07-04 20:46:48 | 24.1
602 | 2023-07-04 21:01:48 | 23.8
603 | 2023-07-04 21:16:48 | 23.5
604 | 2023-07-04 21:31:48 | 23.4
605 | 2023-07-04 21:46:48 | 23.3
606 | 2023-07-04 22:01:48 | 23.0
607 | 2023-07-04 22:16:48 | 22.9
608 | 2023-07-04 22:31:48 | 22.8
609 | 2023-07-04 22:46:48 | 22.5
610 | 2023-07-04 23:01:48 | 22.6
611 | 2023-07-04 23:16:48 | 22.9
612 | 2023-07-04 23:31:48 | 22.9
613 | 2023-07-04 23:46:48 | 22.7
614 | 2023-07-05 00:01:48 | 22.7
615 | 2023-07-05 00:16:48 | 22.2
616 | 2023-07-05 00:31:48 | 21.9
617 | 2023-07-05 00:46:48 | 21.9
618 | 2023-07-05 01:01:48 | 21.8
619 | 2023-07-05 01:16:48 | 21.7
620 | 2023-07-05 01:31:48 | 21.6
621 | 2023-07-05 01:46:48 | 21.6
622 | 2023-07-05 02:01:48 | 21.6
623 | 2023-07-05 02:16:48 | 21.3
624 | 2023-07-05 02:31:48 | 21.2
625 | 2023-07-05 02:46:48 | 21.2
626 | 2023-07-05 03:01:48 | 21.2
627 | 2023-07-05 03:16:48 | 21.1
628 | 2023-07-05 03:31:48 | 21.0
629 | 2023-07-05 03:46:48 | 21.1
630 | 2023-07-05 04:01:48 | 21.0
631 | 2023-07-05 04:16:48 | 20.9
632 | 2023-07-05 04:31:48 | 20.9
633 | 2023-07-05 04:46:48 | 20.9
634 | 2023-07-05 05:01:48 | 20.8
635 | 2023-07-05 05:16:48 | 20.8
636 | 2023-07-05 05:31:48 | 20.8
637 | 2023-07-05 05:46:48 | 20.9
638 | 2023-07-05 06:01:48 | 21.1
639 | 2023-07-05 06:16:48 | 21.4
640 | 2023-07-05 06:31:48 | 21.8
641 | 2023-07-05 06:46:48 | 22.1
642 | 2023-07-05 07:01:48 | 22.3
643 | 2023-07-05 07:16:48 | 22.6
644 | 2023-07-05 07:31:48 | 22.9
645 | 2023-07-05 07:46:48 | 23.4
646 | 2023-07-05 08:01:48 | 23.9
647 | 2023-07-05 08:16:48 | 24.4
648 | 2023-07-05 08:31:48 | 24.9
649 | 2023-07-05 08:46:48 | 25.4
650 | 2023-07-05 09:01:48 | 26.0
651 | 2023-07-05 09:16:48 | 26.7
652 | 2023-07-05 09:31:48 | 27.2
653 | 2023-07-05 09:46:48 | 30.3