## Table
Data Report
File is created on: 2023-07-19 11:14:33
Device Information
Model | RC- 5 |  | Probe Type | Temperature(Internal)
S/N | EFE231100351 |  | Firmware Version | V1.5
Trip Description
Trip Code | 0000001
Trip Description | Temperature recording.
Config. info
Start Mode | Press Button |  | Logging Interval | 0H 15M 0S
Start Delay | 0H0M |  | Cyclic Record | Disable
Time Zone | UTC +00:00 |  | Stop Mode | Press Button+Use Software
Mark Time
N/A
Alarm | Alarm Delay | Over-limit Duration | Over-limit Times | Alarm
H3: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
H2: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
H1: 60.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 21580 | Normal
Unlimited |  | -20976D -18H -20M -56S
L1: -30.0℃ | 0D 0H 0M 0S(Single) | 16717D 7H 20M 5S | 32512 | Normal
L2: 300.0℃ | 0D 0H 0M 0S(Single) | 0D 0H 0M 0S | 0 | Normal
Summary
Maximum | 41.7℃ |  | First Reading | 2023-06-28 14:46:48
Minimum | 17.6℃ |  | Last Reading | 2023-07-19 11:01:48
Average | N/A |  | Logging Duration | 20D 20H 15M 0S
Mean Kinetic Temperature (MKT) | N/A |  | Current Readings | 2002
First Alarm at (Temperature) | N/A
No. | Time | Temperature℃
1 | 2023-06-28 14:46:48 | 21.9
2 | 2023-06-28 15:01:48 | 22.6
3 | 2023-06-28 15:16:48 | 22.4
4 | 2023-06-28 15:31:48 | 22.2
5 | 2023-06-28 15:46:48 | 21.8
6 | 2023-06-28 16:01:48 | 21.3
7 | 2023-06-28 16:16:48 | 21.1
8 | 2023-06-28 16:31:48 | 21.1
9 | 2023-06-28 16:46:48 | 20.7
10 | 2023-06-28 17:01:48 | 20.8
11 | 2023-06-28 17:16:48 | 20.6
12 | 2023-06-28 17:31:48 | 20.3
13 | 2023-06-28 17:46:48 | 20.2
14 | 2023-06-28 18:01:48 | 20.1
15 | 2023-06-28 18:16:48 | 20.0
16 | 2023-06-28 18:31:48 | 20.0
17 | 2023-06-28 18:46:48 | 19.7
18 | 2023-06-28 19:01:48 | 19.7
19 | 2023-06-28 19:16:48 | 19.5
20 | 2023-06-28 19:31:48 | 19.2
21 | 2023-06-28 19:46:48 | 19.1
22 | 2023-06-28 20:01:48 | 18.9
23 | 2023-06-28 20:16:48 | 18.6
24 | 2023-06-28 20:31:48 | 18.6
25 | 2023-06-28 20:46:48 | 18.6
26 | 2023-06-28 21:01:48 | 18.5
27 | 2023-06-28 21:16:48 | 18.5
28 | 2023-06-28 21:31:48 | 18.4
29 | 2023-06-28 21:46:48 | 18.3
30 | 2023-06-28 22:01:48 | 18.2
31 | 2023-06-28 22:16:48 | 18.3
32 | 2023-06-28 22:31:48 | 18.3
33 | 2023-06-28 22:46:48 | 18.4
34 | 2023-06-28 23:01:48 | 18.4
35 | 2023-06-28 23:16:48 | 18.4
36 | 2023-06-28 23:31:48 | 18.4
37 | 2023-06-28 23:46:48 | 18.4
38 | 2023-06-29 00:01:48 | 18.4
39 | 2023-06-29 00:16:48 | 18.2
40 | 2023-06-29 00:31:48 | 18.3
41 | 2023-06-29 00:46:48 | 18.2
42 | 2023-06-29 01:01:48 | 18.3
43 | 2023-06-29 01:16:48 | 18.2
44 | 2023-06-29 01:31:48 | 18.2
45 | 2023-06-29 01:46:48 | 18.2
46 | 2023-06-29 02:01:48 | 18.1
47 | 2023-06-29 02:16:48 | 18.2
48 | 2023-06-29 02:31:48 | 18.2
49 | 2023-06-29 02:46:48 | 18.2
50 | 2023-06-29 03:01:48 | 18.2
51 | 2023-06-29 03:16:48 | 18.2
52 | 2023-06-29 03:31:48 | 18.2
53 | 2023-06-29 03:46:48 | 18.2
54 | 2023-06-29 04:01:48 | 18.1
55 | 2023-06-29 04:16:48 | 18.1
56 | 2023-06-29 04:31:48 | 18.0
57 | 2023-06-29 04:46:48 | 18.0
58 | 2023-06-29 05:01:48 | 18.0
59 | 2023-06-29 05:16:48 | 17.9
60 | 2023-06-29 05:31:48 | 18.0
61 | 2023-06-29 05:46:48 | 18.0
62 | 2023-06-29 06:01:48 | 18.2
63 | 2023-06-29 06:16:48 | 18.2
64 | 2023-06-29 06:31:48 | 18.2
65 | 2023-06-29 06:46:48 | 18.4
66 | 2023-06-29 07:01:48 | 18.4
67 | 2023-06-29 07:16:48 | 18.5
68 | 2023-06-29 07:31:48 | 18.7
69 | 2023-06-29 07:46:48 | 18.9
70 | 2023-06-29 08:01:48 | 19.1
71 | 2023-06-29 08:16:48 | 19.0
72 | 2023-06-29 08:31:48 | 19.0
73 | 2023-06-29 08:46:48 | 19.1
74 | 2023-06-29 09:01:48 | 19.4
75 | 2023-06-29 09:16:48 | 19.6
76 | 2023-06-29 09:31:48 | 19.5
77 | 2023-06-29 09:46:48 | 19.5
78 | 2023-06-29 10:01:48 | 19.9
79 | 2023-06-29 10:16:48 | 20.4
80 | 2023-06-29 10:31:48 | 20.7
81 | 2023-06-29 10:46:48 | 21.0
82 | 2023-06-29 11:01:48 | 21.2
83 | 2023-06-29 11:16:48 | 21.6
84 | 2023-06-29 11:31:48 | 22.3
85 | 2023-06-29 11:46:48 | 22.3
86 | 2023-06-29 12:01:48 | 22.4
87 | 2023-06-29 12:16:48 | 22.0
88 | 2023-06-29 12:31:48 | 21.6
89 | 2023-06-29 12:46:48 | 21.5
90 | 2023-06-29 13:01:48 | 21.9
91 | 2023-06-29 13:16:48 | 21.8
92 | 2023-06-29 13:31:48 | 23.0
93 | 2023-06-29 13:46:48 | 25.2
94 | 2023-06-29 14:01:48 | 26.4
95 | 2023-06-29 14:16:48 | 24.8
96 | 2023-06-29 14:31:48 | 24.9
97 | 2023-06-29 14:46:48 | 26.7
98 | 2023-06-29 15:01:48 | 26.9
99 | 2023-06-29 15:16:48 | 26.3
100 | 2023-06-29 15:31:48 | 27.9
101 | 2023-06-29 15:46:48 | 27.4
102 | 2023-06-29 16:01:48 | 26.2
103 | 2023-06-29 16:16:48 | 26.0
104 | 2023-06-29 16:31:48 | 26.1
105 | 2023-06-29 16:46:48 | 29.0
106 | 2023-06-29 17:01:48 | 29.8
107 | 2023-06-29 17:16:48 | 29.1
108 | 2023-06-29 17:31:48 | 26.0
109 | 2023-06-29 17:46:48 | 24.5
110 | 2023-06-29 18:01:48 | 24.5
111 | 2023-06-29 18:16:48 | 24.4
112 | 2023-06-29 18:31:48 | 24.3
113 | 2023-06-29 18:46:48 | 24.1
114 | 2023-06-29 19:01:48 | 24.1
115 | 2023-06-29 19:16:48 | 23.7
116 | 2023-06-29 19:31:48 | 23.5
117 | 2023-06-29 19:46:48 | 23.0
118 | 2023-06-29 20:01:48 | 22.6
119 | 2023-06-29 20:16:48 | 22.5
120 | 2023-06-29 20:31:48 | 22.4
121 | 2023-06-29 20:46:48 | 22.3
122 | 2023-06-29 21:01:48 | 22.2
123 | 2023-06-29 21:16:48 | 22.1
124 | 2023-06-29 21:31:48 | 22.0
125 | 2023-06-29 21:46:48 | 21.9
126 | 2023-06-29 22:01:48 | 21.6
127 | 2023-06-29 22:16:48 | 21.5
128 | 2023-06-29 22:31:48 | 21.4
129 | 2023-06-29 22:46:48 | 21.4
130 | 2023-06-29 23:01:48 | 21.3
131 | 2023-06-29 23:16:48 | 21.1
132 | 2023-06-29 23:31:48 | 21.0
133 | 2023-06-29 23:46:48 | 20.9
134 | 2023-06-30 00:01:48 | 20.8
135 | 2023-06-30 00:16:48 | 20.4
136 | 2023-06-30 00:31:48 | 20.2
137 | 2023-06-30 00:46:48 | 20.1
138 | 2023-06-30 01:01:48 | 20.1
139 | 2023-06-30 01:16:48 | 20.0
140 | 2023-06-30 01:31:48 | 19.8
141 | 2023-06-30 01:46:48 | 19.8
142 | 2023-06-30 02:01:48 | 19.9
143 | 2023-06-30 02:16:48 | 19.8
144 | 2023-06-30 02:31:48 | 19.6
145 | 2023-06-30 02:46:48 | 19.6
146 | 2023-06-30 03:01:48 | 19.4
147 | 2023-06-30 03:16:48 | 19.3
148 | 2023-06-30 03:31:48 | 19.4
149 | 2023-06-30 03:46:48 | 19.4
150 | 2023-06-30 04:01:48 | 19.3
151 | 2023-06-30 04:16:48 | 19.0
152 | 2023-06-30 04:31:48 | 18.9
153 | 2023-06-30 04:46:48 | 18.7
154 | 2023-06-30 05:01:48 | 18.5
155 | 2023-06-30 05:16:48 | 18.4
156 | 2023-06-30 05:31:48 | 18.4
157 | 2023-06-30 05:46:48 | 18.3
158 | 2023-06-30 06:01:48 | 18.3
159 | 2023-06-30 06:16:48 | 18.5
160 | 2023-06-30 06:31:48 | 18.7
161 | 2023-06-30 06:46:48 | 19.0
162 | 2023-06-30 07:01:48 | 19.2
163 | 2023-06-30 07:16:48 | 19.3
164 | 2023-06-30 07:31:48 | 19.6
165 | 2023-06-30 07:46:48 | 19.8
166 | 2023-06-30 08:01:48 | 20.4
167 | 2023-06-30 08:16:48 | 20.9
168 | 2023-06-30 08:31:48 | 21.8
169 | 2023-06-30 08:46:48 | 22.5
170 | 2023-06-30 09:01:48 | 23.6
171 | 2023-06-30 09:16:48 | 24.3
172 | 2023-06-30 09:31:48 | 25.1
173 | 2023-06-30 09:46:48 | 27.6
174 | 2023-06-30 10:01:48 | 29.5
175 | 2023-06-30 10:16:48 | 29.8
176 | 2023-06-30 10:31:48 | 31.4
177 | 2023-06-30 10:46:48 | 32.5
178 | 2023-06-30 11:01:48 | 32.8
179 | 2023-06-30 11:16:48 | 34.1
180 | 2023-06-30 11:31:48 | 34.6
181 | 2023-06-30 11:46:48 | 35.1
182 | 2023-06-30 12:01:48 | 35.5
183 | 2023-06-30 12:16:48 | 35.8
184 | 2023-06-30 12:31:48 | 36.0
185 | 2023-06-30 12:46:48 | 36.2
186 | 2023-06-30 13:01:48 | 35.9
187 | 2023-06-30 13:16:48 | 35.8
188 | 2023-06-30 13:31:48 | 36.1
189 | 2023-06-30 13:46:48 | 36.6
190 | 2023-06-30 14:01:48 | 37.1
191 | 2023-06-30 14:16:48 | 35.2
192 | 2023-06-30 14:31:48 | 35.2
193 | 2023-06-30 14:46:48 | 33.6
194 | 2023-06-30 15:01:48 | 34.2
195 | 2023-06-30 15:16:48 | 32.6
196 | 2023-06-30 15:31:48 | 31.3
197 | 2023-06-30 15:46:48 | 32.1
198 | 2023-06-30 16:01:48 | 32.7
199 | 2023-06-30 16:16:48 | 30.7
200 | 2023-06-30 16:31:48 | 31.0
201 | 2023-06-30 16:46:48 | 32.1
202 | 2023-06-30 17:01:48 | 30.9
203 | 2023-06-30 17:16:48 | 30.7
204 | 2023-06-30 17:31:48 | 29.8
205 | 2023-06-30 17:46:48 | 29.5
206 | 2023-06-30 18:01:48 | 29.3
207 | 2023-06-30 18:16:48 | 28.7
208 | 2023-06-30 18:31:48 | 28.2
209 | 2023-06-30 18:46:48 | 27.8
210 | 2023-06-30 19:01:48 | 27.5
211 | 2023-06-30 19:16:48 | 27.5
212 | 2023-06-30 19:31:48 | 27.2
213 | 2023-06-30 19:46:48 | 27.0
214 | 2023-06-30 20:01:48 | 26.5
215 | 2023-06-30 20:16:48 | 25.6
216 | 2023-06-30 20:31:48 | 25.0
217 | 2023-06-30 20:46:48 | 24.5
218 | 2023-06-30 21:01:48 | 24.2
219 | 2023-06-30 21:16:48 | 24.1
220 | 2023-06-30 21:31:48 | 24.2
221 | 2023-06-30 21:46:48 | 24.2
222 | 2023-06-30 22:01:48 | 23.7
223 | 2023-06-30 22:16:48 | 23.7
224 | 2023-06-30 22:31:48 | 23.3
225 | 2023-06-30 22:46:48 | 23.2
226 | 2023-06-30 23:01:48 | 22.9
227 | 2023-06-30 23:16:48 | 23.1
228 | 2023-06-30 23:31:48 | 23.3
229 | 2023-06-30 23:46:48 | 22.8
230 | 2023-07-01 00:01:48 | 22.6
231 | 2023-07-01 00:16:48 | 22.3
232 | 2023-07-01 00:31:48 | 22.2
233 | 2023-07-01 00:46:48 | 22.1
234 | 2023-07-01 01:01:48 | 22.1
235 | 2023-07-01 01:16:48 | 22.5
236 | 2023-07-01 01:31:48 | 22.5
237 | 2023-07-01 01:46:48 | 22.3
238 | 2023-07-01 02:01:48 | 22.0
239 | 2023-07-01 02:16:48 | 21.7
240 | 2023-07-01 02:31:48 | 21.5
241 | 2023-07-01 02:46:48 | 21.5
242 | 2023-07-01 03:01:48 | 21.3
243 | 2023-07-01 03:16:48 | 21.1
244 | 2023-07-01 03:31:48 | 20.9
245 | 2023-07-01 03:46:48 | 20.8
246 | 2023-07-01 04:01:48 | 20.7
247 | 2023-07-01 04:16:48 | 20.5
248 | 2023-07-01 04:31:48 | 20.5
249 | 2023-07-01 04:46:48 | 20.4
250 | 2023-07-01 05:01:48 | 20.6
251 | 2023-07-01 05:16:48 | 20.5
252 | 2023-07-01 05:31:48 | 20.4
253 | 2023-07-01 05:46:48 | 20.5
254 | 2023-07-01 06:01:48 | 20.5
255 | 2023-07-01 06:16:48 | 21.0
256 | 2023-07-01 06:31:48 | 21.0
257 | 2023-07-01 06:46:48 | 20.7
258 | 2023-07-01 07:01:48 | 20.9
259 | 2023-07-01 07:16:48 | 21.2
260 | 2023-07-01 07:31:48 | 22.1
261 | 2023-07-01 07:46:48 | 22.3
262 | 2023-07-01 08:01:48 | 22.5
263 | 2023-07-01 08:16:48 | 23.2
264 | 2023-07-01 08:31:48 | 24.2
265 | 2023-07-01 08:46:48 | 25.3
266 | 2023-07-01 09:01:48 | 24.2
267 | 2023-07-01 09:16:48 | 25.1
268 | 2023-07-01 09:31:48 | 25.8
269 | 2023-07-01 09:46:48 | 25.4
270 | 2023-07-01 10:01:48 | 26.4
271 | 2023-07-01 10:16:48 | 24.3
272 | 2023-07-01 10:31:48 | 23.5
273 | 2023-07-01 10:46:48 | 23.4
274 | 2023-07-01 11:01:48 | 23.3
275 | 2023-07-01 11:16:48 | 23.5
276 | 2023-07-01 11:31:48 | 23.7
277 | 2023-07-01 11:46:48 | 23.1
278 | 2023-07-01 12:01:48 | 22.3
279 | 2023-07-01 12:16:48 | 23.0
280 | 2023-07-01 12:31:48 | 24.8
281 | 2023-07-01 12:46:48 | 24.8
282 | 2023-07-01 13:01:48 | 26.5
283 | 2023-07-01 13:16:48 | 30.3
284 | 2023-07-01 13:31:48 | 32.8
285 | 2023-07-01 13:46:48 | 31.2
286 | 2023-07-01 14:01:48 | 26.9
287 | 2023-07-01 14:16:48 | 25.5
288 | 2023-07-01 14:31:48 | 27.5
289 | 2023-07-01 14:46:48 | 27.1
290 | 2023-07-01 15:01:48 | 26.7
291 | 2023-07-01 15:16:48 | 26.9
292 | 2023-07-01 15:31:48 | 27.5
293 | 2023-07-01 15:46:48 | 27.7
294 | 2023-07-01 16:01:48 | 27.5
295 | 2023-07-01 16:16:48 | 27.6
296 | 2023-07-01 16:31:48 | 27.8
297 | 2023-07-01 16:46:48 | 26.9
298 | 2023-07-01 17:01:48 | 26.4
299 | 2023-07-01 17:16:48 | 25.3
300 | 2023-07-01 17:31:48 | 24.0
301 | 2023-07-01 17:46:48 | 23.0
302 | 2023-07-01 18:01:48 | 22.8
303 | 2023-07-01 18:16:48 | 22.5
304 | 2023-07-01 18:31:48 | 22.3
305 | 2023-07-01 18:46:48 | 21.8
306 | 2023-07-01 19:01:48 | 22.0
307 | 2023-07-01 19:16:48 | 21.8
308 | 2023-07-01 19:31:48 | 21.8
309 | 2023-07-01 19:46:48 | 21.8
310 | 2023-07-01 20:01:48 | 21.6
311 | 2023-07-01 20:16:48 | 21.6
312 | 2023-07-01 20:31:48 | 21.5
313 | 2023-07-01 20:46:48 | 21.0
314 | 2023-07-01 21:01:48 | 20.8
315 | 2023-07-01 21:16:48 | 20.8
316 | 2023-07-01 21:31:48 | 21.0
317 | 2023-07-01 21:46:48 | 21.0
318 | 2023-07-01 22:01:48 | 20.9
319 | 2023-07-01 22:16:48 | 20.9
320 | 2023-07-01 22:31:48 | 20.7
321 | 2023-07-01 22:46:48 | 20.5
322 | 2023-07-01 23:01:48 | 20.5
323 | 2023-07-01 23:16:48 | 20.5
324 | 2023-07-01 23:31:48 | 20.5
325 | 2023-07-01 23:46:48 | 20.5
326 | 2023-07-02 00:01:48 | 20.4
327 | 2023-07-02 00:16:48 | 20.3
328 | 2023-07-02 00:31:48 | 20.2
329 | 2023-07-02 00:46:48 | 20.1
330 | 2023-07-02 01:01:48 | 20.1
331 | 2023-07-02 01:16:48 | 20.1
332 | 2023-07-02 01:31:48 | 20.2
333 | 2023-07-02 01:46:48 | 20.2
334 | 2023-07-02 02:01:48 | 20.2
335 | 2023-07-02 02:16:48 | 20.2
336 | 2023-07-02 02:31:48 | 20.3
337 | 2023-07-02 02:46:48 | 20.3
338 | 2023-07-02 03:01:48 | 20.2
339 | 2023-07-02 03:16:48 | 20.2
340 | 2023-07-02 03:31:48 | 20.2
341 | 2023-07-02 03:46:48 | 20.2
342 | 2023-07-02 04:01:48 | 20.2
343 | 2023-07-02 04:16:48 | 20.1
344 | 2023-07-02 04:31:48 | 20.1
345 | 2023-07-02 04:46:48 | 20.1
346 | 2023-07-02 05:01:48 | 20.0
347 | 2023-07-02 05:16:48 | 20.0
348 | 2023-07-02 05:31:48 | 20.0
349 | 2023-07-02 05:46:48 | 20.1
350 | 2023-07-02 06:01:48 | 20.0
351 | 2023-07-02 06:16:48 | 20.0
352 | 2023-07-02 06:31:48 | 20.3
353 | 2023-07-02 06:46:48 | 20.4
354 | 2023-07-02 07:01:48 | 20.6
355 | 2023-07-02 07:16:48 | 20.5
356 | 2023-07-02 07:31:48 | 20.9
357 | 2023-07-02 07:46:48 | 21.2
358 | 2023-07-02 08:01:48 | 20.7
359 | 2023-07-02 08:16:48 | 21.4
360 | 2023-07-02 08:31:48 | 21.7
361 | 2023-07-02 08:46:48 | 22.6
362 | 2023-07-02 09:01:48 | 22.8
363 | 2023-07-02 09:16:48 | 23.1
364 | 2023-07-02 09:31:48 | 24.4
365 | 2023-07-02 09:46:48 | 25.3
366 | 2023-07-02 10:01:48 | 25.2
367 | 2023-07-02 10:16:48 | 24.8
368 | 2023-07-02 10:31:48 | 25.0
369 | 2023-07-02 10:46:48 | 25.6
370 | 2023-07-02 11:01:48 | 26.5
371 | 2023-07-02 11:16:48 | 27.8
372 | 2023-07-02 11:31:48 | 28.5
373 | 2023-07-02 11:46:48 | 32.7
374 | 2023-07-02 12:01:48 | 31.3
375 | 2023-07-02 12:16:48 | 31.9
376 | 2023-07-02 12:31:48 | 33.8
377 | 2023-07-02 12:46:48 | 34.6
378 | 2023-07-02 13:01:48 | 34.4
379 | 2023-07-02 13:16:48 | 35.3
380 | 2023-07-02 13:31:48 | 35.4
381 | 2023-07-02 13:46:48 | 33.7
382 | 2023-07-02 14:01:48 | 29.2
383 | 2023-07-02 14:16:48 | 30.7
384 | 2023-07-02 14:31:48 | 29.8
385 | 2023-07-02 14:46:48 | 28.9
386 | 2023-07-02 15:01:48 | 28.4
387 | 2023-07-02 15:16:48 | 29.8
388 | 2023-07-02 15:31:48 | 30.0
389 | 2023-07-02 15:46:48 | 29.4
390 | 2023-07-02 16:01:48 | 30.6
391 | 2023-07-02 16:16:48 | 28.7
392 | 2023-07-02 16:31:48 | 28.3
393 | 2023-07-02 16:46:48 | 28.2
394 | 2023-07-02 17:01:48 | 27.8
395 | 2023-07-02 17:16:48 | 27.2
396 | 2023-07-02 17:31:48 | 26.9
397 | 2023-07-02 17:46:48 | 26.3
398 | 2023-07-02 18:01:48 | 25.7
399 | 2023-07-02 18:16:48 | 25.1
400 | 2023-07-02 18:31:48 | 24.7
401 | 2023-07-02 18:46:48 | 24.5
402 | 2023-07-02 19:01:48 | 24.3
403 | 2023-07-02 19:16:48 | 24.0
404 | 2023-07-02 19:31:48 | 23.8
405 | 2023-07-02 19:46:48 | 23.7
406 | 2023-07-02 20:01:48 | 23.4
407 | 2023-07-02 20:16:48 | 23.3
408 | 2023-07-02 20:31:48 | 23.0
409 | 2023-07-02 20:46:48 | 22.8
410 | 2023-07-02 21:01:48 | 22.5
411 | 2023-07-02 21:16:48 | 22.5
412 | 2023-07-02 21:31:48 | 22.4
413 | 2023-07-02 21:46:48 | 22.2
414 | 2023-07-02 22:01:48 | 22.1
415 | 2023-07-02 22:16:48 | 21.9
416 | 2023-07-02 22:31:48 | 21.9
417 | 2023-07-02 22:46:48 | 21.7
418 | 2023-07-02 23:01:48 | 21.6
419 | 2023-07-02 23:16:48 | 21.4
420 | 2023-07-02 23:31:48 | 21.2
421 | 2023-07-02 23:46:48 | 21.0
422 | 2023-07-03 00:01:48 | 20.8
423 | 2023-07-03 00:16:48 | 20.6
424 | 2023-07-03 00:31:48 | 20.5
425 | 2023-07-03 00:46:48 | 20.6
426 | 2023-07-03 01:01:48 | 21.0
427 | 2023-07-03 01:16:48 | 21.3
428 | 2023-07-03 01:31:48 | 21.5
429 | 2023-07-03 01:46:48 | 21.5
430 | 2023-07-03 02:01:48 | 21.4
431 | 2023-07-03 02:16:48 | 21.5
432 | 2023-07-03 02:31:48 | 21.4
433 | 2023-07-03 02:46:48 | 21.4
434 | 2023-07-03 03:01:48 | 21.1
435 | 2023-07-03 03:16:48 | 20.7
436 | 2023-07-03 03:31:48 | 20.1
437 | 2023-07-03 03:46:48 | 19.8
438 | 2023-07-03 04:01:48 | 19.7
439 | 2023-07-03 04:16:48 | 19.5
440 | 2023-07-03 04:31:48 | 19.5
441 | 2023-07-03 04:46:48 | 19.5
442 | 2023-07-03 05:01:48 | 19.4
443 | 2023-07-03 05:16:48 | 19.4
444 | 2023-07-03 05:31:48 | 19.8
445 | 2023-07-03 05:46:48 | 20.3
446 | 2023-07-03 06:01:48 | 20.2
447 | 2023-07-03 06:16:48 | 20.2
448 | 2023-07-03 06:31:48 | 20.3
449 | 2023-07-03 06:46:48 | 20.5
450 | 2023-07-03 07:01:48 | 20.9
451 | 2023-07-03 07:16:48 | 21.1
452 | 2023-07-03 07:31:48 | 21.7
453 | 2023-07-03 07:46:48 | 22.1
454 | 2023-07-03 08:01:48 | 23.0
455 | 2023-07-03 08:16:48 | 23.8
456 | 2023-07-03 08:31:48 | 24.8
457 | 2023-07-03 08:46:48 | 25.2
458 | 2023-07-03 09:01:48 | 25.6
459 | 2023-07-03 09:16:48 | 26.4
460 | 2023-07-03 09:31:48 | 26.8
461 | 2023-07-03 09:46:48 | 29.9
462 | 2023-07-03 10:01:48 | 30.8
463 | 2023-07-03 10:16:48 | 29.4
464 | 2023-07-03 10:31:48 | 29.1
465 | 2023-07-03 10:46:48 | 32.5
466 | 2023-07-03 11:01:48 | 30.5
467 | 2023-07-03 11:16:48 | 30.3
468 | 2023-07-03 11:31:48 | 33.5
469 | 2023-07-03 11:46:48 | 30.9
470 | 2023-07-03 12:01:48 | 33.1
471 | 2023-07-03 12:16:48 | 31.6
472 | 2023-07-03 12:31:48 | 35.5
473 | 2023-07-03 12:46:48 | 36.3
474 | 2023-07-03 13:01:48 | 36.9
475 | 2023-07-03 13:16:48 | 35.4
476 | 2023-07-03 13:31:48 | 33.5
477 | 2023-07-03 13:46:48 | 34.8
478 | 2023-07-03 14:01:48 | 37.4
479 | 2023-07-03 14:16:48 | 40.1
480 | 2023-07-03 14:31:48 | 38.9
481 | 2023-07-03 14:46:48 | 38.0
482 | 2023-07-03 15:01:48 | 38.5
483 | 2023-07-03 15:16:48 | 37.6
484 | 2023-07-03 15:31:48 | 36.2
485 | 2023-07-03 15:46:48 | 37.6
486 | 2023-07-03 16:01:48 | 37.8
487 | 2023-07-03 16:16:48 | 37.1
488 | 2023-07-03 16:31:48 | 36.9
489 | 2023-07-03 16:46:48 | 36.4
490 | 2023-07-03 17:01:48 | 34.8
491 | 2023-07-03 17:16:48 | 34.1
492 | 2023-07-03 17:31:48 | 32.4
493 | 2023-07-03 17:46:48 | 30.8
494 | 2023-07-03 18:01:48 | 30.2
495 | 2023-07-03 18:16:48 | 29.9
496 | 2023-07-03 18:31:48 | 29.7
497 | 2023-07-03 18:46:48 | 29.0
498 | 2023-07-03 19:01:48 | 28.6
499 | 2023-07-03 19:16:48 | 28.4
500 | 2023-07-03 19:31:48 | 27.7
501 | 2023-07-03 19:46:48 | 27.3
502 | 2023-07-03 20:01:48 | 27.3
503 | 2023-07-03 20:16:48 | 27.1
504 | 2023-07-03 20:31:48 | 26.6
505 | 2023-07-03 20:46:48 | 25.9
506 | 2023-07-03 21:01:48 | 25.9
507 | 2023-07-03 21:16:48 | 25.9
508 | 2023-07-03 21:31:48 | 25.6
509 | 2023-07-03 21:46:48 | 25.6
510 | 2023-07-03 22:01:48 | 25.2
511 | 2023-07-03 22:16:48 | 25.3
512 | 2023-07-03 22:31:48 | 25.3
513 | 2023-07-03 22:46:48 | 24.9
514 | 2023-07-03 23:01:48 | 24.4
515 | 2023-07-03 23:16:48 | 24.0
516 | 2023-07-03 23:31:48 | 23.9
517 | 2023-07-03 23:46:48 | 23.9
518 | 2023-07-04 00:01:48 | 24.0
519 | 2023-07-04 00:16:48 | 24.0
520 | 2023-07-04 00:31:48 | 24.0
521 | 2023-07-04 00:46:48 | 23.8
522 | 2023-07-04 01:01:48 | 23.5
523 | 2023-07-04 01:16:48 | 23.2
524 | 2023-07-04 01:31:48 | 23.2
525 | 2023-07-04 01:46:48 | 23.0
526 | 2023-07-04 02:01:48 | 22.7
527 | 2023-07-04 02:16:48 | 22.6
528 | 2023-07-04 02:31:48 | 22.6
529 | 2023-07-04 02:46:48 | 22.5
530 | 2023-07-04 03:01:48 | 22.2
531 | 2023-07-04 03:16:48 | 22.2
532 | 2023-07-04 03:31:48 | 22.2
533 | 2023-07-04 03:46:48 | 22.1
534 | 2023-07-04 04:01:48 | 22.1
535 | 2023-07-04 04:16:48 | 22.0
536 | 2023-07-04 04:31:48 | 21.8
537 | 2023-07-04 04:46:48 | 21.7
538 | 2023-07-04 05:01:48 | 21.8
539 | 2023-07-04 05:16:48 | 21.6
540 | 2023-07-04 05:31:48 | 21.8
541 | 2023-07-04 05:46:48 | 21.8
542 | 2023-07-04 06:01:48 | 22.1
543 | 2023-07-04 06:16:48 | 22.4
544 | 2023-07-04 06:31:48 | 22.4
545 | 2023-07-04 06:46:48 | 22.7
546 | 2023-07-04 07:01:48 | 23.0
547 | 2023-07-04 07:16:48 | 23.2
548 | 2023-07-04 07:31:48 | 23.4
549 | 2023-07-04 07:46:48 | 23.7
550 | 2023-07-04 08:01:48 | 24.2
551 | 2023-07-04 08:16:48 | 25.2
552 | 2023-07-04 08:31:48 | 25.8
553 | 2023-07-04 08:46:48 | 26.5
554 | 2023-07-04 09:01:48 | 27.1
555 | 2023-07-04 09:16:48 | 27.9
556 | 2023-07-04 09:31:48 | 28.7
557 | 2023-07-04 09:46:48 | 31.4
558 | 2023-07-04 10:01:48 | 34.0
559 | 2023-07-04 10:16:48 | 35.8
560 | 2023-07-04 10:31:48 | 37.4
561 | 2023-07-04 10:46:48 | 38.7
562 | 2023-07-04 11:01:48 | 37.1
563 | 2023-07-04 11:16:48 | 32.3
564 | 2023-07-04 11:31:48 | 36.9
565 | 2023-07-04 11:46:48 | 35.4
566 | 2023-07-04 12:01:48 | 29.9
567 | 2023-07-04 12:16:48 | 27.2
568 | 2023-07-04 12:31:48 | 26.4
569 | 2023-07-04 12:46:48 | 24.0
570 | 2023-07-04 13:01:48 | 21.8
571 | 2023-07-04 13:16:48 | 20.8
572 | 2023-07-04 13:31:48 | 20.9
573 | 2023-07-04 13:46:48 | 21.3
574 | 2023-07-04 14:01:48 | 21.7
575 | 2023-07-04 14:16:48 | 22.3
576 | 2023-07-04 14:31:48 | 23.7
577 | 2023-07-04 14:46:48 | 24.7
578 | 2023-07-04 15:01:48 | 25.1
579 | 2023-07-04 15:16:48 | 25.9
580 | 2023-07-04 15:31:48 | 26.4
581 | 2023-07-04 15:46:48 | 26.7
582 | 2023-07-04 16:01:48 | 27.8
583 | 2023-07-04 16:16:48 | 30.3
584 | 2023-07-04 16:31:48 | 28.3
585 | 2023-07-04 16:46:48 | 29.0
586 | 2023-07-04 17:01:48 | 30.3
587 | 2023-07-04 17:16:48 | 28.3
588 | 2023-07-04 17:31:48 | 28.7
589 | 2023-07-04 17:46:48 | 28.8
590 | 2023-07-04 18:01:48 | 29.0
591 | 2023-07-04 18:16:48 | 28.0
592 | 2023-07-04 18:31:48 | 27.4
593 | 2023-07-04 18:46:48 | 26.6
594 | 2023-07-04 19:01:48 | 25.9
595 | 2023-07-04 19:16:48 | 25.4
596 | 2023-07-04 19:31:48 | 25.4
597 | 2023-07-04 19:46:48 | 25.4
598 | 2023-07-04 20:01:48 | 25.2
599 | 2023-07-04 20:16:48 | 25.0
600 | 2023-07-04 20:31:48 | 24.4
601 | 2023-07-04 20:46:48 | 24.1
602 | 2023-07-04 21:01:48 | 23.8
603 | 2023-07-04 21:16:48 | 23.5
604 | 2023-07-04 21:31:48 | 23.4
605 | 2023-07-04 21:46:48 | 23.3
606 | 2023-07-04 22:01:48 | 23.0
607 | 2023-07-04 22:16:48 | 22.9
608 | 2023-07-04 22:31:48 | 22.8
609 | 2023-07-04 22:46:48 | 22.5
610 | 2023-07-04 23:01:48 | 22.6
611 | 2023-07-04 23:16:48 | 22.9
612 | 2023-07-04 23:31:48 | 22.9
613 | 2023-07-04 23:46:48 | 22.7
614 | 2023-07-05 00:01:48 | 22.7
615 | 2023-07-05 00:16:48 | 22.2
616 | 2023-07-05 00:31:48 | 21.9
617 | 2023-07-05 00:46:48 | 21.9
618 | 2023-07-05 01:01:48 | 21.8
619 | 2023-07-05 01:16:48 | 21.7
620 | 2023-07-05 01:31:48 | 21.6
621 | 2023-07-05 01:46:48 | 21.6
622 | 2023-07-05 02:01:48 | 21.6
623 | 2023-07-05 02:16:48 | 21.3
624 | 2023-07-05 02:31:48 | 21.2
625 | 2023-07-05 02:46:48 | 21.2
626 | 2023-07-05 03:01:48 | 21.2
627 | 2023-07-05 03:16:48 | 21.1
628 | 2023-07-05 03:31:48 | 21.0
629 | 2023-07-05 03:46:48 | 21.1
630 | 2023-07-05 04:01:48 | 21.0
631 | 2023-07-05 04:16:48 | 20.9
632 | 2023-07-05 04:31:48 | 20.9
633 | 2023-07-05 04:46:48 | 20.9
634 | 2023-07-05 05:01:48 | 20.8
635 | 2023-07-05 05:16:48 | 20.8
636 | 2023-07-05 05:31:48 | 20.8
637 | 2023-07-05 05:46:48 | 20.9
638 | 2023-07-05 06:01:48 | 21.1
639 | 2023-07-05 06:16:48 | 21.4
640 | 2023-07-05 06:31:48 | 21.8
641 | 2023-07-05 06:46:48 | 22.1
642 | 2023-07-05 07:01:48 | 22.3
643 | 2023-07-05 07:16:48 | 22.6
644 | 2023-07-05 07:31:48 | 22.9
645 | 2023-07-05 07:46:48 | 23.4
646 | 2023-07-05 08:01:48 | 23.9
647 | 2023-07-05 08:16:48 | 24.4
648 | 2023-07-05 08:31:48 | 24.9
649 | 2023-07-05 08:46:48 | 25.4
650 | 2023-07-05 09:01:48 | 26.0
651 | 2023-07-05 09:16:48 | 26.7
652 | 2023-07-05 09:31:48 | 27.2
653 | 2023-07-05 09:46:48 | 30.3
654 | 2023-07-05 10:01:48 | 32.3
655 | 2023-07-05 10:16:48 | 32.9
656 | 2023-07-05 10:31:48 | 33.6
657 | 2023-07-05 10:46:48 | 34.5
658 | 2023-07-05 11:01:48 | 35.4
659 | 2023-07-05 11:16:48 | 36.2
660 | 2023-07-05 11:31:48 | 36.5
661 | 2023-07-05 11:46:48 | 37.4
662 | 2023-07-05 12:01:48 | 37.8
663 | 2023-07-05 12:16:48 | 38.4
664 | 2023-07-05 12:31:48 | 38.7
665 | 2023-07-05 12:46:48 | 39.0
666 | 2023-07-05 13:01:48 | 39.0
667 | 2023-07-05 13:16:48 | 40.1
668 | 2023-07-05 13:31:48 | 40.1
669 | 2023-07-05 13:46:48 | 40.0
670 | 2023-07-05 14:01:48 | 40.0
671 | 2023-07-05 14:16:48 | 40.1
672 | 2023-07-05 14:31:48 | 39.9
673 | 2023-07-05 14:46:48 | 40.0
674 | 2023-07-05 15:01:48 | 40.1
675 | 2023-07-05 15:16:48 | 40.2
676 | 2023-07-05 15:31:48 | 38.6
677 | 2023-07-05 15:46:48 | 36.7
678 | 2023-07-05 16:01:48 | 35.2
679 | 2023-07-05 16:16:48 | 35.0
680 | 2023-07-05 16:31:48 | 34.5
681 | 2023-07-05 16:46:48 | 35.7
682 | 2023-07-05 17:01:48 | 34.7
683 | 2023-07-05 17:16:48 | 35.7
684 | 2023-07-05 17:31:48 | 34.3
685 | 2023-07-05 17:46:48 | 32.5
686 | 2023-07-05 18:01:48 | 31.2
687 | 2023-07-05 18:16:48 | 30.8
688 | 2023-07-05 18:31:48 | 30.1
689 | 2023-07-05 18:46:48 | 30.2
690 | 2023-07-05 19:01:48 | 31.4
691 | 2023-07-05 19:16:48 | 31.6
692 | 2023-07-05 19:31:48 | 31.3
693 | 2023-07-05 19:46:48 | 30.5
694 | 2023-07-05 20:01:48 | 29.9
695 | 2023-07-05 20:16:48 | 29.4
696 | 2023-07-05 20:31:48 | 29.1
697 | 2023-07-05 20:46:48 | 28.8
698 | 2023-07-05 21:01:48 | 28.5
699 | 2023-07-05 21:16:48 | 28.3
700 | 2023-07-05 21:31:48 | 28.0
701 | 2023-07-05 21:46:48 | 27.9
702 | 2023-07-05 22:01:48 | 27.7
703 | 2023-07-05 22:16:48 | 27.4
704 | 2023-07-05 22:31:48 | 27.3
705 | 2023-07-05 22:46:48 | 27.1
706 | 2023-07-05 23:01:48 | 26.7
707 | 2023-07-05 23:16:48 | 26.5
708 | 2023-07-05 23:31:48 | 26.5
709 | 2023-07-05 23:46:48 | 26.5
710 | 2023-07-06 00:01:48 | 26.4
711 | 2023-07-06 00:16:48 | 26.3
712 | 2023-07-06 00:31:48 | 26.1
713 | 2023-07-06 00:46:48 | 25.9
714 | 2023-07-06 01:01:48 | 25.8
715 | 2023-07-06 01:16:48 | 25.6
716 | 2023-07-06 01:31:48 | 25.6
717 | 2023-07-06 01:46:48 | 25.4
718 | 2023-07-06 02:01:48 | 25.8
719 | 2023-07-06 02:16:48 | 25.7
720 | 2023-07-06 02:31:48 | 25.6
721 | 2023-07-06 02:46:48 | 25.4
722 | 2023-07-06 03:01:48 | 25.3
723 | 2023-07-06 03:16:48 | 25.3
724 | 2023-07-06 03:31:48 | 24.8
725 | 2023-07-06 03:46:48 | 24.7
726 | 2023-07-06 04:01:48 | 24.6
727 | 2023-07-06 04:16:48 | 24.3
728 | 2023-07-06 04:31:48 | 24.1
729 | 2023-07-06 04:46:48 | 23.9
730 | 2023-07-06 05:01:48 | 24.0
731 | 2023-07-06 05:16:48 | 23.7
732 | 2023-07-06 05:31:48 | 23.6
733 | 2023-07-06 05:46:48 | 23.7
734 | 2023-07-06 06:01:48 | 24.0
735 | 2023-07-06 06:16:48 | 24.1
736 | 2023-07-06 06:31:48 | 23.9
737 | 2023-07-06 06:46:48 | 24.2
738 | 2023-07-06 07:01:48 | 24.3
739 | 2023-07-06 07:16:48 | 24.6
740 | 2023-07-06 07:31:48 | 24.9
741 | 2023-07-06 07:46:48 | 25.2
742 | 2023-07-06 08:01:48 | 25.7
743 | 2023-07-06 08:16:48 | 26.1
744 | 2023-07-06 08:31:48 | 26.5
745 | 2023-07-06 08:46:48 | 27.1
746 | 2023-07-06 09:01:48 | 27.6
747 | 2023-07-06 09:16:48 | 28.4
748 | 2023-07-06 09:31:48 | 28.9
749 | 2023-07-06 09:46:48 | 32.6
750 | 2023-07-06 10:01:48 | 34.9
751 | 2023-07-06 10:16:48 | 35.3
752 | 2023-07-06 10:31:48 | 36.3
753 | 2023-07-06 10:46:48 | 36.0
754 | 2023-07-06 11:01:48 | 37.0
755 | 2023-07-06 11:16:48 | 38.1
756 | 2023-07-06 11:31:48 | 38.6
757 | 2023-07-06 11:46:48 | 38.9
758 | 2023-07-06 12:01:48 | 39.7
759 | 2023-07-06 12:16:48 | 39.7
760 | 2023-07-06 12:31:48 | 40.0
761 | 2023-07-06 12:46:48 | 39.9
762 | 2023-07-06 13:01:48 | 40.8
763 | 2023-07-06 13:16:48 | 41.1
764 | 2023-07-06 13:31:48 | 40.8
765 | 2023-07-06 13:46:48 | 41.3
766 | 2023-07-06 14:01:48 | 41.2
767 | 2023-07-06 14:16:48 | 41.6
768 | 2023-07-06 14:31:48 | 41.7
769 | 2023-07-06 14:46:48 | 41.7
770 | 2023-07-06 15:01:48 | 41.3
771 | 2023-07-06 15:16:48 | 41.1
772 | 2023-07-06 15:31:48 | 40.7
773 | 2023-07-06 15:46:48 | 40.7
774 | 2023-07-06 16:01:48 | 39.7
775 | 2023-07-06 16:16:48 | 39.4
776 | 2023-07-06 16:31:48 | 39.9
777 | 2023-07-06 16:46:48 | 39.9
778 | 2023-07-06 17:01:48 | 35.8
779 | 2023-07-06 17:16:48 | 36.2
780 | 2023-07-06 17:31:48 | 34.7
781 | 2023-07-06 17:46:48 | 33.4
782 | 2023-07-06 18:01:48 | 33.7
783 | 2023-07-06 18:16:48 | 33.5
784 | 2023-07-06 18:31:48 | 32.9
785 | 2023-07-06 18:46:48 | 32.4
786 | 2023-07-06 19:01:48 | 32.1
787 | 2023-07-06 19:16:48 | 31.8
788 | 2023-07-06 19:31:48 | 31.1
789 | 2023-07-06 19:46:48 | 30.7
790 | 2023-07-06 20:01:48 | 30.4
791 | 2023-07-06 20:16:48 | 30.1
792 | 2023-07-06 20:31:48 | 29.9
793 | 2023-07-06 20:46:48 | 29.7
794 | 2023-07-06 21:01:48 | 29.4
795 | 2023-07-06 21:16:48 | 29.1
796 | 2023-07-06 21:31:48 | 27.0
797 | 2023-07-06 21:46:48 | 26.0
798 | 2023-07-06 22:01:48 | 26.3
799 | 2023-07-06 22:16:48 | 26.3
800 | 2023-07-06 22:31:48 | 26.0
801 | 2023-07-06 22:46:48 | 25.8
802 | 2023-07-06 23:01:48 | 25.7
803 | 2023-07-06 23:16:48 | 25.6
804 | 2023-07-06 23:31:48 | 25.8
805 | 2023-07-06 23:46:48 | 25.9
806 | 2023-07-07 00:01:48 | 25.9
807 | 2023-07-07 00:16:48 | 25.8
808 | 2023-07-07 00:31:48 | 25.4
809 | 2023-07-07 00:46:48 | 25.0
810 | 2023-07-07 01:01:48 | 24.6
811 | 2023-07-07 01:16:48 | 24.4
812 | 2023-07-07 01:31:48 | 24.4
813 | 2023-07-07 01:46:48 | 24.3
814 | 2023-07-07 02:01:48 | 24.2
815 | 2023-07-07 02:16:48 | 24.0
816 | 2023-07-07 02:31:48 | 24.1
817 | 2023-07-07 02:46:48 | 24.1
818 | 2023-07-07 03:01:48 | 24.1
819 | 2023-07-07 03:16:48 | 24.3
820 | 2023-07-07 03:31:48 | 25.0
821 | 2023-07-07 03:46:48 | 23.8
822 | 2023-07-07 04:01:48 | 23.5
823 | 2023-07-07 04:16:48 | 23.1
824 | 2023-07-07 04:31:48 | 23.1
825 | 2023-07-07 04:46:48 | 23.2
826 | 2023-07-07 05:01:48 | 23.1
827 | 2023-07-07 05:16:48 | 23.5
828 | 2023-07-07 05:31:48 | 23.4
829 | 2023-07-07 05:46:48 | 23.4
830 | 2023-07-07 06:01:48 | 23.7
831 | 2023-07-07 06:16:48 | 24.2
832 | 2023-07-07 06:31:48 | 24.4
833 | 2023-07-07 06:46:48 | 25.1
834 | 2023-07-07 07:01:48 | 25.0
835 | 2023-07-07 07:16:48 | 25.4
836 | 2023-07-07 07:31:48 | 26.5
837 | 2023-07-07 07:46:48 | 26.8
838 | 2023-07-07 08:01:48 | 26.9
839 | 2023-07-07 08:16:48 | 26.8
840 | 2023-07-07 08:31:48 | 26.6
841 | 2023-07-07 08:46:48 | 25.9
842 | 2023-07-07 09:01:48 | 25.6
843 | 2023-07-07 09:16:48 | 25.4
844 | 2023-07-07 09:31:48 | 24.3
845 | 2023-07-07 09:46:48 | 24.0
846 | 2023-07-07 10:01:48 | 24.2
847 | 2023-07-07 10:16:48 | 24.6
848 | 2023-07-07 10:31:48 | 24.5
849 | 2023-07-07 10:46:48 | 24.7
850 | 2023-07-07 11:01:48 | 25.8
851 | 2023-07-07 11:16:48 | 26.3
852 | 2023-07-07 11:31:48 | 26.1
853 | 2023-07-07 11:46:48 | 28.4
854 | 2023-07-07 12:01:48 | 31.9
855 | 2023-07-07 12:16:48 | 33.7
856 | 2023-07-07 12:31:48 | 30.6
857 | 2023-07-07 12:46:48 | 32.0
858 | 2023-07-07 13:01:48 | 32.8
859 | 2023-07-07 13:16:48 | 34.1
860 | 2023-07-07 13:31:48 | 34.7
861 | 2023-07-07 13:46:48 | 36.0
862 | 2023-07-07 14:01:48 | 34.5
863 | 2023-07-07 14:16:48 | 36.5
864 | 2023-07-07 14:31:48 | 33.2
865 | 2023-07-07 14:46:48 | 34.1
866 | 2023-07-07 15:01:48 | 36.1
867 | 2023-07-07 15:16:48 | 32.9
868 | 2023-07-07 15:31:48 | 31.7
869 | 2023-07-07 15:46:48 | 33.1
870 | 2023-07-07 16:01:48 | 31.8
871 | 2023-07-07 16:16:48 | 32.8
872 | 2023-07-07 16:31:48 | 31.5
873 | 2023-07-07 16:46:48 | 31.1
874 | 2023-07-07 17:01:48 | 30.5
875 | 2023-07-07 17:16:48 | 32.3
876 | 2023-07-07 17:31:48 | 30.3
877 | 2023-07-07 17:46:48 | 28.3
878 | 2023-07-07 18:01:48 | 27.5
879 | 2023-07-07 18:16:48 | 27.1
880 | 2023-07-07 18:31:48 | 26.9
881 | 2023-07-07 18:46:48 | 26.9
882 | 2023-07-07 19:01:48 | 26.7
883 | 2023-07-07 19:16:48 | 26.8
884 | 2023-07-07 19:31:48 | 27.1
885 | 2023-07-07 19:46:48 | 27.1
886 | 2023-07-07 20:01:48 | 26.9
887 | 2023-07-07 20:16:48 | 26.0
888 | 2023-07-07 20:31:48 | 25.8
889 | 2023-07-07 20:46:48 | 25.3
890 | 2023-07-07 21:01:48 | 24.9
891 | 2023-07-07 21:16:48 | 24.5
892 | 2023-07-07 21:31:48 | 24.1
893 | 2023-07-07 21:46:48 | 23.8
894 | 2023-07-07 22:01:48 | 23.6
895 | 2023-07-07 22:16:48 | 23.6
896 | 2023-07-07 22:31:48 | 23.5
897 | 2023-07-07 22:46:48 | 23.3
898 | 2023-07-07 23:01:48 | 23.2
899 | 2023-07-07 23:16:48 | 23.1
900 | 2023-07-07 23:31:48 | 23.0
901 | 2023-07-07 23:46:48 | 22.8
902 | 2023-07-08 00:01:48 | 22.7
903 | 2023-07-08 00:16:48 | 22.7
904 | 2023-07-08 00:31:48 | 22.6
905 | 2023-07-08 00:46:48 | 22.6
906 | 2023-07-08 01:01:48 | 22.5
907 | 2023-07-08 01:16:48 | 22.3
908 | 2023-07-08 01:31:48 | 22.3
909 | 2023-07-08 01:46:48 | 22.2
910 | 2023-07-08 02:01:48 | 22.2
911 | 2023-07-08 02:16:48 | 22.2
912 | 2023-07-08 02:31:48 | 22.1
913 | 2023-07-08 02:46:48 | 22.1
914 | 2023-07-08 03:01:48 | 22.3
915 | 2023-07-08 03:16:48 | 22.3
916 | 2023-07-08 03:31:48 | 22.4
917 | 2023-07-08 03:46:48 | 22.1
918 | 2023-07-08 04:01:48 | 21.9
919 | 2023-07-08 04:16:48 | 22.0
920 | 2023-07-08 04:31:48 | 21.9
921 | 2023-07-08 04:46:48 | 21.9
922 | 2023-07-08 05:01:48 | 21.9
923 | 2023-07-08 05:16:48 | 21.8
924 | 2023-07-08 05:31:48 | 21.7
925 | 2023-07-08 05:46:48 | 21.8
926 | 2023-07-08 06:01:48 | 21.8
927 | 2023-07-08 06:16:48 | 21.9
928 | 2023-07-08 06:31:48 | 22.1
929 | 2023-07-08 06:46:48 | 22.5
930 | 2023-07-08 07:01:48 | 22.5
931 | 2023-07-08 07:16:48 | 22.4
932 | 2023-07-08 07:31:48 | 22.7
933 | 2023-07-08 07:46:48 | 23.0
934 | 2023-07-08 08:01:48 | 24.1
935 | 2023-07-08 08:16:48 | 24.9
936 | 2023-07-08 08:31:48 | 25.9
937 | 2023-07-08 08:46:48 | 26.4
938 | 2023-07-08 09:01:48 | 27.1
939 | 2023-07-08 09:16:48 | 27.6
940 | 2023-07-08 09:31:48 | 27.3
941 | 2023-07-08 09:46:48 | 31.6
942 | 2023-07-08 10:01:48 | 34.2
943 | 2023-07-08 10:16:48 | 34.5
944 | 2023-07-08 10:31:48 | 35.5
945 | 2023-07-08 10:46:48 | 36.6
946 | 2023-07-08 11:01:48 | 37.3
947 | 2023-07-08 11:16:48 | 36.9
948 | 2023-07-08 11:31:48 | 37.3
949 | 2023-07-08 11:46:48 | 38.4
950 | 2023-07-08 12:01:48 | 37.9
951 | 2023-07-08 12:16:48 | 38.3
952 | 2023-07-08 12:31:48 | 38.9
953 | 2023-07-08 12:46:48 | 38.4
954 | 2023-07-08 13:01:48 | 38.6
955 | 2023-07-08 13:16:48 | 36.1
956 | 2023-07-08 13:31:48 | 35.0
957 | 2023-07-08 13:46:48 | 39.0
958 | 2023-07-08 14:01:48 | 39.5
959 | 2023-07-08 14:16:48 | 39.5
960 | 2023-07-08 14:31:48 | 38.4
961 | 2023-07-08 14:46:48 | 36.1
962 | 2023-07-08 15:01:48 | 37.5
963 | 2023-07-08 15:16:48 | 37.6
964 | 2023-07-08 15:31:48 | 37.4
965 | 2023-07-08 15:46:48 | 37.4
966 | 2023-07-08 16:01:48 | 36.0
967 | 2023-07-08 16:16:48 | 35.6
968 | 2023-07-08 16:31:48 | 36.2
969 | 2023-07-08 16:46:48 | 36.3
970 | 2023-07-08 17:01:48 | 36.4
971 | 2023-07-08 17:16:48 | 36.2
972 | 2023-07-08 17:31:48 | 33.5
973 | 2023-07-08 17:46:48 | 32.2
974 | 2023-07-08 18:01:48 | 31.6
975 | 2023-07-08 18:16:48 | 31.2
976 | 2023-07-08 18:31:48 | 30.8
977 | 2023-07-08 18:46:48 | 30.7
978 | 2023-07-08 19:01:48 | 30.4
979 | 2023-07-08 19:16:48 | 30.0
980 | 2023-07-08 19:31:48 | 29.6
981 | 2023-07-08 19:46:48 | 29.3
982 | 2023-07-08 20:01:48 | 28.6
983 | 2023-07-08 20:16:48 | 28.2
984 | 2023-07-08 20:31:48 | 27.9
985 | 2023-07-08 20:46:48 | 27.6
986 | 2023-07-08 21:01:48 | 27.6
987 | 2023-07-08 21:16:48 | 27.8
988 | 2023-07-08 21:31:48 | 27.9
989 | 2023-07-08 21:46:48 | 27.7
990 | 2023-07-08 22:01:48 | 27.7
991 | 2023-07-08 22:16:48 | 27.6
992 | 2023-07-08 22:31:48 | 27.4
993 | 2023-07-08 22:46:48 | 27.0
994 | 2023-07-08 23:01:48 | 26.9
995 | 2023-07-08 23:16:48 | 26.7
996 | 2023-07-08 23:31:48 | 26.6
997 | 2023-07-08 23:46:48 | 26.3
998 | 2023-07-09 00:01:48 | 26.0
999 | 2023-07-09 00:16:48 | 25.9
1000 | 2023-07-09 00:31:48 | 25.5
1001 | 2023-07-09 00:46:48 | 25.1
1002 | 2023-07-09 01:01:48 | 24.8
1003 | 2023-07-09 01:16:48 | 24.6
1004 | 2023-07-09 01:31:48 | 24.3
1005 | 2023-07-09 01:46:48 | 24.0
1006 | 2023-07-09 02:01:48 | 23.7
1007 | 2023-07-09 02:16:48 | 23.5
1008 | 2023-07-09 02:31:48 | 23.3
1009 | 2023-07-09 02:46:48 | 23.4
1010 | 2023-07-09 03:01:48 | 23.4
1011 | 2023-07-09 03:16:48 | 23.3
1012 | 2023-07-09 03:31:48 | 23.2
1013 | 2023-07-09 03:46:48 | 23.0
1014 | 2023-07-09 04:01:48 | 22.7
1015 | 2023-07-09 04:16:48 | 22.4
1016 | 2023-07-09 04:31:48 | 22.3
1017 | 2023-07-09 04:46:48 | 22.4
1018 | 2023-07-09 05:01:48 | 22.4
1019 | 2023-07-09 05:16:48 | 22.3
1020 | 2023-07-09 05:31:48 | 22.2
1021 | 2023-07-09 05:46:48 | 22.2
1022 | 2023-07-09 06:01:48 | 22.3
1023 | 2023-07-09 06:16:48 | 22.3
1024 | 2023-07-09 06:31:48 | 22.3
1025 | 2023-07-09 06:46:48 | 22.6
1026 | 2023-07-09 07:01:48 | 23.0
1027 | 2023-07-09 07:16:48 | 22.8
1028 | 2023-07-09 07:31:48 | 23.0
1029 | 2023-07-09 07:46:48 | 23.8
1030 | 2023-07-09 08:01:48 | 24.3
1031 | 2023-07-09 08:16:48 | 24.8
1032 | 2023-07-09 08:31:48 | 25.9
1033 | 2023-07-09 08:46:48 | 26.3
1034 | 2023-07-09 09:01:48 | 26.5
1035 | 2023-07-09 09:16:48 | 26.8
1036 | 2023-07-09 09:31:48 | 27.0
1037 | 2023-07-09 09:46:48 | 26.5
1038 | 2023-07-09 10:01:48 | 27.1
1039 | 2023-07-09 10:16:48 | 27.8
1040 | 2023-07-09 10:31:48 | 28.2
1041 | 2023-07-09 10:46:48 | 29.6
1042 | 2023-07-09 11:01:48 | 28.4
1043 | 2023-07-09 11:16:48 | 27.8
1044 | 2023-07-09 11:31:48 | 28.0
1045 | 2023-07-09 11:46:48 | 27.7
1046 | 2023-07-09 12:01:48 | 27.6
1047 | 2023-07-09 12:16:48 | 27.9
1048 | 2023-07-09 12:31:48 | 28.6
1049 | 2023-07-09 12:46:48 | 28.6
1050 | 2023-07-09 13:01:48 | 30.0
1051 | 2023-07-09 13:16:48 | 30.4
1052 | 2023-07-09 13:31:48 | 31.9
1053 | 2023-07-09 13:46:48 | 34.6
1054 | 2023-07-09 14:01:48 | 35.7
1055 | 2023-07-09 14:16:48 | 35.1
1056 | 2023-07-09 14:31:48 | 33.7
1057 | 2023-07-09 14:46:48 | 33.3
1058 | 2023-07-09 15:01:48 | 32.1
1059 | 2023-07-09 15:16:48 | 31.1
1060 | 2023-07-09 15:31:48 | 31.0
1061 | 2023-07-09 15:46:48 | 30.4
1062 | 2023-07-09 16:01:48 | 29.8
1063 | 2023-07-09 16:16:48 | 30.1
1064 | 2023-07-09 16:31:48 | 29.7
1065 | 2023-07-09 16:46:48 | 28.9
1066 | 2023-07-09 17:01:48 | 28.3
1067 | 2023-07-09 17:16:48 | 27.9
1068 | 2023-07-09 17:31:48 | 27.6
1069 | 2023-07-09 17:46:48 | 27.4
1070 | 2023-07-09 18:01:48 | 27.0
1071 | 2023-07-09 18:16:48 | 26.7
1072 | 2023-07-09 18:31:48 | 26.6
1073 | 2023-07-09 18:46:48 | 24.8
1074 | 2023-07-09 19:01:48 | 24.1
1075 | 2023-07-09 19:16:48 | 23.5
1076 | 2023-07-09 19:31:48 | 23.1
1077 | 2023-07-09 19:46:48 | 22.9
1078 | 2023-07-09 20:01:48 | 23.2
1079 | 2023-07-09 20:16:48 | 23.0
1080 | 2023-07-09 20:31:48 | 22.9
1081 | 2023-07-09 20:46:48 | 22.9
1082 | 2023-07-09 21:01:48 | 21.3
1083 | 2023-07-09 21:16:48 | 20.8
1084 | 2023-07-09 21:31:48 | 20.9
1085 | 2023-07-09 21:46:48 | 20.6
1086 | 2023-07-09 22:01:48 | 20.7
1087 | 2023-07-09 22:16:48 | 20.6
1088 | 2023-07-09 22:31:48 | 20.6
1089 | 2023-07-09 22:46:48 | 20.7
1090 | 2023-07-09 23:01:48 | 20.7
1091 | 2023-07-09 23:16:48 | 20.7
1092 | 2023-07-09 23:31:48 | 20.8
1093 | 2023-07-09 23:46:48 | 20.9
1094 | 2023-07-10 00:01:48 | 20.9
1095 | 2023-07-10 00:16:48 | 20.9
1096 | 2023-07-10 00:31:48 | 20.7
1097 | 2023-07-10 00:46:48 | 20.7
1098 | 2023-07-10 01:01:48 | 20.8
1099 | 2023-07-10 01:16:48 | 20.8
1100 | 2023-07-10 01:31:48 | 20.8
1101 | 2023-07-10 01:46:48 | 20.7
1102 | 2023-07-10 02:01:48 | 20.8
1103 | 2023-07-10 02:16:48 | 20.8
1104 | 2023-07-10 02:31:48 | 20.8
1105 | 2023-07-10 02:46:48 | 20.8
1106 | 2023-07-10 03:01:48 | 20.7
1107 | 2023-07-10 03:16:48 | 20.6
1108 | 2023-07-10 03:31:48 | 20.3
1109 | 2023-07-10 03:46:48 | 20.0
1110 | 2023-07-10 04:01:48 | 19.8
1111 | 2023-07-10 04:16:48 | 19.8
1112 | 2023-07-10 04:31:48 | 19.8
1113 | 2023-07-10 04:46:48 | 19.8
1114 | 2023-07-10 05:01:48 | 19.8
1115 | 2023-07-10 05:16:48 | 19.8
1116 | 2023-07-10 05:31:48 | 19.9
1117 | 2023-07-10 05:46:48 | 20.1
1118 | 2023-07-10 06:01:48 | 20.0
1119 | 2023-07-10 06:16:48 | 20.1
1120 | 2023-07-10 06:31:48 | 20.3
1121 | 2023-07-10 06:46:48 | 20.4
1122 | 2023-07-10 07:01:48 | 20.5
1123 | 2023-07-10 07:16:48 | 20.7
1124 | 2023-07-10 07:31:48 | 20.6
1125 | 2023-07-10 07:46:48 | 20.6
1126 | 2023-07-10 08:01:48 | 20.7
1127 | 2023-07-10 08:16:48 | 20.7
1128 | 2023-07-10 08:31:48 | 20.5
1129 | 2023-07-10 08:46:48 | 20.6
1130 | 2023-07-10 09:01:48 | 20.7
1131 | 2023-07-10 09:16:48 | 20.9
1132 | 2023-07-10 09:31:48 | 21.1
1133 | 2023-07-10 09:46:48 | 21.2
1134 | 2023-07-10 10:01:48 | 21.3
1135 | 2023-07-10 10:16:48 | 21.2
1136 | 2023-07-10 10:31:48 | 21.2
1137 | 2023-07-10 10:46:48 | 21.2
1138 | 2023-07-10 11:01:48 | 21.2
1139 | 2023-07-10 11:16:48 | 21.5
1140 | 2023-07-10 11:31:48 | 21.9
1141 | 2023-07-10 11:46:48 | 22.2
1142 | 2023-07-10 12:01:48 | 22.1
1143 | 2023-07-10 12:16:48 | 22.1
1144 | 2023-07-10 12:31:48 | 21.9
1145 | 2023-07-10 12:46:48 | 22.4
1146 | 2023-07-10 13:01:48 | 22.6
1147 | 2023-07-10 13:16:48 | 22.5
1148 | 2023-07-10 13:31:48 | 22.8
1149 | 2023-07-10 13:46:48 | 22.4
1150 | 2023-07-10 14:01:48 | 22.1
1151 | 2023-07-10 14:16:48 | 22.4
1152 | 2023-07-10 14:31:48 | 22.6
1153 | 2023-07-10 14:46:48 | 22.5
1154 | 2023-07-10 15:01:48 | 22.7
1155 | 2023-07-10 15:16:48 | 22.4
1156 | 2023-07-10 15:31:48 | 22.2
1157 | 2023-07-10 15:46:48 | 22.0
1158 | 2023-07-10 16:01:48 | 22.0
1159 | 2023-07-10 16:16:48 | 21.9
1160 | 2023-07-10 16:31:48 | 21.9
1161 | 2023-07-10 16:46:48 | 21.8
1162 | 2023-07-10 17:01:48 | 21.6
1163 | 2023-07-10 17:16:48 | 21.5
1164 | 2023-07-10 17:31:48 | 21.6
1165 | 2023-07-10 17:46:48 | 21.5
1166 | 2023-07-10 18:01:48 | 21.3
1167 | 2023-07-10 18:16:48 | 21.2
1168 | 2023-07-10 18:31:48 | 21.2
1169 | 2023-07-10 18:46:48 | 21.1
1170 | 2023-07-10 19:01:48 | 21.1
1171 | 2023-07-10 19:16:48 | 21.1
1172 | 2023-07-10 19:31:48 | 21.1
1173 | 2023-07-10 19:46:48 | 21.1
1174 | 2023-07-10 20:01:48 | 21.2
1175 | 2023-07-10 20:16:48 | 21.0
1176 | 2023-07-10 20:31:48 | 20.8
1177 | 2023-07-10 20:46:48 | 20.8
1178 | 2023-07-10 21:01:48 | 20.7
1179 | 2023-07-10 21:16:48 | 20.7
1180 | 2023-07-10 21:31:48 | 20.5
1181 | 2023-07-10 21:46:48 | 20.6
1182 | 2023-07-10 22:01:48 | 20.5
1183 | 2023-07-10 22:16:48 | 20.5
1184 | 2023-07-10 22:31:48 | 20.4
1185 | 2023-07-10 22:46:48 | 20.4
1186 | 2023-07-10 23:01:48 | 20.5
1187 | 2023-07-10 23:16:48 | 20.6
1188 | 2023-07-10 23:31:48 | 20.6
1189 | 2023-07-10 23:46:48 | 20.5
1190 | 2023-07-11 00:01:48 | 20.3
1191 | 2023-07-11 00:16:48 | 20.2
1192 | 2023-07-11 00:31:48 | 20.1
1193 | 2023-07-11 00:46:48 | 20.2
1194 | 2023-07-11 01:01:48 | 20.2
1195 | 2023-07-11 01:16:48 | 20.3
1196 | 2023-07-11 01:31:48 | 20.3
1197 | 2023-07-11 01:46:48 | 20.2
1198 | 2023-07-11 02:01:48 | 20.2
1199 | 2023-07-11 02:16:48 | 20.1
1200 | 2023-07-11 02:31:48 | 20.2
1201 | 2023-07-11 02:46:48 | 20.2
1202 | 2023-07-11 03:01:48 | 20.3
1203 | 2023-07-11 03:16:48 | 20.4
1204 | 2023-07-11 03:31:48 | 20.4
1205 | 2023-07-11 03:46:48 | 20.4
1206 | 2023-07-11 04:01:48 | 20.4
1207 | 2023-07-11 04:16:48 | 20.5
1208 | 2023-07-11 04:31:48 | 20.4
1209 | 2023-07-11 04:46:48 | 20.3
1210 | 2023-07-11 05:01:48 | 20.2
1211 | 2023-07-11 05:16:48 | 20.1
1212 | 2023-07-11 05:31:48 | 20.1
1213 | 2023-07-11 05:46:48 | 20.2
1214 | 2023-07-11 06:01:48 | 20.2
1215 | 2023-07-11 06:16:48 | 20.1
1216 | 2023-07-11 06:31:48 | 20.1
1217 | 2023-07-11 06:46:48 | 20.1
1218 | 2023-07-11 07:01:48 | 20.2
1219 | 2023-07-11 07:16:48 | 20.3
1220 | 2023-07-11 07:31:48 | 20.4
1221 | 2023-07-11 07:46:48 | 20.4
1222 | 2023-07-11 08:01:48 | 20.4
1223 | 2023-07-11 08:16:48 | 20.4
1224 | 2023-07-11 08:31:48 | 20.6
1225 | 2023-07-11 08:46:48 | 20.8
1226 | 2023-07-11 09:01:48 | 20.7
1227 | 2023-07-11 09:16:48 | 20.7
1228 | 2023-07-11 09:31:48 | 20.9
1229 | 2023-07-11 09:46:48 | 20.9
1230 | 2023-07-11 10:01:48 | 21.5
1231 | 2023-07-11 10:16:48 | 22.0
1232 | 2023-07-11 10:31:48 | 23.2
1233 | 2023-07-11 10:46:48 | 27.2
1234 | 2023-07-11 11:01:48 | 26.2
1235 | 2023-07-11 11:16:48 | 26.0
1236 | 2023-07-11 11:31:48 | 26.0
1237 | 2023-07-11 11:46:48 | 26.7
1238 | 2023-07-11 12:01:48 | 27.7
1239 | 2023-07-11 12:16:48 | 28.4
1240 | 2023-07-11 12:31:48 | 30.4
1241 | 2023-07-11 12:46:48 | 29.7
1242 | 2023-07-11 13:01:48 | 29.9
1243 | 2023-07-11 13:16:48 | 30.4
1244 | 2023-07-11 13:31:48 | 31.7
1245 | 2023-07-11 13:46:48 | 32.1
1246 | 2023-07-11 14:01:48 | 32.6
1247 | 2023-07-11 14:16:48 | 33.3
1248 | 2023-07-11 14:31:48 | 34.0
1249 | 2023-07-11 14:46:48 | 34.2
1250 | 2023-07-11 15:01:48 | 34.9
1251 | 2023-07-11 15:16:48 | 34.9
1252 | 2023-07-11 15:31:48 | 35.9
1253 | 2023-07-11 15:46:48 | 36.2
1254 | 2023-07-11 16:01:48 | 35.5
1255 | 2023-07-11 16:16:48 | 35.4
1256 | 2023-07-11 16:31:48 | 35.3
1257 | 2023-07-11 16:46:48 | 34.7
1258 | 2023-07-11 17:01:48 | 32.8
1259 | 2023-07-11 17:16:48 | 30.5
1260 | 2023-07-11 17:31:48 | 30.5
1261 | 2023-07-11 17:46:48 | 30.3
1262 | 2023-07-11 18:01:48 | 30.1
1263 | 2023-07-11 18:16:48 | 29.7
1264 | 2023-07-11 18:31:48 | 29.5
1265 | 2023-07-11 18:46:48 | 29.2
1266 | 2023-07-11 19:01:48 | 28.6
1267 | 2023-07-11 19:16:48 | 28.5
1268 | 2023-07-11 19:31:48 | 28.1
1269 | 2023-07-11 19:46:48 | 27.8
1270 | 2023-07-11 20:01:48 | 27.0
1271 | 2023-07-11 20:16:48 | 25.2
1272 | 2023-07-11 20:31:48 | 24.4
1273 | 2023-07-11 20:46:48 | 24.0
1274 | 2023-07-11 21:01:48 | 23.6
1275 | 2023-07-11 21:16:48 | 23.0
1276 | 2023-07-11 21:31:48 | 22.5
1277 | 2023-07-11 21:46:48 | 22.2
1278 | 2023-07-11 22:01:48 | 22.4
1279 | 2023-07-11 22:16:48 | 23.0
1280 | 2023-07-11 22:31:48 | 23.2
1281 | 2023-07-11 22:46:48 | 23.4
1282 | 2023-07-11 23:01:48 | 23.6
1283 | 2023-07-11 23:16:48 | 23.2
1284 | 2023-07-11 23:31:48 | 22.9
1285 | 2023-07-11 23:46:48 | 22.7
1286 | 2023-07-12 00:01:48 | 22.7
1287 | 2023-07-12 00:16:48 | 22.4
1288 | 2023-07-12 00:31:48 | 22.0
1289 | 2023-07-12 00:46:48 | 21.6
1290 | 2023-07-12 01:01:48 | 21.4
1291 | 2023-07-12 01:16:48 | 21.4
1292 | 2023-07-12 01:31:48 | 21.7
1293 | 2023-07-12 01:46:48 | 21.7
1294 | 2023-07-12 02:01:48 | 20.9
1295 | 2023-07-12 02:16:48 | 20.0
1296 | 2023-07-12 02:31:48 | 19.8
1297 | 2023-07-12 02:46:48 | 19.8
1298 | 2023-07-12 03:01:48 | 19.7
1299 | 2023-07-12 03:16:48 | 19.6
1300 | 2023-07-12 03:31:48 | 19.4
1301 | 2023-07-12 03:46:48 | 19.2
1302 | 2023-07-12 04:01:48 | 19.1
1303 | 2023-07-12 04:16:48 | 19.0
1304 | 2023-07-12 04:31:48 | 19.1
1305 | 2023-07-12 04:46:48 | 19.6
1306 | 2023-07-12 05:01:48 | 19.7
1307 | 2023-07-12 05:16:48 | 20.0
1308 | 2023-07-12 05:31:48 | 20.0
1309 | 2023-07-12 05:46:48 | 20.2
1310 | 2023-07-12 06:01:48 | 20.1
1311 | 2023-07-12 06:16:48 | 20.3
1312 | 2023-07-12 06:31:48 | 20.6
1313 | 2023-07-12 06:46:48 | 21.0
1314 | 2023-07-12 07:01:48 | 21.4
1315 | 2023-07-12 07:16:48 | 21.5
1316 | 2023-07-12 07:31:48 | 21.6
1317 | 2023-07-12 07:46:48 | 21.4
1318 | 2023-07-12 08:01:48 | 21.7
1319 | 2023-07-12 08:16:48 | 22.2
1320 | 2023-07-12 08:31:48 | 22.6
1321 | 2023-07-12 08:46:48 | 23.3
1322 | 2023-07-12 09:01:48 | 23.3
1323 | 2023-07-12 09:16:48 | 23.8
1324 | 2023-07-12 09:31:48 | 25.1
1325 | 2023-07-12 09:46:48 | 28.3
1326 | 2023-07-12 10:01:48 | 30.6
1327 | 2023-07-12 10:16:48 | 32.1
1328 | 2023-07-12 10:31:48 | 31.5
1329 | 2023-07-12 10:46:48 | 30.4
1330 | 2023-07-12 11:01:48 | 31.9
1331 | 2023-07-12 11:16:48 | 34.8
1332 | 2023-07-12 11:31:48 | 33.3
1333 | 2023-07-12 11:46:48 | 31.5
1334 | 2023-07-12 12:01:48 | 35.2
1335 | 2023-07-12 12:16:48 | 34.1
1336 | 2023-07-12 12:31:48 | 33.7
1337 | 2023-07-12 12:46:48 | 34.5
1338 | 2023-07-12 13:01:48 | 34.5
1339 | 2023-07-12 13:16:48 | 31.0
1340 | 2023-07-12 13:31:48 | 30.9
1341 | 2023-07-12 13:46:48 | 32.7
1342 | 2023-07-12 14:01:48 | 30.5
1343 | 2023-07-12 14:16:48 | 31.9
1344 | 2023-07-12 14:31:48 | 32.2
1345 | 2023-07-12 14:46:48 | 32.7
1346 | 2023-07-12 15:01:48 | 33.5
1347 | 2023-07-12 15:16:48 | 32.0
1348 | 2023-07-12 15:31:48 | 34.0
1349 | 2023-07-12 15:46:48 | 33.7
1350 | 2023-07-12 16:01:48 | 32.8
1351 | 2023-07-12 16:16:48 | 32.5
1352 | 2023-07-12 16:31:48 | 31.3
1353 | 2023-07-12 16:46:48 | 30.0
1354 | 2023-07-12 17:01:48 | 32.2
1355 | 2023-07-12 17:16:48 | 32.6
1356 | 2023-07-12 17:31:48 | 30.4
1357 | 2023-07-12 17:46:48 | 28.2
1358 | 2023-07-12 18:01:48 | 27.8
1359 | 2023-07-12 18:16:48 | 27.4
1360 | 2023-07-12 18:31:48 | 27.1
1361 | 2023-07-12 18:46:48 | 26.8
1362 | 2023-07-12 19:01:48 | 26.2
1363 | 2023-07-12 19:16:48 | 26.0
1364 | 2023-07-12 19:31:48 | 25.6
1365 | 2023-07-12 19:46:48 | 25.2
1366 | 2023-07-12 20:01:48 | 24.8
1367 | 2023-07-12 20:16:48 | 24.5
1368 | 2023-07-12 20:31:48 | 24.1
1369 | 2023-07-12 20:46:48 | 23.7
1370 | 2023-07-12 21:01:48 | 23.6
1371 | 2023-07-12 21:16:48 | 23.5
1372 | 2023-07-12 21:31:48 | 23.2
1373 | 2023-07-12 21:46:48 | 23.0
1374 | 2023-07-12 22:01:48 | 22.8
1375 | 2023-07-12 22:16:48 | 22.3
1376 | 2023-07-12 22:31:48 | 22.3
1377 | 2023-07-12 22:46:48 | 22.1
1378 | 2023-07-12 23:01:48 | 21.6
1379 | 2023-07-12 23:16:48 | 21.4
1380 | 2023-07-12 23:31:48 | 21.5
1381 | 2023-07-12 23:46:48 | 21.8
1382 | 2023-07-13 00:01:48 | 21.5
1383 | 2023-07-13 00:16:48 | 21.2
1384 | 2023-07-13 00:31:48 | 21.1
1385 | 2023-07-13 00:46:48 | 20.8
1386 | 2023-07-13 01:01:48 | 20.6
1387 | 2023-07-13 01:16:48 | 20.6
1388 | 2023-07-13 01:31:48 | 20.6
1389 | 2023-07-13 01:46:48 | 20.5
1390 | 2023-07-13 02:01:48 | 20.6
1391 | 2023-07-13 02:16:48 | 20.8
1392 | 2023-07-13 02:31:48 | 20.8
1393 | 2023-07-13 02:46:48 | 20.7
1394 | 2023-07-13 03:01:48 | 20.3
1395 | 2023-07-13 03:16:48 | 20.1
1396 | 2023-07-13 03:31:48 | 20.0
1397 | 2023-07-13 03:46:48 | 19.9
1398 | 2023-07-13 04:01:48 | 19.7
1399 | 2023-07-13 04:16:48 | 19.3
1400 | 2023-07-13 04:31:48 | 19.3
1401 | 2023-07-13 04:46:48 | 19.2
1402 | 2023-07-13 05:01:48 | 19.3
1403 | 2023-07-13 05:16:48 | 19.3
1404 | 2023-07-13 05:31:48 | 19.2
1405 | 2023-07-13 05:46:48 | 19.4
1406 | 2023-07-13 06:01:48 | 19.5
1407 | 2023-07-13 06:16:48 | 19.7
1408 | 2023-07-13 06:31:48 | 20.0
1409 | 2023-07-13 06:46:48 | 20.2
1410 | 2023-07-13 07:01:48 | 20.4
1411 | 2023-07-13 07:16:48 | 21.1
1412 | 2023-07-13 07:31:48 | 21.7
1413 | 2023-07-13 07:46:48 | 21.6
1414 | 2023-07-13 08:01:48 | 21.9
1415 | 2023-07-13 08:16:48 | 21.5
1416 | 2023-07-13 08:31:48 | 21.0
1417 | 2023-07-13 08:46:48 | 20.4
1418 | 2023-07-13 09:01:48 | 19.8
1419 | 2023-07-13 09:16:48 | 19.2
1420 | 2023-07-13 09:31:48 | 19.2
1421 | 2023-07-13 09:46:48 | 19.0
1422 | 2023-07-13 10:01:48 | 19.2
1423 | 2023-07-13 10:16:48 | 20.3
1424 | 2023-07-13 10:31:48 | 21.7
1425 | 2023-07-13 10:46:48 | 22.4
1426 | 2023-07-13 11:01:48 | 21.4
1427 | 2023-07-13 11:16:48 | 20.9
1428 | 2023-07-13 11:31:48 | 22.9
1429 | 2023-07-13 11:46:48 | 25.4
1430 | 2023-07-13 12:01:48 | 24.3
1431 | 2023-07-13 12:16:48 | 25.8
1432 | 2023-07-13 12:31:48 | 26.0
1433 | 2023-07-13 12:46:48 | 25.5
1434 | 2023-07-13 13:01:48 | 28.0
1435 | 2023-07-13 13:16:48 | 30.3
1436 | 2023-07-13 13:31:48 | 30.9
1437 | 2023-07-13 13:46:48 | 30.0
1438 | 2023-07-13 14:01:48 | 29.6
1439 | 2023-07-13 14:16:48 | 33.5
1440 | 2023-07-13 14:31:48 | 32.3
1441 | 2023-07-13 14:46:48 | 32.3
1442 | 2023-07-13 15:01:48 | 33.5
1443 | 2023-07-13 15:16:48 | 30.9
1444 | 2023-07-13 15:31:48 | 30.6
1445 | 2023-07-13 15:46:48 | 31.5
1446 | 2023-07-13 16:01:48 | 28.5
1447 | 2023-07-13 16:16:48 | 22.5
1448 | 2023-07-13 16:31:48 | 20.7
1449 | 2023-07-13 16:46:48 | 21.6
1450 | 2023-07-13 17:01:48 | 21.4
1451 | 2023-07-13 17:16:48 | 20.8
1452 | 2023-07-13 17:31:48 | 21.4
1453 | 2023-07-13 17:46:48 | 19.4
1454 | 2023-07-13 18:01:48 | 19.5
1455 | 2023-07-13 18:16:48 | 19.6
1456 | 2023-07-13 18:31:48 | 19.9
1457 | 2023-07-13 18:46:48 | 20.7
1458 | 2023-07-13 19:01:48 | 20.9
1459 | 2023-07-13 19:16:48 | 21.0
1460 | 2023-07-13 19:31:48 | 21.1
1461 | 2023-07-13 19:46:48 | 21.1
1462 | 2023-07-13 20:01:48 | 21.1
1463 | 2023-07-13 20:16:48 | 21.2
1464 | 2023-07-13 20:31:48 | 21.2
1465 | 2023-07-13 20:46:48 | 20.7
1466 | 2023-07-13 21:01:48 | 20.3
1467 | 2023-07-13 21:16:48 | 20.2
1468 | 2023-07-13 21:31:48 | 20.0
1469 | 2023-07-13 21:46:48 | 19.8
1470 | 2023-07-13 22:01:48 | 19.7
1471 | 2023-07-13 22:16:48 | 19.6
1472 | 2023-07-13 22:31:48 | 19.5
1473 | 2023-07-13 22:46:48 | 19.5
1474 | 2023-07-13 23:01:48 | 19.4
1475 | 2023-07-13 23:16:48 | 19.4
1476 | 2023-07-13 23:31:48 | 19.4
1477 | 2023-07-13 23:46:48 | 19.3
1478 | 2023-07-14 00:01:48 | 19.2
1479 | 2023-07-14 00:16:48 | 19.0
1480 | 2023-07-14 00:31:48 | 19.0
1481 | 2023-07-14 00:46:48 | 18.9
1482 | 2023-07-14 01:01:48 | 18.9
1483 | 2023-07-14 01:16:48 | 18.8
1484 | 2023-07-14 01:31:48 | 18.6
1485 | 2023-07-14 01:46:48 | 18.4
1486 | 2023-07-14 02:01:48 | 18.0
1487 | 2023-07-14 02:16:48 | 17.9
1488 | 2023-07-14 02:31:48 | 18.0
1489 | 2023-07-14 02:46:48 | 17.7
1490 | 2023-07-14 03:01:48 | 17.7
1491 | 2023-07-14 03:16:48 | 17.9
1492 | 2023-07-14 03:31:48 | 17.9
1493 | 2023-07-14 03:46:48 | 17.8
1494 | 2023-07-14 04:01:48 | 17.7
1495 | 2023-07-14 04:16:48 | 17.6
1496 | 2023-07-14 04:31:48 | 17.8
1497 | 2023-07-14 04:46:48 | 17.9
1498 | 2023-07-14 05:01:48 | 18.0
1499 | 2023-07-14 05:16:48 | 17.8
1500 | 2023-07-14 05:31:48 | 17.9
1501 | 2023-07-14 05:46:48 | 18.0
1502 | 2023-07-14 06:01:48 | 18.0
1503 | 2023-07-14 06:16:48 | 18.1
1504 | 2023-07-14 06:31:48 | 18.2
1505 | 2023-07-14 06:46:48 | 18.4
1506 | 2023-07-14 07:01:48 | 18.6
1507 | 2023-07-14 07:16:48 | 18.8
1508 | 2023-07-14 07:31:48 | 19.2
1509 | 2023-07-14 07:46:48 | 19.7
1510 | 2023-07-14 08:01:48 | 20.2
1511 | 2023-07-14 08:16:48 | 20.8
1512 | 2023-07-14 08:31:48 | 21.2
1513 | 2023-07-14 08:46:48 | 22.1
1514 | 2023-07-14 09:01:48 | 22.7
1515 | 2023-07-14 09:16:48 | 23.4
1516 | 2023-07-14 09:31:48 | 25.3
1517 | 2023-07-14 09:46:48 | 29.3
1518 | 2023-07-14 10:01:48 | 30.3
1519 | 2023-07-14 10:16:48 | 32.0
1520 | 2023-07-14 10:31:48 | 33.3
1521 | 2023-07-14 10:46:48 | 34.3
1522 | 2023-07-14 11:01:48 | 35.0
1523 | 2023-07-14 11:16:48 | 35.0
1524 | 2023-07-14 11:31:48 | 35.2
1525 | 2023-07-14 11:46:48 | 35.7
1526 | 2023-07-14 12:01:48 | 36.7
1527 | 2023-07-14 12:16:48 | 34.9
1528 | 2023-07-14 12:31:48 | 36.6
1529 | 2023-07-14 12:46:48 | 33.2
1530 | 2023-07-14 13:01:48 | 33.7
1531 | 2023-07-14 13:16:48 | 34.8
1532 | 2023-07-14 13:31:48 | 31.7
1533 | 2023-07-14 13:46:48 | 34.4
1534 | 2023-07-14 14:01:48 | 30.7
1535 | 2023-07-14 14:16:48 | 30.6
1536 | 2023-07-14 14:31:48 | 30.4
1537 | 2023-07-14 14:46:48 | 29.7
1538 | 2023-07-14 15:01:48 | 30.3
1539 | 2023-07-14 15:16:48 | 29.7
1540 | 2023-07-14 15:31:48 | 30.7
1541 | 2023-07-14 15:46:48 | 34.1
1542 | 2023-07-14 16:01:48 | 31.7
1543 | 2023-07-14 16:16:48 | 30.0
1544 | 2023-07-14 16:31:48 | 30.2
1545 | 2023-07-14 16:46:48 | 30.3
1546 | 2023-07-14 17:01:48 | 29.2
1547 | 2023-07-14 17:16:48 | 27.9
1548 | 2023-07-14 17:31:48 | 27.1
1549 | 2023-07-14 17:46:48 | 26.7
1550 | 2023-07-14 18:01:48 | 26.4
1551 | 2023-07-14 18:16:48 | 26.6
1552 | 2023-07-14 18:31:48 | 26.0
1553 | 2023-07-14 18:46:48 | 25.7
1554 | 2023-07-14 19:01:48 | 25.8
1555 | 2023-07-14 19:16:48 | 25.7
1556 | 2023-07-14 19:31:48 | 25.6
1557 | 2023-07-14 19:46:48 | 25.3
1558 | 2023-07-14 20:01:48 | 24.6
1559 | 2023-07-14 20:16:48 | 24.1
1560 | 2023-07-14 20:31:48 | 23.9
1561 | 2023-07-14 20:46:48 | 23.6
1562 | 2023-07-14 21:01:48 | 23.7
1563 | 2023-07-14 21:16:48 | 23.4
1564 | 2023-07-14 21:31:48 | 22.9
1565 | 2023-07-14 21:46:48 | 22.6
1566 | 2023-07-14 22:01:48 | 22.8
1567 | 2023-07-14 22:16:48 | 22.6
1568 | 2023-07-14 22:31:48 | 22.3
1569 | 2023-07-14 22:46:48 | 22.3
1570 | 2023-07-14 23:01:48 | 22.2
1571 | 2023-07-14 23:16:48 | 22.3
1572 | 2023-07-14 23:31:48 | 22.8
1573 | 2023-07-14 23:46:48 | 22.9
1574 | 2023-07-15 00:01:48 | 22.5
1575 | 2023-07-15 00:16:48 | 22.1
1576 | 2023-07-15 00:31:48 | 21.8
1577 | 2023-07-15 00:46:48 | 21.6
1578 | 2023-07-15 01:01:48 | 21.4
1579 | 2023-07-15 01:16:48 | 21.3
1580 | 2023-07-15 01:31:48 | 21.1
1581 | 2023-07-15 01:46:48 | 21.1
1582 | 2023-07-15 02:01:48 | 21.0
1583 | 2023-07-15 02:16:48 | 20.8
1584 | 2023-07-15 02:31:48 | 20.8
1585 | 2023-07-15 02:46:48 | 20.8
1586 | 2023-07-15 03:01:48 | 20.6
1587 | 2023-07-15 03:16:48 | 20.5
1588 | 2023-07-15 03:31:48 | 20.5
1589 | 2023-07-15 03:46:48 | 20.7
1590 | 2023-07-15 04:01:48 | 20.6
1591 | 2023-07-15 04:16:48 | 20.4
1592 | 2023-07-15 04:31:48 | 20.1
1593 | 2023-07-15 04:46:48 | 19.9
1594 | 2023-07-15 05:01:48 | 19.7
1595 | 2023-07-15 05:16:48 | 19.7
1596 | 2023-07-15 05:31:48 | 19.7
1597 | 2023-07-15 05:46:48 | 19.9
1598 | 2023-07-15 06:01:48 | 20.3
1599 | 2023-07-15 06:16:48 | 20.3
1600 | 2023-07-15 06:31:48 | 20.8
1601 | 2023-07-15 06:46:48 | 21.0
1602 | 2023-07-15 07:01:48 | 21.0
1603 | 2023-07-15 07:16:48 | 21.1
1604 | 2023-07-15 07:31:48 | 21.5
1605 | 2023-07-15 07:46:48 | 21.8
1606 | 2023-07-15 08:01:48 | 22.4
1607 | 2023-07-15 08:16:48 | 23.9
1608 | 2023-07-15 08:31:48 | 24.1
1609 | 2023-07-15 08:46:48 | 25.3
1610 | 2023-07-15 09:01:48 | 25.8
1611 | 2023-07-15 09:16:48 | 26.0
1612 | 2023-07-15 09:31:48 | 27.3
1613 | 2023-07-15 09:46:48 | 29.3
1614 | 2023-07-15 10:01:48 | 31.2
1615 | 2023-07-15 10:16:48 | 30.5
1616 | 2023-07-15 10:31:48 | 30.4
1617 | 2023-07-15 10:46:48 | 32.9
1618 | 2023-07-15 11:01:48 | 33.0
1619 | 2023-07-15 11:16:48 | 34.8
1620 | 2023-07-15 11:31:48 | 32.4
1621 | 2023-07-15 11:46:48 | 35.7
1622 | 2023-07-15 12:01:48 | 36.0
1623 | 2023-07-15 12:16:48 | 36.6
1624 | 2023-07-15 12:31:48 | 36.7
1625 | 2023-07-15 12:46:48 | 36.8
1626 | 2023-07-15 13:01:48 | 36.6
1627 | 2023-07-15 13:16:48 | 36.4
1628 | 2023-07-15 13:31:48 | 35.4
1629 | 2023-07-15 13:46:48 | 35.5
1630 | 2023-07-15 14:01:48 | 35.9
1631 | 2023-07-15 14:16:48 | 35.7
1632 | 2023-07-15 14:31:48 | 35.8
1633 | 2023-07-15 14:46:48 | 36.4
1634 | 2023-07-15 15:01:48 | 36.1
1635 | 2023-07-15 15:16:48 | 34.4
1636 | 2023-07-15 15:31:48 | 34.5
1637 | 2023-07-15 15:46:48 | 34.7
1638 | 2023-07-15 16:01:48 | 33.7
1639 | 2023-07-15 16:16:48 | 33.7
1640 | 2023-07-15 16:31:48 | 32.4
1641 | 2023-07-15 16:46:48 | 32.2
1642 | 2023-07-15 17:01:48 | 35.1
1643 | 2023-07-15 17:16:48 | 34.6
1644 | 2023-07-15 17:31:48 | 34.1
1645 | 2023-07-15 17:46:48 | 32.9
1646 | 2023-07-15 18:01:48 | 31.4
1647 | 2023-07-15 18:16:48 | 30.7
1648 | 2023-07-15 18:31:48 | 29.6
1649 | 2023-07-15 18:46:48 | 28.3
1650 | 2023-07-15 19:01:48 | 28.1
1651 | 2023-07-15 19:16:48 | 28.6
1652 | 2023-07-15 19:31:48 | 28.5
1653 | 2023-07-15 19:46:48 | 28.1
1654 | 2023-07-15 20:01:48 | 27.4
1655 | 2023-07-15 20:16:48 | 26.9
1656 | 2023-07-15 20:31:48 | 26.5
1657 | 2023-07-15 20:46:48 | 26.3
1658 | 2023-07-15 21:01:48 | 26.0
1659 | 2023-07-15 21:16:48 | 25.8
1660 | 2023-07-15 21:31:48 | 25.6
1661 | 2023-07-15 21:46:48 | 25.3
1662 | 2023-07-15 22:01:48 | 24.8
1663 | 2023-07-15 22:16:48 | 24.7
1664 | 2023-07-15 22:31:48 | 24.7
1665 | 2023-07-15 22:46:48 | 24.4
1666 | 2023-07-15 23:01:48 | 24.2
1667 | 2023-07-15 23:16:48 | 24.1
1668 | 2023-07-15 23:31:48 | 24.2
1669 | 2023-07-15 23:46:48 | 24.1
1670 | 2023-07-16 00:01:48 | 24.1
1671 | 2023-07-16 00:16:48 | 24.1
1672 | 2023-07-16 00:31:48 | 23.9
1673 | 2023-07-16 00:46:48 | 23.6
1674 | 2023-07-16 01:01:48 | 23.3
1675 | 2023-07-16 01:16:48 | 23.1
1676 | 2023-07-16 01:31:48 | 23.2
1677 | 2023-07-16 01:46:48 | 23.2
1678 | 2023-07-16 02:01:48 | 23.6
1679 | 2023-07-16 02:16:48 | 23.7
1680 | 2023-07-16 02:31:48 | 23.8
1681 | 2023-07-16 02:46:48 | 23.7
1682 | 2023-07-16 03:01:48 | 23.7
1683 | 2023-07-16 03:16:48 | 23.7
1684 | 2023-07-16 03:31:48 | 23.7
1685 | 2023-07-16 03:46:48 | 23.6
1686 | 2023-07-16 04:01:48 | 23.7
1687 | 2023-07-16 04:16:48 | 23.6
1688 | 2023-07-16 04:31:48 | 23.6
1689 | 2023-07-16 04:46:48 | 23.4
1690 | 2023-07-16 05:01:48 | 23.4
1691 | 2023-07-16 05:16:48 | 23.5
1692 | 2023-07-16 05:31:48 | 23.7
1693 | 2023-07-16 05:46:48 | 23.7
1694 | 2023-07-16 06:01:48 | 23.6
1695 | 2023-07-16 06:16:48 | 23.7
1696 | 2023-07-16 06:31:48 | 23.6
1697 | 2023-07-16 06:46:48 | 23.5
1698 | 2023-07-16 07:01:48 | 23.5
1699 | 2023-07-16 07:16:48 | 23.7
1700 | 2023-07-16 07:31:48 | 23.1
1701 | 2023-07-16 07:46:48 | 21.7
1702 | 2023-07-16 08:01:48 | 21.6
1703 | 2023-07-16 08:16:48 | 21.8
1704 | 2023-07-16 08:31:48 | 22.1
1705 | 2023-07-16 08:46:48 | 22.2
1706 | 2023-07-16 09:01:48 | 22.9
1707 | 2023-07-16 09:16:48 | 23.3
1708 | 2023-07-16 09:31:48 | 23.9
1709 | 2023-07-16 09:46:48 | 24.1
1710 | 2023-07-16 10:01:48 | 24.5
1711 | 2023-07-16 10:16:48 | 27.4
1712 | 2023-07-16 10:31:48 | 29.0
1713 | 2023-07-16 10:46:48 | 30.5
1714 | 2023-07-16 11:01:48 | 29.8
1715 | 2023-07-16 11:16:48 | 30.2
1716 | 2023-07-16 11:31:48 | 28.9
1717 | 2023-07-16 11:46:48 | 32.4
1718 | 2023-07-16 12:01:48 | 32.0
1719 | 2023-07-16 12:16:48 | 31.7
1720 | 2023-07-16 12:31:48 | 30.5
1721 | 2023-07-16 12:46:48 | 33.9
1722 | 2023-07-16 13:01:48 | 35.3
1723 | 2023-07-16 13:16:48 | 38.4
1724 | 2023-07-16 13:31:48 | 37.3
1725 | 2023-07-16 13:46:48 | 34.7
1726 | 2023-07-16 14:01:48 | 32.4
1727 | 2023-07-16 14:16:48 | 31.2
1728 | 2023-07-16 14:31:48 | 30.2
1729 | 2023-07-16 14:46:48 | 30.1
1730 | 2023-07-16 15:01:48 | 31.1
1731 | 2023-07-16 15:16:48 | 31.1
1732 | 2023-07-16 15:31:48 | 29.7
1733 | 2023-07-16 15:46:48 | 27.2
1734 | 2023-07-16 16:01:48 | 26.9
1735 | 2023-07-16 16:16:48 | 27.2
1736 | 2023-07-16 16:31:48 | 28.0
1737 | 2023-07-16 16:46:48 | 28.5
1738 | 2023-07-16 17:01:48 | 28.5
1739 | 2023-07-16 17:16:48 | 28.2
1740 | 2023-07-16 17:31:48 | 29.8
1741 | 2023-07-16 17:46:48 | 28.7
1742 | 2023-07-16 18:01:48 | 28.5
1743 | 2023-07-16 18:16:48 | 29.1
1744 | 2023-07-16 18:31:48 | 29.2
1745 | 2023-07-16 18:46:48 | 28.0
1746 | 2023-07-16 19:01:48 | 27.7
1747 | 2023-07-16 19:16:48 | 27.3
1748 | 2023-07-16 19:31:48 | 27.2
1749 | 2023-07-16 19:46:48 | 26.9
1750 | 2023-07-16 20:01:48 | 26.7
1751 | 2023-07-16 20:16:48 | 26.6
1752 | 2023-07-16 20:31:48 | 26.0
1753 | 2023-07-16 20:46:48 | 25.9
1754 | 2023-07-16 21:01:48 | 25.8
1755 | 2023-07-16 21:16:48 | 25.5
1756 | 2023-07-16 21:31:48 | 25.2
1757 | 2023-07-16 21:46:48 | 24.9
1758 | 2023-07-16 22:01:48 | 24.7
1759 | 2023-07-16 22:16:48 | 24.5
1760 | 2023-07-16 22:31:48 | 24.4
1761 | 2023-07-16 22:46:48 | 24.2
1762 | 2023-07-16 23:01:48 | 24.1
1763 | 2023-07-16 23:16:48 | 24.1
1764 | 2023-07-16 23:31:48 | 24.0
1765 | 2023-07-16 23:46:48 | 24.0
1766 | 2023-07-17 00:01:48 | 23.8
1767 | 2023-07-17 00:16:48 | 23.7
1768 | 2023-07-17 00:31:48 | 23.6
1769 | 2023-07-17 00:46:48 | 23.6
1770 | 2023-07-17 01:01:48 | 23.5
1771 | 2023-07-17 01:16:48 | 23.4
1772 | 2023-07-17 01:31:48 | 23.3
1773 | 2023-07-17 01:46:48 | 23.2
1774 | 2023-07-17 02:01:48 | 23.1
1775 | 2023-07-17 02:16:48 | 23.3
1776 | 2023-07-17 02:31:48 | 23.1
1777 | 2023-07-17 02:46:48 | 23.1
1778 | 2023-07-17 03:01:48 | 23.1
1779 | 2023-07-17 03:16:48 | 22.9
1780 | 2023-07-17 03:31:48 | 22.6
1781 | 2023-07-17 03:46:48 | 22.6
1782 | 2023-07-17 04:01:48 | 22.4
1783 | 2023-07-17 04:16:48 | 22.2
1784 | 2023-07-17 04:31:48 | 22.2
1785 | 2023-07-17 04:46:48 | 21.8
1786 | 2023-07-17 05:01:48 | 21.9
1787 | 2023-07-17 05:16:48 | 21.8
1788 | 2023-07-17 05:31:48 | 21.9
1789 | 2023-07-17 05:46:48 | 21.9
1790 | 2023-07-17 06:01:48 | 22.1
1791 | 2023-07-17 06:16:48 | 22.1
1792 | 2023-07-17 06:31:48 | 22.5
1793 | 2023-07-17 06:46:48 | 22.7
1794 | 2023-07-17 07:01:48 | 22.8
1795 | 2023-07-17 07:16:48 | 22.8
1796 | 2023-07-17 07:31:48 | 22.8
1797 | 2023-07-17 07:46:48 | 23.2
1798 | 2023-07-17 08:01:48 | 23.6
1799 | 2023-07-17 08:16:48 | 24.0
1800 | 2023-07-17 08:31:48 | 25.2
1801 | 2023-07-17 08:46:48 | 25.2
1802 | 2023-07-17 09:01:48 | 24.9
1803 | 2023-07-17 09:16:48 | 25.8
1804 | 2023-07-17 09:31:48 | 26.2
1805 | 2023-07-17 09:46:48 | 25.4
1806 | 2023-07-17 10:01:48 | 27.2
1807 | 2023-07-17 10:16:48 | 28.9
1808 | 2023-07-17 10:31:48 | 27.6
1809 | 2023-07-17 10:46:48 | 28.1
1810 | 2023-07-17 11:01:48 | 30.1
1811 | 2023-07-17 11:16:48 | 31.8
1812 | 2023-07-17 11:31:48 | 31.7
1813 | 2023-07-17 11:46:48 | 34.1
1814 | 2023-07-17 12:01:48 | 35.6
1815 | 2023-07-17 12:16:48 | 35.5
1816 | 2023-07-17 12:31:48 | 35.5
1817 | 2023-07-17 12:46:48 | 35.8
1818 | 2023-07-17 13:01:48 | 36.3
1819 | 2023-07-17 13:16:48 | 36.0
1820 | 2023-07-17 13:31:48 | 36.6
1821 | 2023-07-17 13:46:48 | 36.6
1822 | 2023-07-17 14:01:48 | 36.2
1823 | 2023-07-17 14:16:48 | 35.8
1824 | 2023-07-17 14:31:48 | 36.1
1825 | 2023-07-17 14:46:48 | 35.9
1826 | 2023-07-17 15:01:48 | 35.4
1827 | 2023-07-17 15:16:48 | 35.3
1828 | 2023-07-17 15:31:48 | 34.7
1829 | 2023-07-17 15:46:48 | 34.5
1830 | 2023-07-17 16:01:48 | 34.9
1831 | 2023-07-17 16:16:48 | 34.6
1832 | 2023-07-17 16:31:48 | 34.3
1833 | 2023-07-17 16:46:48 | 34.3
1834 | 2023-07-17 17:01:48 | 33.7
1835 | 2023-07-17 17:16:48 | 32.2
1836 | 2023-07-17 17:31:48 | 31.8
1837 | 2023-07-17 17:46:48 | 30.2
1838 | 2023-07-17 18:01:48 | 29.6
1839 | 2023-07-17 18:16:48 | 29.4
1840 | 2023-07-17 18:31:48 | 28.9
1841 | 2023-07-17 18:46:48 | 28.7
1842 | 2023-07-17 19:01:48 | 28.0
1843 | 2023-07-17 19:16:48 | 27.7
1844 | 2023-07-17 19:31:48 | 27.6
1845 | 2023-07-17 19:46:48 | 27.2
1846 | 2023-07-17 20:01:48 | 26.9
1847 | 2023-07-17 20:16:48 | 26.6
1848 | 2023-07-17 20:31:48 | 26.4
1849 | 2023-07-17 20:46:48 | 25.9
1850 | 2023-07-17 21:01:48 | 25.7
1851 | 2023-07-17 21:16:48 | 25.6
1852 | 2023-07-17 21:31:48 | 25.6
1853 | 2023-07-17 21:46:48 | 25.3
1854 | 2023-07-17 22:01:48 | 25.2
1855 | 2023-07-17 22:16:48 | 25.2
1856 | 2023-07-17 22:31:48 | 24.9
1857 | 2023-07-17 22:46:48 | 25.1
1858 | 2023-07-17 23:01:48 | 25.0
1859 | 2023-07-17 23:16:48 | 24.8
1860 | 2023-07-17 23:31:48 | 24.6
1861 | 2023-07-17 23:46:48 | 24.3
1862 | 2023-07-18 00:01:48 | 24.1
1863 | 2023-07-18 00:16:48 | 24.0
1864 | 2023-07-18 00:31:48 | 23.6
1865 | 2023-07-18 00:46:48 | 23.2
1866 | 2023-07-18 01:01:48 | 23.0
1867 | 2023-07-18 01:16:48 | 23.0
1868 | 2023-07-18 01:31:48 | 22.7
1869 | 2023-07-18 01:46:48 | 22.7
1870 | 2023-07-18 02:01:48 | 22.6
1871 | 2023-07-18 02:16:48 | 22.7
1872 | 2023-07-18 02:31:48 | 22.6
1873 | 2023-07-18 02:46:48 | 22.5
1874 | 2023-07-18 03:01:48 | 22.4
1875 | 2023-07-18 03:16:48 | 22.5
1876 | 2023-07-18 03:31:48 | 22.5
1877 | 2023-07-18 03:46:48 | 22.5
1878 | 2023-07-18 04:01:48 | 22.7
1879 | 2023-07-18 04:16:48 | 22.1
1880 | 2023-07-18 04:31:48 | 20.9
1881 | 2023-07-18 04:46:48 | 20.5
1882 | 2023-07-18 05:01:48 | 20.4
1883 | 2023-07-18 05:16:48 | 20.4
1884 | 2023-07-18 05:31:48 | 20.4
1885 | 2023-07-18 05:46:48 | 20.2
1886 | 2023-07-18 06:01:48 | 20.1
1887 | 2023-07-18 06:16:48 | 20.1
1888 | 2023-07-18 06:31:48 | 20.2
1889 | 2023-07-18 06:46:48 | 20.4
1890 | 2023-07-18 07:01:48 | 20.6
1891 | 2023-07-18 07:16:48 | 20.6
1892 | 2023-07-18 07:31:48 | 20.7
1893 | 2023-07-18 07:46:48 | 21.0
1894 | 2023-07-18 08:01:48 | 21.0
1895 | 2023-07-18 08:16:48 | 20.9
1896 | 2023-07-18 08:31:48 | 21.4
1897 | 2023-07-18 08:46:48 | 22.1
1898 | 2023-07-18 09:01:48 | 22.0
1899 | 2023-07-18 09:16:48 | 22.2
1900 | 2023-07-18 09:31:48 | 22.7
1901 | 2023-07-18 09:46:48 | 24.8
1902 | 2023-07-18 10:01:48 | 25.0
1903 | 2023-07-18 10:16:48 | 26.0
1904 | 2023-07-18 10:31:48 | 25.3
1905 | 2023-07-18 10:46:48 | 27.1
1906 | 2023-07-18 11:01:48 | 25.8
1907 | 2023-07-18 11:16:48 | 27.4
1908 | 2023-07-18 11:31:48 | 28.8
1909 | 2023-07-18 11:46:48 | 29.2
1910 | 2023-07-18 12:01:48 | 28.6
1911 | 2023-07-18 12:16:48 | 28.7
1912 | 2023-07-18 12:31:48 | 28.1
1913 | 2023-07-18 12:46:48 | 29.3
1914 | 2023-07-18 13:01:48 | 28.5
1915 | 2023-07-18 13:16:48 | 27.2
1916 | 2023-07-18 13:31:48 | 26.3
1917 | 2023-07-18 13:46:48 | 25.5
1918 | 2023-07-18 14:01:48 | 25.9
1919 | 2023-07-18 14:16:48 | 26.8
1920 | 2023-07-18 14:31:48 | 26.7
1921 | 2023-07-18 14:46:48 | 26.3
1922 | 2023-07-18 15:01:48 | 26.5
1923 | 2023-07-18 15:16:48 | 27.2
1924 | 2023-07-18 15:31:48 | 30.4
1925 | 2023-07-18 15:46:48 | 30.0
1926 | 2023-07-18 16:01:48 | 28.2
1927 | 2023-07-18 16:16:48 | 27.8
1928 | 2023-07-18 16:31:48 | 29.6
1929 | 2023-07-18 16:46:48 | 29.7
1930 | 2023-07-18 17:01:48 | 28.5
1931 | 2023-07-18 17:16:48 | 29.5
1932 | 2023-07-18 17:31:48 | 30.2
1933 | 2023-07-18 17:46:48 | 28.6
1934 | 2023-07-18 18:01:48 | 28.0
1935 | 2023-07-18 18:16:48 | 27.9
1936 | 2023-07-18 18:31:48 | 27.7
1937 | 2023-07-18 18:46:48 | 27.7
1938 | 2023-07-18 19:01:48 | 27.0
1939 | 2023-07-18 19:16:48 | 25.7
1940 | 2023-07-18 19:31:48 | 25.3
1941 | 2023-07-18 19:46:48 | 25.4
1942 | 2023-07-18 20:01:48 | 25.4
1943 | 2023-07-18 20:16:48 | 25.0
1944 | 2023-07-18 20:31:48 | 24.7
1945 | 2023-07-18 20:46:48 | 24.4
1946 | 2023-07-18 21:01:48 | 24.4
1947 | 2023-07-18 21:16:48 | 24.5
1948 | 2023-07-18 21:31:48 | 24.1
1949 | 2023-07-18 21:46:48 | 23.9
1950 | 2023-07-18 22:01:48 | 23.6
1951 | 2023-07-18 22:16:48 | 23.5
1952 | 2023-07-18 22:31:48 | 23.5
1953 | 2023-07-18 22:46:48 | 23.5
1954 | 2023-07-18 23:01:48 | 23.3
1955 | 2023-07-18 23:16:48 | 23.3
1956 | 2023-07-18 23:31:48 | 23.2
1957 | 2023-07-18 23:46:48 | 23.1
1958 | 2023-07-19 00:01:48 | 23.1
1959 | 2023-07-19 00:16:48 | 23.0
1960 | 2023-07-19 00:31:48 | 22.8
1961 | 2023-07-19 00:46:48 | 22.3
1962 | 2023-07-19 01:01:48 | 22.6
1963 | 2023-07-19 01:16:48 | 22.6
1964 | 2023-07-19 01:31:48 | 22.1
1965 | 2023-07-19 01:46:48 | 21.9
1966 | 2023-07-19 02:01:48 | 22.0
1967 | 2023-07-19 02:16:48 | 21.9
1968 | 2023-07-19 02:31:48 | 21.9
1969 | 2023-07-19 02:46:48 | 21.8
1970 | 2023-07-19 03:01:48 | 21.5
1971 | 2023-07-19 03:16:48 | 21.1
1972 | 2023-07-19 03:31:48 | 20.9
1973 | 2023-07-19 03:46:48 | 20.4
1974 | 2023-07-19 04:01:48 | 20.1
1975 | 2023-07-19 04:16:48 | 20.0
1976 | 2023-07-19 04:31:48 | 20.0
1977 | 2023-07-19 04:46:48 | 19.9
1978 | 2023-07-19 05:01:48 | 19.8
1979 | 2023-07-19 05:16:48 | 19.7
1980 | 2023-07-19 05:31:48 | 19.6
1981 | 2023-07-19 05:46:48 | 19.7
1982 | 2023-07-19 06:01:48 | 19.8
1983 | 2023-07-19 06:16:48 | 19.9
1984 | 2023-07-19 06:31:48 | 20.0
1985 | 2023-07-19 06:46:48 | 20.1
1986 | 2023-07-19 07:01:48 | 20.2
1987 | 2023-07-19 07:16:48 | 20.4
1988 | 2023-07-19 07:31:48 | 20.2
1989 | 2023-07-19 07:46:48 | 20.7
1990 | 2023-07-19 08:01:48 | 21.1
1991 | 2023-07-19 08:16:48 | 21.6
1992 | 2023-07-19 08:31:48 | 21.9
1993 | 2023-07-19 08:46:48 | 22.6
1994 | 2023-07-19 09:01:48 | 23.5
1995 | 2023-07-19 09:16:48 | 23.9
1996 | 2023-07-19 09:31:48 | 25.2
1997 | 2023-07-19 09:46:48 | 27.6
1998 | 2023-07-19 10:01:48 | 28.6
1999 | 2023-07-19 10:16:48 | 29.3
2000 | 2023-07-19 10:31:48 | 29.9
2001 | 2023-07-19 10:46:48 | 30.3
2002 | 2023-07-19 11:01:48 | 31.2